CENWP-OD-B





















17 June 2012
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 24 of 2012, which covers the period from 10 through 16 June 2012.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 321.6 to 353.6 kcfs.  Daily average project tailwater ranged from 24.1’ to 25.5’ msl.  Daily average powerhouse forebay elevation ranged from 72.7’ to 74.4’ msl.  Daily average river temperature ranged from 57 to 59ºF. Secchi disk measurements ranged from 4.0’ to 6.0’.
1.2 Spring Spill for fish passage was in effect until 15 June. Summer Spill began 16 June. Daily average spill ranged from 112.4 to 155.4 kcfs.
1.3 Unit Operation.  Powerhouse Two is the priority powerhouse.
1.3.1 Unit 1 went out of service at 1036 on 04 June for annual maintenance. It returned to service at 1430 on 14 June.
1.3.2 Unit 11 has remained out of service since 12 June 2008 due to rotor damage.
1.3.3 Unit 13 was out of service from 1014 until 1252 on 13 June for a 2SQ2 BUS outage.

1.3.4 Unit 14 went out of service at 0710 on 11 June for a 4 year overhaul.

1.3.5 Unit 15 was out of service from 1159 on 12 June until 2150 on 13 June for a governor oil leak.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris. 
1.5 Gatewell drawdowns are measured on Tuesdays and more frequently as needed.
2 ACTIVITIES
2.1 Auxiliary Water System Closures.  No AWS closures occurred this reporting week.
2.2 STS/VBS inspections.  No STS/VBS inspection occurred this reporting week. 
2.2.1 Table 1.  STS and VBS inspection.  
	Unit
	Date
	Run Hours
	Comments

	11
	NA
	OOS
	U11 remains out of service.

	12-18
	NA
	NA
	STS inspection truck is currently OOS.


2.3 Dewatering and Fish Salvage. The following dewatering or fish salvage activities occurred this week.
2.3.1 On 12 June, Project Biologists recovered 2 White sturgeon, 36 Pacific lamprey, and 1 juvenile salmonid from the Unit 14 draft tube. The fish were released into the forebay adjacent to the old Navigation Lock.
2.3.2 On 13 June, Project Biologists recovered 4 White sturgeon, 5 juvenile salmonids, 2 bass, 1 crayfish, and approximately 50 sculpin from the Unit 1 tail logs. All fish were released into the tailrace at the Hamilton Island boat ramp in good condition.
3 RESEARCH
3.1 Battelle/PNNL – Surgeon Training/Assessment. Surgeon assessment and Sort-By-Code activities will continue through July.
3.2 Battelle/PNNL - Survival Study. Hydrophones remain installed.
3.3 CRITFC – AFF.  Annual Chinook, Coho, Sockeye and Steelhead sampling in the AFF continues.
3.4 NOAA – Juvenile Steelhead. Barged and in-river migrant sampling began 03 May.
3.5 NOAA - Lamprey. LPS count network installed. Trapping at the CI LCS, WA shore NDE, and the AFF continues.
3.6 NOAA – Pathology. 25 Coho were collected at the JMF for research this week.
3.7 ODFW/WDFW - Sea lion. Sea lion traps remain downstream of the old Navlock, and in the forebay, upstream of the old Navlock.  Trapping has concluded for the season. 
3.8 PSMFC – Smolt Monitoring Program.  Juvenile fish condition and index monitoring continues. Sort by Code is active for PNNL and NOAA. Fallbacks recorded crossing the separator bars this week: 8 steelhead, 7 salmon, and 11 unknown salmonids. Fallback observations are available at the FPC website: http://www.fpc.org/adultsalmon/bonkeltcounts.htm. Gas Bubble Trauma (GBT) examinations occur two days per week at the SMF during spill.  Please go to http://www.fpc.org/CurrentDaily/Gbtsum.txt for further details. 
3.9 USDA - Avian hazing. Avian hazing continues.
3.10 University of Idaho. Cameras installed behind the Bradford Island picket leads to monitor lamprey and salmonid behavior. Lamprey trapping in conjunction with NOAA.
3.11 WDFW - Fish Counting.  Visual counting continues. Nighttime video lamprey counting began 15 June.
4 FISHWAYS 
4.1 Project biologists inspected 10 through 16 June.
4.2 Fish Passage Plan Observations.
4.2.1 Table 2.  FPP Out of Criteria items.
	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE

	SPILLWAY

	All week
	Bay 17
	Incorrect height
	Hoist OOS
	None

	BRADFORD ISLAND (BI) – Nothing to report.

	CASCADES ISLAND (CI) – Nothing to report.

	WASHINGTON SHORE (WS)

	06/12
	PH2, SUE
	Differential < 1.0’
	TW/Gate sub.
	N/A


4.2.2 PH1CC diffuser FG2-19 is partially open.  Repairs will occur when the PH1CC is dewatered. The next possible time period will be 2013/14 winter maintenance.  

4.2.3 A new mechanical velocity meter has been fabricated for PH2 and is scheduled for installation.
4.3 Fishway Temperatures.  Temperatures are taken 01 March through 30 November. Temperatures are unavailable this week due to technical difficulties.
4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
4.5 Adult Fishways. 
4.5.1 Calibration was checked on 15 June.
4.5.2 10 of 12 floating orifice gates (FOGs) are installed. Two gates remain out for maintenance. Sea lion barriers are in place on all installed FOGs.
4.5.3 All SLEDs are installed.
4.5.4 All ladders remain in service.
4.5.4.1 All ladders were switched to Shad Mode on 04 June, congruous with FPP 2.5.1.2a

4.5.5 The AFF remains in service.
4.6 Juvenile Fishways.
4.6.1 DSM2 remains in service.
4.6.2 The PH1 ice and trash sluiceway (ITS) remains in service. Manual chaingates 1A and 1B remain open and are both set to 70’ msl. Automated chaingates 3B, 6C and 10B are open and functioning in auto. 
4.6.3 The hydrocannon remains in service.  
4.6.4 The B2CC remains open.
4.6.5 The B2CC avian array was removed to facilitate barge access for B-branch emergency repairs. The array will be reinstalled during winter of 2013.
4.7 Lamprey Fishways.
4.7.1 The Cascades Is. entrance weir remains installed.
4.7.2 All LPSs and associated traps remain in service.
5 CONSTRUCTION
5.1 Seawater Recirculation System Removal (JMF). Removal continues.
6 HAZMAT, SPILLS AND CLEANUP. Nothing to report.
7 TELETYPES CURRENTLY IN EFFECT
7.1 A teletype sent on 09 April states that, effective from 0001 hours on 10 April until 2400 hours on 15 June, operate in accordance with the 2012 Fish Operations Plan to provide spill for juvenile fish passage during the spring season at BON, as follows: 100 kcfs for 24 hours per day following the spill pattern defined in the 2012 Fish Passage Plan. This teletype was updated on 20 April to define minimum generation requirements.
7.2 A teletype sent on 14 June states that, effective from 0001 hours on 16 June until 2400 hours on 31 August, operate in accordance with the 2012 Fish Operations Plan to provide spill for juvenile fish passage during the summer season at BON, as follows: 16 June – 21 July: Alternate between 2-day treatments of 95 kcfs 24 hours per day, and 85 kcfs day/121 kcfs night. 21 July – 31 August: 75 kcfs day/Gas cap night.
7.3 A teletype sent on 11 June states that effective immediately through 1800 hours on 13 June, operate to move flow that would normally pass through PH2 units above the midpoint (50%) of the 1% operating range to pass instead through PH1 units operating above the 1% range to the best geometry point. This operation is intended to improve passage conditions through PH2 gatewells during the downstream migration of Snake River Sockeye salmon.

7.4 A teletype sent on 13 June updates the spill priority list order for Fish Passage Season for BON with associated total dissolved gas spill caps.
7.5 A teletype sent on 07 June states that effective 10 June, from 0900 to 1400 hours operate BON forebay to not exceed an elevation of 73.5’ as a soft constraint. The intent of this operation is to provide a reservoir elevation to facilitate a riparian restoration project along the stream banks of the lower White Salmon River.

7.6 A teletype sent on 15 June requests that the BON pool be operated within a 1.5’ band, soft constraint, from 0600 hours 18 June to 1800 hours 21 June, and from 0600 hours 25 June to 1800 hours 28 June, during treaty fishing.
JERRY CARROLL
Operations Project Manager
Page 1 of 3
1
Page 2 of 3

