CENWP-OD-B





















11 February 2013
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 06 of 2013, which covers the period from 03 February through 09 February 2013.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 146.4 to 149.3 kcfs.  Daily average project tailwater remained at 13.7’ msl all week.  Daily average powerhouse forebay elevation ranged from 73.3’ to 73.7’ msl.  Daily average water temperatures ranged from 39ºF to 40ºF. Secchi disk measurements ranged from 6.0’ to 7.0’.
1.2 Spill Bays 1 and 18 provide attraction flow for Cascades Island and B-branch, respectively. Spill bay 1 was open a minimum of 6” during daylight hours aside from outages for scheduled dive operations. Spill bay 18 is closed as B-branch is out of service for repairs on FV 4-4. Daily average spill ranged from 0.9 to 25.3 kcfs.
1.3 Unit Operation.  Powerhouse One is the priority powerhouse.  
1.3.1 Table 1.  Unit Operation Closures  (See below).  

1.4 Fish Units.  Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris. 
1.4.1 Table 2.  Fish Unit Closures. 
	Unit
	Date
	OOS
	Return
	Comment

	F1
	10 NOV
	0000
	N/A
	Scheduled Winter Maintenance

	F2
	10 NOV
	0000
	N/A
	Scheduled Winter Maintenance


1.5 Gatewell drawdowns are measured on Tuesdays and more frequently as needed.
2 ACTIVITIES
2.1 Auxiliary Water System Closures.  The following AWS closures occurred this reporting week.
2.1.1 FV1-1 was closed for cleaning from 0725 to 0740 on 04 February.
2.1.2 FV1-1 was closed for a ROV inspection from 0821 to 1510 on 04 February.
2.1.3 FV3-7 was closed for a ROV inspection from 0821 to 1510 on 04 February.
2.1.4 FV4-3 was closed for a ROV inspection from 0800 to 1000 on 05 February.
2.1.5 FV4-4 was closed for a ROV inspection from 0800 to 1000 on 05 February.
2.2 STS/VBS inspections.  No STS/VBS inspection occurred this reporting week. 
2.2.1 Table 3.  STS and VBS inspection.  

	Unit
	Date
	Run Hours
	Comments

	11
	N/A
	N/A
	Unit 11 OOS

	12,18
	N/A
	N/A
	STSs installed, VBSs removed on 11/05

	13-17
	N/A
	N/A
	STSs removed


2.3 Dewatering and Fish Salvage. No dewatering or fish salvage activities occurred this week.
3 RESEARCH
3.1 WDFW – Fish Counting.  Video counting continues.
3.2 Fisheries Field Unit – Sea Lion Observations.  Observations commenced on 04 January and continue.  Weekly pinniped reports can be found at: http://www.nwd-wc.usace.army.mil/tmt/documents/fish/2013/sea_lion_hazing2013.html   
4 FISHWAYS
4.1 Project biologists inspected 04 February through 07 February. 
4.2 Fish Passage Plan Observations.
4.2.1 Table 4.  FPP Out of Criteria items.
	Date
	Location
	FPP Items
	Cause
	Response

	                                                          BRADFORD ISLAND (BI)

	02/04, 05
	WG-2
	Gate Submergence 
	N/A
	TR in place

	02/04, 06, 07
	WG-64
	Gate Submergence
	N/A
	TR in place

	All week
	B-branch ladder
	Out of service
	Dewatered to repair FV4-4 
	N/A

	02/04 – 06
	PH1CC
	South diff < 1.0’
	B-branch dewatered
	N/A

	02/04, 06
	PH1CC
	North diff >2.0’
	B-branch dewatered
	N/A

	02/07
	FG3-7 & FG3-8
	Not open correctly for given TW
	PLC Sensor Maintenance
	N/A

	All week
	A-branch
	FG3-3 half open
	Mechanically bound
	TR in place

	All week
	A-branch
	Water level > 1.1’
	B-branch dewatered
	N/A

	All week
	BI weir
	Water level < 0.9’
	B-branch dewatered
	N/A

	All week
	FG3-5
	Not open correctly for given TW
	Burnt-out motor
	TR in place

	02/04
	FG3-7
	Not open correctly for given TW
	PH1CC ROV Inspection
	N/A

	                                                          CASCADES ISLAND (CI)

	02/05
	CI Fishway
	Differential <1.0’.
	CI ROV Inspection
	N/A

	02/04, 06
	CI Fishway
	Differential <1.0’.
	Diffusers in manual
	N/A

	                                                 WASHINGTON SHORE (WS) – OOS


4.2.2 PH1CC diffuser FG2-19 is partially open.  Repairs will occur when the PH1CC is dewatered. The next possible time period will be 2013/14 winter maintenance.
4.2.3 A new mechanical velocity meter has been fabricated for PH2 and is scheduled for installation.
4.3 Fishway Temperatures. Temperatures are taken 01 March through 30 November. 
4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.
4.5 Adult Fishways. 
4.5.1 Calibration was checked on 07 February.
4.5.2 10 of 12 floating orifice gates (FOGs) are installed. Two gates remain out for maintenance. 
4.5.3 SLEDs were installed for the north and south entrances of the PH1CC on 31 January. SLEDs are removed from all other entrances.
4.5.4 The WA Shore ladder and North and South Monoliths at PH2 remain dewatered.

4.5.5 The Cascades Island fish ladder exit remains in service. 
4.5.6 On 09 August, FV 4-4 was discovered to be broken in the full open position. Upon ROV inspection, the gate was found to be sheared from its attachment point on the wall. B-branch was dewatered from the junction pool down to the entrance during 25-27 September to facilitate repairs on FV 4-4. A-branch and the upper Bradford Island ladder remain in service and are currently being operated as close to FPP criteria as possible. 

4.5.7 The AFF remains dewatered. 
4.6 Juvenile Fishways.
4.6.1  Manual chaingates 1A and 1B remain open and are both set to 70’ msl. Automated chaingates 3B, 6C and 10B are open and functioning in auto.
4.6.2 The JMF remains dewatered and the hydrocannon winterized.
4.6.3 The DSM2 remains dewatered.
4.6.4 The B2CC remains dewatered. 
4.6.5 The B2CC avian array was removed to facilitate barge access for B-branch emergency repairs. The array will be reinstalled during winter of 2012/13. 
4.6.6 The spillway avian array was removed on 11 October to facilitate barge access for spillway erosion repair. The array will be reinstalled during the winter of 2012/13. 
4.6.7 The PH2 avian array was removed 01 February to facilitate barge access for the WA shore LPS construction.  The array will be reinstalled during the winter of 2012/2013.
4.7 Lamprey Fishways.
4.7.1 All LPSs remain dewatered.
5 CONSTRUCTION
5.1 Cascades Island LPS Continuation. This expansion will remove the evaluation trap box and continue the LPS flume to a volitional exit near the CI fishway exit.
5.2 Gantry 7 Rehabilitation. The Powerhouse 2 intake gantry crane went out of service on 01 August for rehabilitation. It is scheduled to return to service in February 2013.
5.3 Spillway Erosion Repair. Rock removal and erosion cavity repair continues.

5.4 WA Shore LPS/LFS Installation. Construction continues.
5.5 AFF.  Modifications and improvement are scheduled to begin 11 February through 15 March.

6 HAZMAT, SPILLS AND CLEANUP. Nothing to report.
7 TELETYPES CURRENTLY IN EFFECT
7.1 A teletype sent on 23 August updates the operation of BON project PH2 unscreened units (Units 13-17) to pass flow. This operation is necessary due to the rehabilitation of Gantry 7. During the Gantry 7 outage, the project will not be able to remove or install screens. Additionally, limit flow through PH2 screened units (Units 11, 12, and 18) to a maximum of 15 kcfs per unit. The intent of this limitation is to minimize the chance of damaging an operating screen during the Gantry 7 outage, which would force the unit out of service until February 2013.
7.2 A teletype sent on 23 August states that on 16 September PH1 will become the priority powerhouse.  In November, MU18 will be taken out of service and the VBS will be removed from MU11 and MU12, when the downstream migrant channel (DSM2) is dewatered for installation of a lamprey passage system. At that time, those units will be operated last in the priority order. 

7.3 A teletype sent on 21 November updates the spill notification for the spillway stilling basin repair work. Effective immediately and until further notice, BPA is requested to provide a minimum of one hour notice prior to spill, with a day-ahead notice preferred if possible due to ongoing spillway repair work and related safety concerns. 
7.4 A teletype sent 13 December updates the winter spill priority list and wintertime spill caps. 

7.5 A teletype sent on 20 December updates the flow operations necessary to maintain a daytime tailwater appropriate for daytime chum spawning and to pass excess water, effective until further notice.  As hard constraint #1, maintain the tailwater at a minimum of 13.5’ at all hours.  As a hard constraint #2, maintain tailwater during the daytime within a 2.0’ band of 13.5’ – 15.5’ with a target of 14.0’.
7.6 A teletype sent on 03 January states that effective immediately until further notice operate the BON forebay 24 hours a day from 71.5’ – 76.5’ as a hard constraint. This cancels the maximum forebay elevation of 76.0’ in a previous teletype, which is not currently needed. In the future additional maintenance will be required at which time the project will request reverting back to a hard constraint of 76.0’ for personnel access to the B-branch ladder. 

7.7 A teletype sent on 29 January supersedes the previous teletype regarding the forebay restriction for valve repair work at the Bradford Island B-branch fish ladder.  Effective 0600 on 01 February through 1800 on 04 February operate the BON forebay 24 hours per day from 71.5’ – 76.0’ as a hard constraint. At the expiration of this teletype, revert to the normal pool operating range of 71.5’ – 76.5’. 

7.8 A teletype send 31 January states that between 0800 on 02 February and 0600 on 03 February, all personnel and equipment are to be moved out of the BON spillway stilling basin and all spill bay clearances lifted.  The corner collector is to be off while the barge and tub are transiting.  When clearance lifting begins, the notification request prior to spill is suspended until the bays are again tagged out. Additionally, from 0600 to 2000 on 03 February, request spill of up to 50 kcfs as necessary to meet all non-emergency flow requirements at the project. If spill over 50 kcfs is required during the dive, open the corner collector. If additional flow is needed, BPA is requested to provide at least one-hour notification to remove divers and lift clearances. If clearances cannot be lifted fast enough to maintain the minimum tailwater of 13.5’, tailwater guidance is given. Starting at 0600 on 02 February, the locking of tagging out of all PH2 units is to commence for divers to remove the caisson at the north fish ladder. Once the dive is complete, the operator will coordinate with BPA to shift flow to PH2. 
7.9 A teletype sent on 01 February states that between 1300 and 1500 hours on 03 February operate PH1 and PH2 to maintain tailwater elevation as close to 13.5’ as possible for a tailrace survey immediately downstream of PH2. During the survey it is requested that the flows at PH1 are maximized and at PH2 are minimized as much as possible to ensure safe conditions for the survey crew. 

7.10 A teletype sent on 05 February updates the PH2 outage and spillway clearance schedule and flow coordination for lamprey work at PH2 and stilling basin repair work at the spillway.   Effective 0600 on 04 February until further notice, all personnel and equipment are to be moved out of the spillway stilling basin for spilling operations.  The B2CC is to be off while the barge and tug are transiting and may remain off unless requested.  Starting 0600 on 04 February until further notice, all spillway clearances are to be lifted and flow shifted to spillway.  When the lifting of clearances begins, the previous teletype regarding notification to spill is suspended until the bays are again tagged out.  On 04 February and 05 February, divers are to clear the PH2 area in time to allow PH2 clearances to be lifted, flow switched to PH2 and spillway clearances hung no later than 2000 and by 1800 on 06 February.  Notification prior to spill teletype will then again be in effect.  From 0600 to 2000 on 04 February and 05 February, request to spill of up to 60 kcfs as necessary to meet all non-emergency flow requirements at the project.  From 0600 to 1600 on 06 February until further notice, request to spill of up to 70 kcfs as necessary to meet all non-emergency flow requirements at the project.  If more spill is required, or if clearances on generating units cannot be lifted fast enough, additional operating guidance is outlined. 

7.11 A teletype sent on 05 February states that effective immediately through 1800 16 February, operate the Bonneville forebay 24 hours per day from 71.5’ – 76.0’ as a hard constraint to facilitate valve maintenance work at Bradford Island B-branch fish ladder. Upon expiration of this teletype, revert back to the normal pool operating range of 71.5’ to 76.5’.  
7.12 A teletype sent on 06 February states that effective immediately, a previous teletype limiting the maximum tailwater to 21.0’ for lamprey caisson removal is cancelled.  

7.13 A teletype sent on 08 February updates the schedule of a teletype sent on 06 February. The updated teletype states that effective immediately until 16 February stilling basin repairs will take place at night and lamprey work below PH2 will take place during daylight hours.  The daily schedule states that at 0600 have the spillway basin vacated, clearances lifted, and start spill while simultaneously start PH2 shutdown and tagging out of units.  Approximately 0830-1400 dive work will occur for lamprey construction.  No later than 1500 divers will release clearances and no later than 1700 the clearances will be lifted and PH2 generating.  On days the lamprey dives complete early, PH2 units will be returned to service as early as possible.  At 1800 the stilling basin clearances will be hung so that spillway repair dive work may occur from 1800 to 0430.  The one-hour notice of spill referenced in a prior teletype is not required for spill during the hours of spill listed above only.  The B2CC is not to be in use when barge is in transit past it.  PH1 units should be operated to minimize spill to the extent possible. The 13.5’ tailwater minimum remains in effect at all times. 
JERRY CARROLL
Operations Project Manager
Table 1.  Unit Operation Closures.
	Unit
	Date
	OOS
	Return
	Comment

	7
	06 FEB
	0632
	1636
	Planned Outage Expansion Joint Dive

	8
	06 FEB
	1636
	1636
	Planned Outage Expansion Joint Dive

	11
	09 SEPT
	0800
	N/A
	High Thrust Bearing Temperatures

	12
	04 FEB
	0900
	1854
	WA Shore LPS Construction

	12
	05 FEB
	0623
	1840
	WA Shore LPS Construction

	12
	06 FEB
	0632
	1700
	WA Shore LPS Construction

	12
	07 FEB
	0638
	1554
	WA Shore LPS Construction

	12
	08 FEB
	0644
	1637
	WA Shore LPS Construction

	12
	09 FEB
	0641
	1622
	WA Shore LPS Construction

	13
	04 FEB
	0900
	1833
	WA Shore LPS Construction

	13
	05 FEB
	0623
	1817
	WA Shore LPS Construction

	13
	06 FEB
	0632
	1700
	WA Shore LPS Construction

	13
	07 FEB
	0638
	1554
	WA Shore LPS Construction

	13
	08 FEB
	0644
	1611
	WA Shore LPS Construction

	13
	09 FEB
	0641
	1554
	WA Shore LPS Construction

	14
	04 FEB
	0900
	1834
	WA Shore LPS Construction

	14
	05 FEB
	0623
	1822
	WA Shore LPS Construction

	14
	06 FEB
	0632
	1700
	WA Shore LPS Construction

	14
	07 FEB
	0638
	1538
	WA Shore LPS Construction

	14
	08 FEB
	0644
	1624
	WA Shore LPS Construction

	14
	09 FEB 
	0641
	1605
	WA Shore LPS Construction

	15
	04 FEB
	0900
	1841
	WA Shore LPS Construction

	15
	05 FEB
	0623
	1827
	WA Shore LPS Construction

	15
	06 FEB
	0632
	1700
	WA Shore LPS Construction

	15
	07 FEB
	0638
	1548
	WA Shore LPS Construction

	15
	08 FEB
	0644
	1555
	WA Shore LPS Construction

	15
	09 FEB 
	0641
	1539
	WA Shore LPS Construction

	16
	04 FEB
	0900
	1832
	WA Shore LPS Construction

	16
	05 FEB
	0623
	1840
	WA Shore LPS Construction

	16
	06 FEB
	0632
	1644
	WA Shore LPS Construction

	16
	07 FEB
	0638
	1554
	WA Shore LPS Construction

	16
	08 FEB
	0644
	1637
	WA Shore LPS Construction

	16
	09 FEB 
	0641
	1622
	WA Shore LPS Construction

	17
	04 FEB
	0900
	1825
	WA Shore LPS Construction

	17
	05 FEB
	0623
	1819
	WA Shore LPS Construction

	17
	06 FEB
	0632
	1634
	WA Shore LPS Construction

	17
	07 FEB
	0638
	1531
	WA Shore LPS Construction

	17
	08 FEB
	0644
	1538
	WA Shore LPS Construction

	17
	09 FEB 
	0641
	1523
	WA Shore LPS Construction

	18
	04 FEB
	0900
	1849
	WA Shore LPS Construction

	18
	05 FEB
	0623
	1840
	WA Shore LPS Construction

	18
	06 FEB
	0632
	1700
	WA Shore LPS Construction

	18
	07 FEB
	0638
	1554
	WA Shore LPS Construction

	18
	08 FEB
	0644
	1637
	WA Shore LPS Construction

	18
	09 FEB 
	0641
	1622
	WA Shore LPS Construction


Page 1 of 2
1
Page 5 of 5

