APPENDIX 1

| DATES: | 1-Mar | 2-Mar | 3-Mar | 7-Mar | 8-Mar | 9-Mar | 14-Mar | 15-Mar | 16-Mar | 21-Mar |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 2.0 | 2.8 | 2.8 | 2.3 | 2.0 | 2.8 | 2.4 | 2.2 | 2.2 | 2.5 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 439.0 | 438.7 | 439.1 | 439.0 | 439.4 | 438.8 | 438.6 | 438.7 | 438.9 | 438.7 |
| Exit Pool | 439.0 | 438.6 | 439.0 | 439.0 | 439.3 | 438.8 | 438.6 | 438.6 | 438.8 | 438.6 |
| Makeup Diffuser | 434.3 | 434.3 | 434.2 | 434.2 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 |
| U S Picketed Leads | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 |
| D S Picketed Leads | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 439.0 | 438.6 | 439.2 | 439.0 | 439.5 | 438.9 | 438.6 | 438.7 | 438.9 | 438.7 |
| Exit Pool | 439.0 | 438.6 | 439.1 | 439.0 | 439.5 | 438.9 | 438.6 | 438.7 | 438.8 | 438.6 |
| Makeup Diffuser | 434.1 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 |
| U S Picketed Leads | 434.1 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 |
| D S Picketed Leads | 434.1 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 344.8 | 343.0 | 343.3 | 343.5 | 346.3 | 344.1 | 345.9 | 345.7 | 345.1 | 344.5 |
| North Pwrh SG2 | 344.4 | 342.4 | 342.8 | 342.9 | 346.0 | 343.5 | 345.4 | 345.2 | 344.6 | 343.9 |
| North Shore SG30 | 343.6 | 342.4 | 342.6 | 342.8 | 345.0 | 343.4 | 345.2 | 344.8 | 344.7 | 344.0 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 343.2 | 341.2 | 341.7 | 341.8 | 344.8 | 342.4 | 344.4 | 344.1 | 343.5 | 342.8 |
| North Pwrh SG1 | 343.1 | 341.2 | 341.7 | 341.8 | 344.7 | 342.3 | 344.1 | 344.1 | 343.4 | 342.7 |
| North Shore SG29 | 342.4 | 341.1 | 341.5 | 341.6 | 344.0 | 342.1 | 343.9 | 343.8 | 343.1 | 342.7 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 333.6 | 332.4 | 332.7 | 332.7 | 334.9 | 333.2 | 334.6 | 334.6 | 333.7 | 333.6 |
| NFE 2 | 335.7 | 333.9 | 333.7 | 333.8 | 336.7 | 334.6 | 336.4 | 336.1 | 335.4 | 334.6 |
| NSE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.7 | 332.3 | 332.3 | 334.1 | 333.6 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.1 | 0.1 | 0.0 | 0.1 | 0.0 | 0.0 | 0.1 | 0.1 | 0.1 |
| Ladder Weirs | 1.3 | 1.3 | 1.2 | 1.2 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.1 |
| Ladder Weirs | 1.1 | 1.2 | 1.2 | 1.2 | 1.3 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.6 | 1.8 | 1.6 | 1.7 | 1.5 | 1.7 | 1.5 | 1.6 | 1.6 | 1.7 |
| North Powerhouse | 1.3 | 1.2 | 1.1 | 1.1 | 1.3 | 1.2 | 1.3 | 1.1 | 1.2 | 1.2 |
| North Shore | 1.2 | 1.3 | 1.1 | 1.2 | 1.0 | 1.3 | 1.3 | 1.0 | 1.6 | 1.3 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 9.6 | 8.8 | 9.0 | 9.1 | 9.9 | 9.2 | 9.8 | 9.5 | 9.8 | 9.2 |
| NFE 2 | 7.4 | 7.3 | 8.0 | 8.0 | 8.0 | 7.7 | 7.7 | 8.0 | 8.0 | 8.1 |
| NSE 1 | 10.1 | 8.8 | 9.2 | 9.3 | 11.7 | 9.4 | 11.6 | 11.5 | 9.0 | 9.1 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| NFE 2 | NO | NO | YES | YES | YES | NO | NO | YES | YES | YES |
| NSE 1 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| NFE 2 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 |
| NSE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| OUT OF CRITERIA SITUATIONS BY INCREMENTS - THESE SHOULD MATCH THE "NOs" ABOVE. |  |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 23-Mar | 24-Mar | 28-Mar | 29-Mar | 30-Mar | 5-Apr | 6-Apr | 7-Apr | 11-Apr | 12-Apr |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 2.5 | 1.8 | 2.7 | 2.1 | 2.1 | 2.7 | 2.8 | 2.8 | 2.1 | 2.0 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.6 | 439.3 | 439.1 | 437.8 | 437.8 | 437.8 | 437.7 | 437.5 | 437.8 | 437.6 |
| Exit Pool | 438.6 | 439.3 | 439.1 | 437.7 | 437.7 | 437.8 | 437.5 | 437.4 | 437.7 | 437.6 |
| Makeup Diffuser | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 343.2 | 434.3 | 434.2 | 434.2 | 434.3 |
| U S Picketed Leads | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 |
| D S Picketed Leads | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.6 | 439.3 | 439.0 | 437.7 | 437.8 | 437.9 | 437.6 | 437.5 | 437.8 | 437.7 |
| Exit Pool | 438.6 | 439.2 | 439.0 | 437.6 | 437.8 | 437.8 | 437.6 | 437.5 | 437.8 | 437.7 |
| Makeup Diffuser | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 | 434.2 |
| U S Picketed Leads | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 | 434.2 |
| D S Picketed Leads | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 344.8 | 346.3 | 344.5 | 345.8 | 344.5 | 343.6 | 344.7 | 345.0 | 346.9 | 347.1 |
| North Pwrh SG2 | 344.3 | 345.8 | 344.0 | 345.3 | 343.9 | 343.1 | 343.9 | 344.1 | 346.0 | 346.3 |
| North Shore SG30 | 344.1 | 345.8 | 344.4 | 345.2 | 344.0 | 343.7 | 341.8 | 342.6 | 345.0 | 344.7 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 342.9 | 344.4 | 342.6 | 343.9 | 342.6 | 341.7 | 342.8 | 343.2 | 345.5 | 345.4 |
| North Pwrh SG1 | 343.0 | 344.0 | 342.6 | 343.8 | 342.5 | 341.8 | 342.7 | 343.4 | 345.3 | 345.3 |
| North Shore SG29 | 342.7 | 343.9 | 342.5 | 343.6 | 342.7 | 342.0 | 340.5 | 341.0 | 343.1 | 343.5 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 334.6 | 335.9 | 333.9 | 335.5 | 333.9 | 333.1 | 334.6 | 334.6 | 336.4 | 336.4 |
| NFE 2 | 333.7 | 335.6 | 334.0 | 336.0 | 334.4 | 333.9 | 333.9 | 333.9 | 333.9 | 333.9 |
| NSE 1 | 333.9 | 335.5 | 334.5 | 334.9 | 333.8 | 332.7 | 332.3 | 332.6 | 334.1 | 335.5 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.1 | 0.1 | 0.0 | 0.2 | 0.1 | 0.1 | 0.0 |
| Ladder Weirs | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | -89.8 | 1.3 | 1.2 | 1.2 | 1.3 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.1 | 0.0 | 0.1 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.3 | 1.2 | 1.2 | 1.2 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.8 | 1.4 | 1.7 |
| North Powerhouse | 1.3 | 1.8 | 1.4 | 1.5 | 1.4 | 1.3 | 1.2 | 0.7 | 0.7 | 1.0 |
| North Shore | 1.4 | 1.9 | 1.9 | 1.6 | 1.3 | 1.7 | 1.3 | 1.6 | 1.9 | 1.2 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 8.3 | 8.5 | 8.7 | 8.4 | 8.7 | 8.6 | 8.2 | 8.6 | 9.1 | 9.0 |
| NFE 2 | 9.3 | 8.4 | 8.6 | 7.8 | 8.1 | 7.9 | 8.8 | 9.5 | 11.4 | 11.4 |
| NSE 1 | 8.8 | 8.4 | 8.0 | 8.7 | 8.9 | 9.3 | 8.2 | 8.4 | 9.0 | 8.0 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | NO | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | NO | NO | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| NFE 2 | YES | YES | YES | NO | YES | NO | YES | YES | YES | YES |
| NSE 1 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| NFE 2 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 |
| NSE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 13-Apr | 18-Apr | 20-Apr | 21-Apr | 24-Apr | 25-Apr | 27-Apr | 2-May | 3-May | 5-May |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 1.9 | 1.7 | 1.7 | 1.8 | 1.8 | 1.8 | 1.7 | 2.1 | 2.6 | 2.0 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.7 | 437.7 | 437.6 | 437.9 | 438.0 | 437.9 | 437.7 | 437.3 | 437.8 | 437.8 |
| Exit Pool | 437.7 | 437.7 | 437.6 | 437.8 | 438.0 | 437.9 | 437.7 | 437.3 | 437.8 | 437.8 |
| Makeup Diffuser | 434.2 | 434.3 | 434.3 | 434.2 | 434.3 | 434.3 | 434.3 | 434.3 | 434.2 | 434.3 |
| U S Picketed Leads | 381.3 | 381.3 | 381.3 | 381.2 | 381.3 | 381.3 | 381.2 | 381.2 | 381.3 | 381.3 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.8 | 437.7 | 437.6 | 438.0 | 438.0 | 437.9 | 437.7 | 437.2 | 437.8 | 437.8 |
| Exit Pool | 437.8 | 437.7 | 437.6 | 437.9 | 438.0 | 437.9 | 437.7 | 437.2 | 437.7 | 437.8 |
| Makeup Diffuser | 434.3 | 434.3 | 434.2 | 434.3 | 434.3 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 |
| U S Picketed Leads | 434.3 | 434.3 | 434.2 | 434.3 | 434.3 | 434.3 | 434.2 | 434.2 | 434.3 | 434.2 |
| D S Picketed Leads | 434.3 | 434.3 | 434.2 | 434.3 | 434.3 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 347.0 | 346.5 | 347.8 | 348.0 | 349.3 | 348.5 | 348.2 | 347.2 | 347.2 | 347.9 |
| North Pwrh SG2 | 346.3 | 345.9 | 347.1 | 347.0 | 349.0 | 348.0 | 347.5 | 346.4 | 346.5 | 347.0 |
| North Shore SG30 | 344.8 | 344.8 | 345.8 | 345.3 | 347.5 | 346.5 | 345.6 | 344.2 | 344.3 | 345.2 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 345.4 | 344.7 | 346.1 | 346.1 | 348.1 | 347.1 | 346.4 | 345.3 | 345.3 | 346.0 |
| North Pwrh SG1 | 345.3 | 344.6 | 346.1 | 345.8 | 348.0 | 346.9 | 346.4 | 345.2 | 345.2 | 345.9 |
| North Shore SG29 | 343.5 | 342.8 | 344.7 | 343.8 | 346.3 | 345.0 | 344.2 | 342.9 | 343.2 | 343.9 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 336.9 | 336.0 | 337.2 | 337.5 | 339.4 | 338.6 | 337.9 | 336.6 | 336.9 | 337.8 |
| NFE 2 | 333.9 | 335.2 | 335.2 | 335.2 | 335.2 | 335.2 | 334.7 | 334.5 | 334.5 | 332.3 |
| NSE 1 | 333.5 | 333.1 | 333.1 | 333.8 | 333.8 | 335.2 | 334.1 | 332.8 | 332.8 | 332.8 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.2 | 1.3 | 1.3 | 1.2 | 1.3 | 1.3 | 1.3 | 1.3 | 1.2 | 1.3 |
| Counting Station | 0.1 | 0.1 | 0.1 | 0.0 | 0.1 | 0.1 | 0.0 | 0.0 | 0.1 | 0.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 |
| Ladder Weirs | 1.3 | 1.3 | 1.2 | 1.3 | 1.3 | 1.2 | 1.2 | 1.2 | 1.3 | 1.2 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.6 | 1.8 | 1.7 | 1.9 | 1.2 | 1.4 | 1.8 | 1.9 | 1.9 | 1.9 |
| North Powerhouse | 1.0 | 1.3 | 1.0 | 1.2 | 1.0 | 1.1 | 1.1 | 1.2 | 1.3 | 1.1 |
| North Shore | 1.3 | 2.0 | 1.1 | 1.5 | 1.2 | 1.5 | 1.4 | 1.3 | 1.1 | 1.3 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 8.5 | 8.7 | 8.9 | 8.6 | 8.7 | 8.5 | 8.5 | 8.7 | 8.4 | 8.2 |
| NFE 2 | 11.4 | 9.4 | 10.9 | 10.6 | 12.8 | 11.7 | 11.7 | 10.7 | 10.7 | 13.6 |
| NSE 1 | 10.0 | 9.7 | 11.6 | 10.0 | 12.5 | 9.8 | 10.1 | 10.1 | 10.4 | 11.1 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| NFE 2 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| NSE 1 | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| NFE 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| NSE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 9-May | 10-May | 11-May | 16-May | 18-May | 19-May | 23-May | 24-May | 25-May | 31-May |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 1.9 | 1.9 | 2.8 | 2.2 | 2.6 | 2.3 | 2.3 | 1.8 | 1.5 | 1.7 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.0 | 437.7 | 438.2 | 437.6 | 437.7 | 437.8 | 437.4 | 437.7 | 437.7 | 437.5 |
| Exit Pool | 438.0 | 437.6 | 438.2 | 437.6 | 437.7 | 437.8 | 437.3 | 437.7 | 437.7 | 437.5 |
| Makeup Diffuser | 434.3 | 434.2 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.2 | 343.3 |
| U S Picketed Leads | 381.2 | 381.3 | 381.3 | 381.3 | 381.5 | 381.3 | 381.3 | 381.3 | 381.4 | 381.3 |
| D S Picketed Leads | 381.1 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.3 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.0 | 437.7 | 438.1 | 437.7 | 437.9 | 437.8 | 437.4 | 437.7 | 437.8 | 437.5 |
| Exit Pool | 437.9 | 437.6 | 438.0 | 437.7 | 437.9 | 437.8 | 437.4 | 437.7 | 437.8 | 437.5 |
| Makeup Diffuser | 434.3 | 434.2 | 434.3 | 434.2 | 434.3 | 434.3 | 434.2 | 434.2 | 434.3 | 434.2 |
| U S Picketed Leads | 434.3 | 434.2 | 434.3 | 434.2 | 434.3 | 434.3 | 434.2 | 434.2 | 434.3 | 434.2 |
| D S Picketed Leads | 434.3 | 434.2 | 434.3 | 434.2 | 434.3 | 434.3 | 434.2 | 434.2 | 434.2 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 349.4 | 349.2 | 347.3 | 348.0 | 346.8 | 345.9 | 345.8 | 345.7 | 345.5 | 344.1 |
| North Pwrh SG2 | 349.0 | 348.6 | 346.4 | 347.0 | 346.0 | 345.1 | 345.2 | 345.1 | 344.9 | 343.4 |
| North Shore SG30 | 347.0 | 346.8 | 346.5 | 345.5 | 344.4 | 343.8 | 342.9 | 344.3 | 343.9 | 342.0 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 347.6 | 347.6 | 345.3 | 346.0 | 344.9 | 344.2 | 344.0 | 344.1 | 343.8 | 341.8 |
| North Pwrh SG1 | 347.6 | 347.4 | 345.0 | 345.8 | 345.0 | 344.0 | 344.0 | 344.0 | 343.6 | 341.9 |
| North Shore SG29 | 345.2 | 345.0 | 345.0 | 344.0 | 342.8 | 342.3 | 341.5 | 343.2 | 342.2 | 340.1 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 332.4 | 332.3 | 332.3 | 332.3 | 332.3 | 335.7 | 335.7 | 335.7 | 335.7 | 335.7 |
| NFE 2 | 334.1 | 334.1 | 334.1 | 332.3 | 332.8 | 332.8 | 332.8 | 335.0 | 335.0 | 335.3 |
| NSE 1 | 332.8 | 332.3 | 333.9 | 334.4 | 333.3 | 333.3 | 333.0 | 333.0 | 333.0 | 333.0 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.3 | 1.2 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.2 | -89.7 |
| Counting Station | 0.1 | 0.1 | 0.1 | 0.1 | 0.3 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.1 | 0.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.3 | 1.2 | 1.3 | 1.2 | 1.3 | 1.3 | 1.2 | 1.2 | 1.3 | 1.2 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.8 | 1.6 | 2.0 | 2.0 | 1.9 | 1.7 | 1.8 | 1.6 | 1.7 | 2.3 |
| North Powerhouse | 1.4 | 1.2 | 1.4 | 1.2 | 1.0 | 1.1 | 1.2 | 1.1 | 1.3 | 1.5 |
| North Shore | 1.8 | 1.8 | 1.5 | 1.5 | 1.6 | 1.5 | 1.4 | 1.1 | 1.7 | 1.9 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 15.2 | 15.3 | 13.0 | 13.7 | 12.6 | 8.5 | 8.3 | 8.4 | 8.1 | 6.1 |
| NFE 2 | 13.5 | 13.3 | 10.9 | 13.5 | 12.2 | 11.2 | 11.2 | 9.0 | 8.6 | 6.6 |
| NSE 1 | 12.4 | 12.7 | 11.1 | 9.6 | 9.5 | 9.0 | 8.5 | 10.2 | 9.2 | 7.1 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| NFE 2 | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| NSE 1 | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO |
| CRITERIA POINTS: YES |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 |
| NFE 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 |
| NSE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 1-Jun | 2-Jun | 6-Jun | 7-Jun | 8-Jun | 13-Jun | 14-Jun | 15-Jun | 20-Jun | 22-Jun |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 1.8 | 1.7 | 1.8 | 2.4 | 1.8 | 2.5 | 2.7 | 1.9 | 2.6 | 3.0 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.5 | 437.9 | 438.0 | 437.4 | 437.5 | 437.7 | 437.9 | 437.8 | 437.6 | 437.7 |
| Exit Pool | 437.5 | 437.9 | 437.9 | 437.7 | 437.5 | 437.7 | 437.9 | 437.8 | 437.6 | 437.7 |
| Makeup Diffuser | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 |
| U S Picketed Leads | 381.4 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.3 | 381.4 | 381.3 | 381.3 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.6 | 437.9 | 437.9 | 437.4 | 437.6 | 437.7 | 437.7 | 437.9 | 437.6 | 437.8 |
| Exit Pool | 437.5 | 437.8 | 437.9 | 437.4 | 437.6 | 437.7 | 437.6 | 437.9 | 437.6 | 437.8 |
| Makeup Diffuser | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.3 | 434.3 | 434.2 | 434.3 | 434.3 |
| U S Picketed Leads | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 |
| D S Picketed Leads | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.3 | 434.3 | 434.2 | 434.3 | 434.3 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 344.6 | 345.0 | 345.5 | 344.9 | 346.3 | 344.0 | 344.6 | 342.5 | 342.6 | 343.5 |
| North Pwrh SG2 | 344.0 | 344.3 | 344.9 | 344.5 | 345.4 | 343.0 | 343.3 | 342.1 | 342.0 | 342.4 |
| North Shore SG30 | 343.6 | 343.6 | 344.0 | 342.8 | 343.6 | 342.9 | 343.3 | 342.0 | 341.2 | 341.8 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 343.1 | 343.5 | 343.8 | 343.0 | 344.5 | 341.5 | 342.1 | 341.0 | 340.2 | 341.0 |
| North Pwrh SG1 | 342.8 | 343.2 | 343.9 | 343.3 | 344.3 | 341.5 | 342.2 | 341.0 | 340.0 | 341.0 |
| North Shore SG29 | 342.2 | 342.5 | 342.8 | 341.0 | 342.1 | 341.8 | 342.1 | 340.6 | 339.5 | 340.2 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 334.2 | 334.2 | 336.2 | 332.3 | 336.8 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NFE 2 | 334.0 | 334.0 | 334.0 | 334.0 | 334.0 | 332.3 | 332.3 | 333.9 | 333.9 | 332.3 |
| NSE 1 | 332.8 | 333.0 | 333.0 | 334.5 | 332.9 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.1 | -0.3 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 |
| Counting Station | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.2 | 1.2 | 1.2 | 1.3 | 1.2 | 1.3 | 1.3 | 1.2 | 1.3 | 1.3 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.5 | 1.5 | 1.7 | 1.9 | 1.8 | 2.5 | 2.5 | 1.5 | 2.4 | 2.5 |
| North Powerhouse | 1.2 | 1.1 | 1.0 | 1.2 | 1.1 | 1.5 | 1.1 | 1.1 | 2.0 | 1.4 |
| North Shore | 1.4 | 1.1 | 1.2 | 1.8 | 1.5 | 1.1 | 1.2 | 1.4 | 1.7 | 1.6 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 8.9 | 9.3 | 7.6 | 10.7 | 7.7 | 9.2 | 9.8 | 8.7 | 7.9 | 8.7 |
| NFE 2 | 8.8 | 9.2 | 9.9 | 9.3 | 10.3 | 9.2 | 9.9 | 7.1 | 6.1 | 8.7 |
| NSE 1 | 9.4 | 9.5 | 9.8 | 6.5 | 9.2 | 9.5 | 9.8 | 8.3 | 7.2 | 7.9 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | NO | NO | YES | NO | NO |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | YES | YES | NO | YES | NO | YES | YES | YES | SILL | YES |
| NFE 2 | YES | YES | YES | YES | YES | YES | YES | NO | NO | YES |
| NSE 1 | YES | YES | YES | NO | YES | YES | YES | YES | SILL | SILL |
| CRITERIA POINTS: YES |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 |
| NFE 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 |
| NSE 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |
| NSE 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 23-Jun | 27-Jun | 28-Jun | 29-Jun | 5-Jul | 6-Jul | 7-Jul | 11-Jul | 12-Jul | 13-Jul |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 2.5 | 2.0 | 2.0 | 1.7 | 2.1 | 2.7 | 2.3 | 2.5 | 2.2 | 2.6 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.5 | 437.7 | 437.7 | 437.5 | 437.5 | 437.5 | 437.7 | 437.6 | 437.8 | 437.6 |
| Exit Pool | 437.5 | 437.7 | 437.7 | 437.5 | 437.5 | 437.5 | 437.7 | 437.6 | 437.8 | 437.6 |
| Makeup Diffuser | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.2 | 434.3 |
| U S Picketed Leads | 381.3 | 381.4 | 381.3 | 381.3 | 381.4 | 381.4 | 381.5 | 381.3 | 381.5 | 381.4 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.6 | 437.8 | 437.8 | 437.5 | 437.6 | 437.5 | 437.7 | 437.7 | 437.8 | 437.7 |
| Exit Pool | 437.6 | 437.8 | 437.8 | 437.5 | 437.5 | 437.5 | 437.5 | 437.7 | 437.7 | 437.7 |
| Makeup Diffuser | 434.3 | 434.3 | 434.2 | 434.2 | 434.2 | 434.3 | 434.3 | 434.2 | 434.3 | 434.2 |
| U S Picketed Leads | 434.3 | 434.3 | 434.2 | 434.2 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.2 |
| D S Picketed Leads | 434.3 | 434.3 | 434.2 | 434.2 | 434.2 | 434.3 | 434.3 | 434.2 | 434.3 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 342.8 | 342.0 | 342.2 | 341.9 | 341.8 | 341.8 | 342.7 | 341.1 | 342.0 | 342.2 |
| North Pwrh SG2 | 342.2 | 341.5 | 341.6 | 342.1 | 341.2 | 341.0 | 342.1 | 340.5 | 342.0 | 341.7 |
| North Shore SG30 | 340.8 | 341.6 | 341.4 | 341.1 | 341.0 | 340.8 | 342.1 | 341.0 | 341.1 | 341.4 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 340.8 | 340.1 | 340.5 | 340.3 | 340.1 | 340.1 | 341.3 | 339.4 | 340.7 | 340.6 |
| North Pwrh SG1 | 340.6 | 340.0 | 340.1 | 340.2 | 339.9 | 339.9 | 341.0 | 339.3 | 340.6 | 340.6 |
| North Shore SG29 | 339.0 | 339.8 | 339.7 | 339.1 | 339.2 | 339.0 | 340.3 | 339.5 | 339.5 | 339.7 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.6 | 332.3 | 332.3 | 332.3 |
| NFE 2 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NSE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.2 | 1.3 |
| Counting Station | 0.1 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.3 | 0.1 | 0.3 | 0.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.2 | 0.0 | 0.1 | 0.0 |
| Ladder Weirs | 1.3 | 1.3 | 1.2 | 1.2 | 1.2 | 1.3 | 1.3 | 1.2 | 1.3 | 1.2 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 2.0 | 1.9 | 1.7 | 1.6 | 1.7 | 1.7 | 1.4 | 1.7 | 1.3 | 1.6 |
| North Powerhouse | 1.6 | 1.5 | 1.5 | 1.9 | 1.3 | 1.1 | 1.1 | 1.2 | 1.4 | 1.1 |
| North Shore | 1.8 | 1.8 | 1.7 | 2.0 | 1.8 | 1.8 | 1.8 | 1.5 | 1.6 | 1.7 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 8.5 | 7.8 | 8.2 | 8.0 | 7.8 | 7.8 | 8.7 | 7.1 | 8.4 | 8.3 |
| NFE 2 | 8.3 | 7.7 | 7.8 | 7.9 | 7.6 | 7.6 | 8.7 | 7.0 | 8.3 | 8.3 |
| NSE 1 | 6.7 | 7.5 | 7.4 | 6.8 | 6.9 | 6.7 | 8.0 | 7.2 | 7.2 | 7.4 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | YES | SILL | YES | YES | SILL | SILL | YES | SILL | YES | YES |
| NFE 2 | YES | SILL | SILL | SILL | SILL | SILL | YES | SILL | YES | YES |
| NSE 1 | SILL | SILL | SILL | SILL | SILL | SILL | YES | SILL | SILL | SILL |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 |
| NFE 2 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 |
| NFE 2 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 |
| NSE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 18-Jul | 19-Jul | 21-Jul | 25-Jul | 26-Jul | 27-Jul | 1-Aug | 2-Aug | 3-Aug | 8-Aug |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 2.3 | 2.5 | 2.8 | 2.8 | 2.0 | 2.6 | 1.8 | 2.4 | 2.0 | 2.3 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.7 | 437.6 | 437.5 | 437.8 | 437.6 | 437.5 | 437.6 | 437.5 | 437.8 | 437.7 |
| Exit Pool | 437.6 | 437.6 | 437.5 | 437.7 | 437.6 | 437.5 | 437.6 | 437.5 | 437.8 | 437.6 |
| Makeup Diffuser | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 |
| U S Picketed Leads | 381.4 | 381.4 | 381.8 | 381.3 | 381.4 | 381.4 | 381.4 | 381.3 | 381.3 | 381.3 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.7 | 437.7 | 437.6 | 437.7 | 437.7 | 437.6 | 437.6 | 437.6 | 437.8 | 437.7 |
| Exit Pool | 437.7 | 437.7 | 437.6 | 437.7 | 437.7 | 437.6 | 437.6 | 437.6 | 437.8 | 437.7 |
| Makeup Diffuser | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 |
| U S Picketed Leads | 434.2 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 |
| D S Picketed Leads | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 342.5 | 342.2 | 341.8 | 341.6 | 341.7 | 340.8 | 341.5 | 341.7 | 341.4 | 341.7 |
| North Pwrh SG2 | 341.9 | 341.6 | 341.2 | 341.1 | 341.1 | 341.0 | 341.0 | 340.8 | 340.9 | 341.0 |
| North Shore SG30 | 341.8 | 341.3 | 341.0 | 341.1 | 341.5 | 341.2 | 341.7 | 341.2 | 340.5 | 340.8 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 340.8 | 340.5 | 340.1 | 340.0 | 340.1 | 339.8 | 339.9 | 340.0 | 339.8 | 340.2 |
| North Pwrh SG1 | 340.7 | 340.5 | 340.1 | 340.0 | 340.1 | 339.8 | 339.9 | 339.8 | 339.8 | 340.0 |
| North Shore SG29 | 340.4 | 339.5 | 339.6 | 339.6 | 340.2 | 339.4 | 340.3 | 339.5 | 338.6 | 338.8 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 332.4 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NFE 2 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NSE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.1 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 |
| Ladder Weirs | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 |
| Counting Station | 0.2 | 0.2 | 0.6 | 0.1 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.3 | 1.2 | 1.2 |
| Counting Station | 0.0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.0 | 0.1 | 0.1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.7 | 1.7 | 1.7 | 1.6 | 1.6 | 1.0 | 1.6 | 1.7 | 1.6 | 1.5 |
| North Powerhouse | 1.2 | 1.1 | 1.1 | 1.1 | 1.0 | 1.2 | 1.1 | 1.0 | 1.1 | 1.0 |
| North Shore | 1.4 | 1.8 | 1.4 | 1.5 | 1.3 | 1.8 | 1.4 | 1.7 | 1.9 | 2.0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 8.4 | 8.2 | 7.8 | 7.7 | 7.8 | 7.5 | 7.6 | 7.7 | 7.5 | 7.9 |
| NFE 2 | 8.4 | 8.2 | 7.8 | 7.7 | 7.8 | 7.5 | 7.6 | 7.5 | 7.5 | 7.7 |
| NSE 1 | 8.1 | 7.2 | 7.3 | 7.3 | 7.9 | 7.1 | 8.0 | 7.2 | 6.3 | 6.5 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | NO | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | YES | YES | SILL | SILL | SILL | SILL | SILL | SILL | SILL | SILL |
| NFE 2 | YES | YES | SILL | SILL | SILL | SILL | SILL | SILL | SILL | SILL |
| NSE 1 | YES | SILL | SILL | SILL | SILL | SILL | YES | SILL | SILL | SILL |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| NFE 2 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| NSE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 9-Aug | 10-Aug | 15-Aug | 17-Aug | 18-Aug | 22-Aug | 23-Aug | 25-Aug | 30-Aug | 31-Aug |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 2.5 | 2.4 | 2.4 | 2.0 | 2.8 | 2.1 | 1.8 | 1.8 | 2.0 | 2.4 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.6 | 437.5 | 437.5 | 437.6 | 437.7 | 437.7 | 437.7 | 437.6 | 437.7 | 437.7 |
| Exit Pool | 437.6 | 437.5 | 437.5 | 437.6 | 437.7 | 437.7 | 437.7 | 437.5 | 437.7 | 437.7 |
| Makeup Diffuser | 434.3 | 434.3 | 434.2 | 434.2 | 434.2 | 434.3 | 434.3 | 434.3 | 434.2 | 434.3 |
| U S Picketed Leads | 381.5 | 381.4 | 381.4 | 381.4 | 381.4 | 381.4 | 381.4 | 381.3 | 381.3 | 381.4 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 437.6 | 437.5 | 437.5 | 437.6 | 437.7 | 437.6 | 437.6 | 437.6 | 437.7 | 437.7 |
| Exit Pool | 437.6 | 437.5 | 437.5 | 437.7 | 437.7 | 437.7 | 437.6 | 437.6 | 437.7 | 437.7 |
| Makeup Diffuser | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 | 434.2 | 434.2 |
| U S Picketed Leads | 434.3 | 434.2 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 |
| D S Picketed Leads | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.3 | 434.2 | 434.2 | 434.2 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 341.5 | 341.6 | 341.5 | 341.9 | 341.4 | 341.0 | 341.5 | 341.5 | 341.8 | 341.4 |
| North Pwrh SG2 | 340.8 | 341.1 | 340.6 | 341.2 | 340.9 | 340.5 | 340.9 | 341.0 | 340.8 | 340.9 |
| North Shore SG30 | 340.6 | 341.9 | 340.9 | 340.7 | 340.8 | 340.7 | 340.8 | 340.9 | 340.7 | 341.0 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 339.7 | 340.0 | 339.8 | 340.4 | 339.8 | 339.2 | 339.8 | 339.9 | 339.8 | 339.7 |
| North Pwrh SG1 | 339.7 | 340.0 | 339.5 | 340.2 | 339.7 | 339.2 | 339.8 | 339.8 | 339.7 | 339.8 |
| North Shore SG29 | 338.8 | 339.0 | 339.0 | 338.8 | 339.0 | 338.8 | 339.0 | 339.1 | 338.8 | 339.1 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NFE 2 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NSE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 | 0.0 |
| Ladder Weirs | 1.3 | 1.3 | 1.2 | 1.2 | 1.2 | 1.3 | 1.3 | 1.3 | 1.2 | 1.3 |
| Counting Station | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | -0.1 | 0.0 | -0.1 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.3 | 1.2 | 1.2 | 1.2 | 1.2 |
| Counting Station | 0.1 | 0.0 | 0.1 | 0.1 | 0.1 | 0.0 | 0.1 | 0.1 | 0.1 | 0.1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.8 | 1.6 | 1.7 | 1.5 | 1.6 | 1.8 | 1.7 | 1.6 | 2.0 | 1.7 |
| North Powerhouse | 1.1 | 1.1 | 1.1 | 1.0 | 1.2 | 1.3 | 1.1 | 1.2 | 1.1 | 1.1 |
| North Shore | 1.8 | 2.9 | 1.9 | 1.9 | 1.8 | 1.9 | 1.8 | 1.8 | 1.9 | 1.9 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 7.4 | 7.7 | 7.5 | 8.1 | 7.5 | 6.9 | 7.5 | 7.6 | 7.5 | 7.4 |
| NFE 2 | 7.4 | 7.7 | 7.2 | 7.9 | 7.4 | 6.9 | 7.5 | 7.5 | 7.4 | 7.5 |
| NSE 1 | 6.5 | 6.7 | 6.7 | 6.5 | 6.7 | 6.5 | 6.7 | 6.8 | 6.5 | 6.8 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | NO | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | SILL | SILL | SILL | YES | SILL | SILL | SILL | SILL | SILL | SILL |
| NFE 2 | SILL | SILL | SILL | SILL | SILL | SILL | SILL | SILL | SILL | SILL |
| NSE 1 | SILL | SILL | SILL | SILL | SILL | SILL | SILL | SILL | SILL | SILL |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |
| NFE 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| NSE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 1-Sep | 6-Sep | 7-Sep | 8-Sep | 12-Sep | 13-Sep | 14-Sep | 19-Sep | 20-Sep | 22-Sep |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 2.4 | 2.1 | 2.8 | 2.4 | 2.9 | 1.6 | 2.8 | 2.3 | 2.7 | 2.3 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.1 | 439.4 | 439.5 | 439.3 | 439.1 | 439.0 | 439.3 | 437.5 | 437.6 | 438.4 |
| Exit Pool | 438.1 | 439.4 | 439.4 | 439.3 | 439.0 | 438.9 | 439.3 | 437.5 | 437.6 | 438.4 |
| Makeup Diffuser | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.2 | 434.3 | 434.2 |
| U S Picketed Leads | 381.3 | 381.4 | 381.3 | 381.4 | 381.4 | 381.3 | 381.4 | 381.5 | 381.4 | 381.5 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.1 | 439.5 | 439.4 | 439.5 | 439.1 | 439.1 | 439.2 | 437.5 | 437.6 | 438.2 |
| Exit Pool | 438.2 | 439.5 | 439.4 | 439.6 | 439.2 | 439.2 | 439.3 | 437.5 | 437.7 | 438.3 |
| Makeup Diffuser | 434.3 | 434.2 | 434.5 | 434.4 | 434.4 | 434.4 | 434.5 | 434.1 | 434.2 | 434.1 |
| U S Picketed Leads | 434.3 | 434.3 | 434.5 | 434.4 | 434.4 | 434.4 | 434.6 | 434.2 | 434.2 | 434.2 |
| D S Picketed Leads | 434.3 | 434.2 | 434.5 | 434.4 | 434.4 | 434.4 | 434.5 | 434.1 | 434.2 | 434.1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 341.4 | 340.5 | 341.2 | 342.1 | 341.5 | 341.9 | 342.3 | 342.3 | 340.8 | 341.1 |
| North Pwrh SG2 | 340.8 | 340.0 | 340.8 | 340.8 | 340.6 | 341.3 | 341.7 | 341.5 | 340.1 | 340.7 |
| North Shore SG30 | 341.4 | 341.0 | 341.4 | 341.4 | 341.5 | 342.0 | 342.1 | 342.1 | 340.8 | 341.7 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 339.6 | 338.5 | 339.3 | 340.3 | 339.5 | 340.0 | 340.5 | 340.4 | 338.8 | 339.3 |
| North Pwrh SG1 | 339.8 | 338.3 | 339.4 | 339.8 | 339.6 | 340.2 | 340.5 | 340.5 | 339.0 | 339.4 |
| North Shore SG29 | 339.8 | 339.5 | 340.1 | 340.2 | 340.0 | 340.6 | 340.6 | 340.5 | 339.1 | 339.7 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.6 | 332.5 | 332.7 | 332.3 | 332.3 |
| NFE 2 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.4 | 332.3 | 332.3 |
| NSE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.6 | 332.5 | 332.5 | 332.3 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.1 | 0.0 | 0.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.2 | 1.3 | 1.2 |
| Counting Station | 0.1 | 0.2 | 0.1 | 0.2 | 0.2 | 0.1 | 0.2 | 0.3 | 0.2 | 0.3 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | -0.1 | 0.0 | 0.0 | -0.1 | -0.1 | -0.1 | -0.1 | 0.0 | -0.1 | -0.1 |
| Ladder Weirs | 1.3 | 1.2 | 1.5 | 1.4 | 1.4 | 1.4 | 1.5 | 1.1 | 1.2 | 1.1 |
| Counting Station | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.1 | 0.0 | 0.1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.8 | 2.0 | 1.9 | 1.8 | 2.0 | 1.9 | 1.8 | 1.9 | 2.0 | 1.8 |
| North Powerhouse | 1.0 | 1.7 | 1.4 | 1.0 | 1.0 | 1.1 | 1.2 | 1.0 | 1.1 | 1.3 |
| North Shore | 1.6 | 1.5 | 1.3 | 1.2 | 1.5 | 1.4 | 1.5 | 1.6 | 1.7 | 2.0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 7.3 | 6.2 | 7.0 | 8.0 | 7.2 | 7.4 | 8.0 | 7.7 | 6.5 | 7.0 |
| NFE 2 | 7.5 | 6.0 | 7.1 | 7.5 | 7.3 | 7.9 | 8.2 | 8.1 | 6.7 | 7.1 |
| NSE 1 | 7.5 | 7.2 | 7.8 | 7.9 | 7.7 | 8.0 | 8.1 | 8.0 | 6.8 | 7.4 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | NO | NO | NO | NO | NO | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | SILL | SILL | SILL | YES | SILL | NO | YES | NO | SILL | SILL |
| NFE 2 | SILL | SILL | SILL | SILL | SILL | SILL | YES | YES | SILL | SILL |
| NSE 1 | SILL | SILL | SILL | SILL | SILL | YES | YES | YES | SILL | SILL |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 |
| NFE 2 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 |
| NSE 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 26-Sep | 27-Sep | 28-Sep | 3-Oct | 4-Oct | 5-Oct | 11-Oct | 12-Oct | 13-Oct | 17-Oct |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 1.6 | 2.8 | 2.7 | 2.2 | 2.4 | 2.1 | 1.7 | 2.4 | 2.8 | 2.9 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.7 | 439.0 | 439.0 | 438.9 | 438.8 | 438.9 | 438.6 | 438.9 | 438.7 | 437.6 |
| Exit Pool | 438.7 | 439.0 | 438.9 | 438.8 | 438.8 | 438.9 | 438.6 | 438.9 | 438.7 | 437.5 |
| Makeup Diffuser | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.2 | 434.3 |
| U S Picketed Leads | 381.3 | 381.4 | 381.3 | 381.4 | 381.3 | 381.4 | 381.5 | 381.3 | 381.4 | 381.3 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.6 | 439.1 | 438.9 | 438.8 | 438.8 | 438.8 | 438.5 | 438.9 | 438.8 | 437.6 |
| Exit Pool | 438.6 | 439.1 | 438.9 | 438.8 | 434.8 | 438.8 | 438.6 | 438.9 | 438.8 | 437.7 |
| Makeup Diffuser | 434.1 | 434.2 | 434.2 | 434.1 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 |
| U S Picketed Leads | 434.2 | 434.3 | 434.2 | 434.2 | 434.3 | 434.3 | 434.2 | 434.3 | 434.3 | 434.3 |
| D S Picketed Leads | 434.1 | 434.2 | 434.2 | 434.1 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 341.9 | 341.6 | 340.8 | 342.0 | 342.0 | 342.3 | 342.0 | 341.5 | 342.1 | 341.3 |
| North Pwrh SG2 | 341.5 | 341.0 | 340.1 | 341.8 | 341.5 | 341.9 | 341.3 | 340.9 | 341.5 | 340.8 |
| North Shore SG30 | 341.9 | 341.4 | 340.7 | 342.4 | 342.3 | 342.0 | 341.8 | 341.5 | 342.3 | 341.5 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 340.2 | 339.7 | 338.8 | 340.6 | 340.3 | 340.7 | 340.3 | 339.6 | 340.4 | 339.5 |
| North Pwrh SG1 | 340.3 | 339.7 | 338.9 | 340.7 | 340.3 | 340.7 | 340.2 | 339.7 | 340.4 | 339.5 |
| North Shore SG29 | 340.4 | 339.9 | 338.9 | 341.0 | 340.5 | 340.8 | 340.3 | 339.9 | 340.8 | 339.9 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NFE 2 | 332.7 | 332.3 | 332.3 | 332.6 | 332.6 | 332.3 | 332.3 | 332.3 | 332.4 | 332.3 |
| NSE 1 | 332.4 | 332.3 | 332.3 | 332.7 | 332.7 | 332.3 | 332.3 | 332.3 | 332.6 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 |
| Ladder Weirs | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.2 | 1.3 |
| Counting Station | 0.1 | 0.2 | 0.1 | 0.2 | 0.1 | 0.2 | 0.3 | 0.1 | 0.2 | 0.1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.0 | 4.0 | 0.0 | -0.1 | 0.0 | 0.0 | -0.1 |
| Ladder Weirs | 1.1 | 1.2 | 1.2 | 1.1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 |
| Counting Station | 0.1 | 0.1 | 0.0 | 0.1 | 0.1 | 0.1 | 0.0 | 0.1 | 0.1 | 0.1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.7 | 1.9 | 2.0 | 1.4 | 1.7 | 1.6 | 1.7 | 1.9 | 1.7 | 1.8 |
| North Powerhouse | 1.2 | 1.3 | 1.2 | 1.1 | 1.2 | 1.2 | 1.1 | 1.2 | 1.1 | 1.3 |
| North Shore | 1.5 | 1.5 | 1.8 | 1.4 | 1.8 | 1.2 | 1.5 | 1.6 | 1.5 | 1.6 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 7.9 | 7.4 | 6.5 | 8.3 | 8.0 | 8.4 | 8.0 | 7.3 | 8.1 | 7.2 |
| NFE 2 | 7.6 | 7.4 | 6.6 | 8.1 | 7.7 | 8.4 | 7.9 | 7.4 | 8.0 | 7.2 |
| NSE 1 | 8.0 | 7.6 | 6.6 | 8.3 | 7.8 | 8.5 | 8.0 | 7.6 | 8.2 | 7.6 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | NO | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | SILL | SILL | SILL | YES | YES | YES | YES | SILL | YES | SILL |
| NFE 2 | NO | SILL | SILL | YES | NO | YES | SILL | SILL | YES | SILL |
| NSE 1 | YES | SILL | SILL | YES | NO | YES | YES | SILL | YES | SILL |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 |
| NFE 2 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 |
| NSE 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 |
| NFE 2 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 |
| NSE 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 19-Oct | 20-Oct | 25-Oct | 26-Oct | 28-Oct | 31-Oct | 1-Nov | 2-Nov | 7-Nov | 8-Nov |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 2.2 | 2.4 | 2.2 | 2.2 | 2.5 | 2.5 | 1.9 | 2.7 | 3.1 | 2.0 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.5 | 438.2 | 438.8 | 438.7 | 439.3 | 438.5 | 438.7 | 438.5 | 438.3 | 437.8 |
| Exit Pool | 438.4 | 439.2 | 438.8 | 438.6 | 439.3 | 438.5 | 438.7 | 438.5 | 438.2 | 437.7 |
| Makeup Diffuser | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.2 | 434.3 | 434.2 | 434.3 | 434.3 |
| U S Picketed Leads | 381.4 | 381.4 | 381.3 | 381.3 | 381.3 | 381.3 | 381.2 | 381.2 | 381.2 | 381.2 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.5 | 439.0 | 438.8 | 438.8 | 439.2 | 438.5 | 438.7 | 438.5 | 438.3 | 437.7 |
| Exit Pool | 438.5 | 439.1 | 438.8 | 438.8 | 439.2 | 438.5 | 438.7 | 438.5 | 438.3 | 437.7 |
| Makeup Diffuser | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 |
| U S Picketed Leads | 434.2 | 434.3 | 434.3 | 434.3 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 |
| D S Picketed Leads | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 342.4 | 341.5 | 342.5 | 340.7 | 341.8 | 342.0 | 342.9 | 341.3 | 342.7 | 341.0 |
| North Pwrh SG2 | 342.0 | 341.2 | 342.2 | 340.1 | 341.4 | 341.4 | 342.3 | 340.4 | 342.2 | 340.3 |
| North Shore SG30 | 342.5 | 341.8 | 341.5 | 340.4 | 341.9 | 341.4 | 342.8 | 341.1 | 342.4 | 341.0 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 340.7 | 339.5 | 340.9 | 338.7 | 339.9 | 340.2 | 341.4 | 339.4 | 341.1 | 339.1 |
| North Pwrh SG1 | 340.7 | 340.0 | 341.0 | 338.7 | 340.0 | 340.1 | 341.3 | 339.3 | 341.0 | 339.2 |
| North Shore SG29 | 341.0 | 340.5 | 340.2 | 338.6 | 340.3 | 340.1 | 341.5 | 339.6 | 341.1 | 339.4 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NFE 2 | 332.3 | 332.3 | 333.0 | 332.3 | 332.3 | 332.3 | 333.0 | 332.3 | 332.7 | 332.3 |
| NSE 1 | 332.3 | 332.5 | 332.3 | 332.3 | 332.4 | 332.3 | 332.8 | 332.3 | 332.7 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.1 | -1.0 | 0.0 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.1 |
| Ladder Weirs | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.2 | 1.3 | 1.2 | 1.3 | 1.3 |
| Counting Station | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | -0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 |
| Counting Station | 0.0 | 0.1 | 0.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.7 | 2.0 | 1.6 | 2.0 | 1.9 | 1.8 | 1.5 | 1.9 | 1.6 | 1.9 |
| North Powerhouse | 1.3 | 1.2 | 1.2 | 1.4 | 1.4 | 1.3 | 1.0 | 1.1 | 1.2 | 1.1 |
| North Shore | 1.5 | 1.3 | 1.3 | 1.8 | 1.6 | 1.3 | 1.3 | 1.5 | 1.3 | 1.6 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 8.4 | 7.2 | 8.6 | 6.4 | 7.6 | 7.9 | 9.1 | 7.1 | 8.8 | 6.8 |
| NFE 2 | 8.4 | 7.7 | 8.0 | 6.4 | 7.7 | 7.8 | 8.3 | 7.0 | 8.3 | 6.9 |
| NSE 1 | 8.7 | 8.0 | 7.9 | 6.3 | 7.9 | 7.8 | 8.7 | 7.3 | 8.4 | 7.1 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | YES | SILL | YES | SILL | SILL | SILL | YES | SILL | YES | SILL |
| NFE 2 | YES | SILL | YES | SILL | SILL | SILL | YES | SILL | YES | SILL |
| NSE 1 | YES | YES | SILL | SILL | NO | SILL | YES | SILL | YES | SILL |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 |
| NFE 2 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 |
| NSE 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 |
| NFE 2 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 |
| NSE 1 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 9-Nov | 14-Nov | 16-Nov | 17-Nov | 21-Nov | 22-Nov | 23-Nov | 28-Nov | 29-Nov | 30-Nov |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 3.2 | 2.5 | 3.1 | 3.0 | 3.5 | 2.5 | 2.7 | 3.1 | 3.1 | 3.0 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.4 | 438.2 | 438.4 | 437.9 | 438.3 | 438.7 | 438.4 | 438.7 | 438.4 | 438.4 |
| Exit Pool | 438.3 | 438.1 | 438.4 | 437.9 | 438.3 | 438.7 | 438.4 | 438.7 | 438.4 | 438.3 |
| Makeup Diffuser | 434.3 | 434.3 | 434.3 | 434.2 | 434.2 | 434.3 | 434.3 | 434.3 | 434.3 | 434.2 |
| U S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 438.3 | 438.2 | 438.4 | 438.0 | 438.3 | 438.8 | 438.3 | 438.6 | 438.5 | 438.4 |
| Exit Pool | 438.3 | 438.2 | 438.4 | 438.0 | 438.3 | 438.8 | 438.3 | 438.6 | 438.5 | 438.5 |
| Makeup Diffuser | 434.1 | 434.0 | 434.1 | 434.0 | 434.0 | 434.2 | 434.1 | 434.2 | 434.2 | 434.2 |
| U S Picketed Leads | 434.2 | 434.1 | 434.2 | 434.0 | 434.0 | 434.2 | 434.1 | 434.2 | 434.2 | 434.2 |
| D S Picketed Leads | 434.1 | 434.0 | 434.1 | 434.0 | 434.0 | 434.2 | 434.1 | 434.2 | 434.2 | 434.2 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 341.1 | 341.3 | 341.2 | 342.0 | 340.4 | 341.0 | 341.3 | 342.0 | 341.4 | 341.0 |
| North Pwrh SG2 | 340.7 | 340.9 | 340.1 | 341.0 | 340.0 | 340.6 | 340.8 | 341.5 | 341.0 | 340.5 |
| North Shore SG30 | 340.7 | 341.4 | 341.2 | 341.5 | 340.5 | 340.8 | 341.1 | 341.8 | 341.1 | 341.3 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 339.2 | 339.5 | 339.2 | 340.0 | 338.5 | 339.0 | 339.4 | 340.3 | 339.5 | 339.1 |
| North Pwrh SG1 | 339.3 | 339.6 | 339.0 | 339.8 | 338.3 | 339.2 | 339.3 | 340.3 | 339.7 | 339.2 |
| North Shore SG29 | 339.3 | 339.9 | 339.8 | 340.2 | 338.6 | 339.2 | 339.3 | 340.3 | 339.4 | 339.7 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NFE 2 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.4 | 332.3 | 332.3 |
| NSE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.5 | 332.3 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 |
| Ladder Weirs | 1.3 | 1.3 | 1.3 | 1.2 | 1.2 | 1.3 | 1.3 | 1.3 | 1.3 | 1.2 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | -0.1 |
| Ladder Weirs | 1.1 | 1.0 | 1.1 | 1.0 | 1.0 | 1.2 | 1.1 | 1.2 | 1.2 | 1.2 |
| Counting Station | 0.1 | 0.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.9 | 1.8 | 2.0 | 2.0 | 1.9 | 2.0 | 1.9 | 1.7 | 1.9 | 1.9 |
| North Powerhouse | 1.4 | 1.3 | 1.1 | 1.2 | 1.7 | 1.4 | 1.5 | 1.2 | 1.3 | 1.3 |
| North Shore | 1.4 | 1.5 | 1.4 | 1.3 | 1.9 | 1.6 | 1.8 | 1.5 | 1.7 | 1.6 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 6.9 | 7.2 | 6.9 | 7.7 | 6.2 | 6.7 | 7.1 | 8.0 | 7.2 | 6.8 |
| NFE 2 | 7.0 | 7.3 | 6.7 | 7.5 | 6.0 | 6.9 | 7.0 | 7.9 | 7.4 | 6.9 |
| NSE 1 | 7.0 | 7.6 | 7.5 | 7.9 | 6.3 | 6.9 | 7.0 | 7.8 | 7.1 | 7.4 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | SILL | SILL | SILL | SILL | SILL | SILL | SILL | YES | SILL | SILL |
| NFE 2 | SILL | SILL | SILL | SILL | SILL | SILL | SILL | NO | SILL | SILL |
| NSE 1 | SILL | SILL | SILL | SILL | SILL | SILL | SILL | NO | SILL | SILL |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |
| NSE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 |
| NFE 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 |
| NSE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 5-Dec | 7-Dec | 8-Dec | 12-Dec | 13-Dec | 14-Dec | 19-Dec | 20-Dec | 22-Dec | 27-Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CHANNEL VELOCITIES |  |  |  |  |  |  |  |  |  |  |
| IN SOUTH FISHWAY: | 3.0 | 3.0 | 3.1 | 2.6 | 2.6 | 2.6 | 2.5 | 3.1 | 3.0 | 2.9 |
| ELEVATIONS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 439.0 | 439.0 | 439.0 | 440.0 | 439.6 | 439.1 | 438.3 | 438.1 | 439.1 | 439.2 |
| Exit Pool | 439.0 | 439.0 | 439.0 | 440.0 | 439.5 | 439.0 | 438.3 | 438.1 | 439.1 | 439.2 |
| Makeup Diffuser | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.3 | 434.2 | 434.3 | 434.3 | 434.2 |
| U S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| D S Picketed Leads | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 | 381.2 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Forebay | 439.0 | 439.0 | 439.0 | 440.0 | 439.5 | 439.1 | 438.3 | 438.1 | 439.1 | 439.3 |
| Exit Pool | 439.0 | 439.0 | 439.0 | 439.9 | 439.6 | 439.1 | 438.3 | 438.1 | 439.1 | 439.3 |
| Makeup Diffuser | 434.2 | 434.1 | 434.2 | 434.2 | 434.2 | 434.2 | 434.0 | 434.0 | 434.1 | 434.1 |
| U S Picketed Leads | 434.2 | 434.1 | 434.2 | 434.2 | 434.2 | 434.2 | 434.0 | 434.0 | 434.1 | 434.1 |
| D S Picketed Leads | 434.2 | 434.1 | 434.2 | 434.2 | 434.2 | 434.2 | 434.0 | 434.0 | 434.0 | 434.1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG4 | 341.4 | 341.3 | 341.9 | 341.8 | 341.9 | 341.9 | 342.0 | 341.6 | 342.0 | 341.7 |
| North Pwrh SG2 | 340.9 | 340.6 | 341.3 | 341.3 | 341.2 | 341.4 | 341.6 | 341.0 | 341.5 | 341.3 |
| North Shore SG30 | 341.3 | 340.9 | 341.7 | 341.5 | 341.6 | 341.5 | 341.6 | 341.3 | 341.4 | 341.5 |
| Tailwater |  |  |  |  |  |  |  |  |  |  |
| South Pwrh SG3 | 339.5 | 339.3 | 340.1 | 340.0 | 340.1 | 340.1 | 340.4 | 339.9 | 340.4 | 340.0 |
| North Pwrh SG1 | 339.5 | 339.1 | 340.1 | 340.0 | 340.0 | 340.0 | 340.6 | 339.7 | 340.3 | 340.1 |
| North Shore SG29 | 339.5 | 339.1 | 340.3 | 340.0 | 340.0 | 340.2 | 340.3 | 339.7 | 340.2 | 340.2 |
| Entrance Weirs |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NFE 2 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| NSE 1 | 332.4 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.1 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.2 | 1.3 | 1.3 | 1.2 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0.0 | 0.0 | 0.0 | 0.1 | -0.1 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Ladder Weirs | 1.2 | 1.1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.0 | 1.0 | 1.1 | 1.1 |
| Counting Station | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.1 | 0.0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1.9 | 2.0 | 1.8 | 1.8 | 1.8 | 1.8 | 1.6 | 1.7 | 1.6 | 1.7 |
| North Powerhouse | 1.4 | 1.5 | 1.2 | 1.3 | 1.2 | 1.4 | 1.0 | 1.3 | 1.2 | 1.2 |
| North Shore | 1.8 | 1.8 | 1.4 | 1.5 | 1.6 | 1.3 | 1.3 | 1.6 | 1.2 | 1.3 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 7.2 | 7.0 | 7.8 | 7.7 | 7.8 | 7.8 | 8.1 | 7.6 | 8.1 | 7.7 |
| NFE 2 | 7.2 | 6.8 | 7.8 | 7.7 | 7.7 | 7.7 | 8.3 | 7.4 | 8.0 | 7.8 |
| NSE 1 | 7.1 | 6.8 | 8.0 | 7.7 | 7.7 | 7.9 | 8.0 | 7.4 | 7.9 | 7.9 |
| CRITERIA POINTS: |  |  |  |  |  |  |  |  |  |  |
| Channel Velocities | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Ladder Weirs | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Counting Station | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Powerhouse | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| North Shore | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | SILL | SILL | SILL | SILL | SILL | SILL | YES | SILL | YES | SILL |
| NFE 2 | SILL | SILL | SILL | SILL | SILL | SILL | YES | SILL | YES | SILL |
| NSE 1 | NO | SILL | YES | SILL | SILL | SILL | YES | SILL | SILL | SILL |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Ladder Weirs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Counting Station | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Powerhouse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| North Shore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 |
| NSE 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Channel Velocities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Differentials |  |  |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Fish Ladder |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Collection Channels |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) |  |  |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |  |  |
| SFE 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 |
| NFE 2 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 |
| NSE 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | Not applicable. |  |  |  |  |  |  |  |  |  |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | Not applicable. |  |  |  |  |  |  |  |  |  |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |  |  |  |  |  |  |  |  |
| Ladder Exit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Ladder Weirs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Counting Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |  |  |  |  |  |  |  |  |
| South Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Powerhouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North Shore | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (<7.80) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |  |  |  |  |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

| DATES: | 28-Dec | 29-Dec |
| --- | --- | --- |
| CHANNEL VELOCITIES |  |  |
| IN SOUTH FISHWAY: | 3.2 | 2.6 |
| ELEVATIONS: |  |  |
| South Fish Ladder |  |  |
| Forebay | 439.4 | 439.0 |
| Exit Pool | 439.3 | 439.0 |
| Makeup Diffuser | 434.3 | 434.2 |
| U S Picketed Leads | 381.2 | 381.2 |
| D S Picketed Leads | 381.2 | 381.2 |
| North Fish Ladder |  |  |
| Forebay | 439.3 | 439.0 |
| Exit Pool | 439.3 | 439.0 |
| Makeup Diffuser | 434.1 | 434.1 |
| U S Picketed Leads | 434.1 | 434.1 |
| D S Picketed Leads | 434.1 | 434.1 |
| Collection Channels |  |  |
| South Pwrh SG4 | 340.9 | 342.8 |
| North Pwrh SG2 | 340.3 | 342.4 |
| North Shore SG30 | 340.9 | 341.3 |
| Tailwater |  |  |
| South Pwrh SG3 | 339.0 | 341.4 |
| North Pwrh SG1 | 339.0 | 341.3 |
| North Shore SG29 | 339.0 | 339.7 |
| Entrance Weirs |  |  |
| SFE 1 | 332.3 | 332.3 |
| NFE 2 | 332.3 | 332.3 |
| NSE 1 | 332.3 | 332.3 |
| DIFFERENTIALS/DEPTHS: |  |  |
| South Fish Ladder |  |  |
| Ladder Exit | 0.1 | 0.0 |
| Ladder Weirs | 1.3 | 1.2 |
| Counting Station | 0.0 | 0.0 |
| North Fish Ladder |  |  |
| Ladder Exit | 0.0 | 0.0 |
| Ladder Weirs | 1.1 | 1.1 |
| Counting Station | 0.0 | 0.0 |
| Collection Channels |  |  |
| South Shore | 1.9 | 1.4 |
| North Powerhouse | 1.3 | 1.1 |
| North Shore | 1.9 | 1.6 |
| Weir Depths |  |  |
| SFE 1 | 6.7 | 9.1 |
| NFE 2 | 6.7 | 9.0 |
| NSE 1 | 6.7 | 7.4 |
| CRITERIA POINTS: |  |  |
| Channel Velocities | YES | YES |
| Differentials |  |  |
| South Fish Ladder |  |  |
| Ladder Exit | YES | YES |
| Ladder Weirs | YES | YES |
| Counting Station | YES | YES |
| North Fish Ladder |  |  |
| Ladder Exit | YES | YES |
| Ladder Weirs | YES | YES |
| Counting Station | YES | YES |
| Collection Channels |  |  |
| South Shore | YES | YES |
| North Powerhouse | YES | YES |
| North Shore | YES | YES |
| Weir Depths |  |  |
| SFE 1 | SILL | YES |
| NFE 2 | SILL | YES |
| NSE 1 | SILL | SILL |
| CRITERIA POINTS: YES | (Output = 0, 1, or NA) |  |
| Channel Velocities | 1 | 1 |
| Differentials |  |  |
| South Fish Ladder |  |  |
| Ladder Exit | 1 | 1 |
| Ladder Weirs | 1 | 1 |
| Counting Station | 1 | 1 |
| North Fish Ladder |  |  |
| Ladder Exit | 1 | 1 |
| Ladder Weirs | 1 | 1 |
| Counting Station | 1 | 1 |
| Collection Channels |  |  |
| South Shore | 1 | 1 |
| North Powerhouse | 1 | 1 |
| North Shore | 1 | 1 |
| Weir Depths |  |  |
| SFE 1 | 0 | 1 |
| NFE 2 | 0 | 1 |
| NSE 1 | 0 | 0 |
| CRITERIA POINTS: NO | (Output = 0, 1, or NA) | (Output = 0, 1, or NA) |
| Channel Velocities | 0 | 0 |
| Differentials |  |  |
| South Fish Ladder |  |  |
| Ladder Exit | 0 | 0 |
| Ladder Weirs | 0 | 0 |
| Counting Station | 0 | 0 |
| North Fish Ladder |  |  |
| Ladder Exit | 0 | 0 |
| Ladder Weirs | 0 | 0 |
| Counting Station | 0 | 0 |
| Collection Channels |  |  |
| South Shore | 0 | 0 |
| North Powerhouse | 0 | 0 |
| North Shore | 0 | 0 |
| Weir Depths |  |  |
| SFE 1 | 0 | 0 |
| NFE 2 | 0 | 0 |
| NSE 1 | 0 | 0 |
| CRITERIA POINTS: SILL | (Output = 0, 1, or NA) | (Output = 0, 1, or NA) |
| Weir Depths |  |  |
| SFE 1 | 1 | 0 |
| NFE 2 | 1 | 0 |
| NSE 1 | 1 | 1 |
| South Ladder Differentials (more than 0.2 too low) |  |  |
| Ladder Exit | Not applicable. | Not applicable. |
| Ladder Weirs | 0 | 0 |
| Counting Station | Not applicable. | Not applicable. |
| South Ladder Differentials (0.11 - 0.2 too low) |  |  |
| Ladder Exit | Not applicable. | Not applicable. |
| Ladder Weirs | 0 | 0 |
| Counting Station | Not applicable. | Not applicable. |
| South Ladder Differentials (0.01 - 0.1 too low) |  |  |
| Ladder Exit | Not applicable. | Not applicable. |
| Ladder Weirs | 0 | 0 |
| Counting Station | Not applicable. | Not applicable. |
| South Ladder Differentials (0.01 - 0.1 too high) |  |  |
| Ladder Exit | 0 | 0 |
| Ladder Weirs | 0 | 0 |
| Counting Station | 0 | 0 |
| South Ladder Differentials (0.11 - 0.2 too high) |  |  |
| Ladder Exit | 0 | 0 |
| Ladder Weirs | 0 | 0 |
| Counting Station | 0 | 0 |
| South Ladder Differentials (more than 0.2 too high) |  |  |
| Ladder Exit | 0 | 0 |
| Ladder Weirs | 0 | 0 |
| Counting Station | 0 | 0 |
| North Ladder Differentials (more than 0.2 too low) |  |  |
| Ladder Exit | Not applicable. | Not applicable. |
| Ladder Weirs | 0 | 0 |
| Counting Station | Not applicable. | Not applicable. |
| North Ladder Differentials (0.11 - 0.2 too low) |  |  |
| Ladder Exit | Not applicable. | Not applicable. |
| Ladder Weirs | 0 | 0 |
| Counting Station | Not applicable. | Not applicable. |
| North Ladder Differentials (0.01 - 0.1 too low) |  |  |
| Ladder Exit | Not applicable. | Not applicable. |
| Ladder Weirs | 0 | 0 |
| Counting Station | Not applicable. | Not applicable. |
| North Ladder Differentials (0.01 - 0.1 too high) |  |  |
| Ladder Exit | 0 | 0 |
| Ladder Weirs | 0 | 0 |
| Counting Station | 0 | 0 |
| North Ladder Differentials (0.11 - 0.2 too high) |  |  |
| Ladder Exit | 0 | 0 |
| Ladder Weirs | 0 | 0 |
| Counting Station | 0 | 0 |
| North Ladder Differentials (more than 0.2 too high) |  |  |
| Ladder Exit | 0 | 0 |
| Ladder Weirs | 0 | 0 |
| Counting Station | 0 | 0 |
| Channel/Tailwater Differentials (<0.80) |  |  |
| South Shore | 0 | 0 |
| North Powerhouse | 0 | 0 |
| North Shore | 0 | 0 |
| Channel/Tailwater Differentials (0.80 - 0.89) |  |  |
| South Shore | 0 | 0 |
| North Powerhouse | 0 | 0 |
| North Shore | 0 | 0 |
| Channel/Tailwater Differentials (0.90 - 0.99): |  |  |
| South Shore | 0 | 0 |
| North Powerhouse | 0 | 0 |
| North Shore | 0 | 0 |
| Channel/Tailwater Differentials (2.01 - 2.10) |  |  |
| South Shore | 0 | 0 |
| North Powerhouse | 0 | 0 |
| North Shore | 0 | 0 |
| Channel/Tailwater Differentials (2.11 - 2.20) |  |  |
| South Shore | 0 | 0 |
| North Powerhouse | 0 | 0 |
| North Shore | 0 | 0 |
| Channel/Tailwater Differentials (>2.20) |  |  |
| South Shore | 0 | 0 |
| North Powerhouse | 0 | 0 |
| North Shore | 0 | 0 |
| Entrance Weir Depths (more than 0.2 too low) |  |  |
| SFE 1 (<7.80) | 0 | 0 |
| NFE 2 (<7.80) | 0 | 0 |
| NSE 1 (<7.80) | 0 | 0 |
| Entrance Weir Depths (0.11 - 0.2 too low) |  |  |
| SFE 1 (7.80 - 7.89) | 0 | 0 |
| NFE 2 (7.80 - 7.89) | 0 | 0 |
| NSE 1 (7.80 - 7.89) | 0 | 0 |
| Entrance Weir Depths (0.01 - 0.1 too low) |  |  |
| SFE 1 (7.90 - 7.99) | 0 | 0 |
| NFE 2 (7.90 - 7.99) | 0 | 0 |
| NSE 1 (7.90 - 7.99) | 0 | 0 |

| # of YES |  | % YES |  | Total No. of Inspections |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 132 |  | 100.0% |  | 132 |  |  |
| 132 |  | 100.0% |  | 132 |  |  |
| 130 |  | 98.5% |  | 132 |  |  |
| 131 |  | 99.2% |  | 132 |  |  |
| 131 |  | 99.2% |  | 132 |  |  |
| 127 |  | 96.2% |  | 132 |  |  |
| 132 |  | 100.0% |  | 132 |  |  |
| 127 |  | 96.2% |  | 132 |  |  |
| 130 |  | 98.5% |  | 132 |  |  |
| 131 |  | 99.2% |  | 132 |  |  |
| 70 |  | 53.0% |  | 132 |  |  |
| 59 |  | 44.7% |  | 132 |  |  |
| 61 |  | 46.2% |  | 132 |  |  |
| # of NO |  | % NO |  |  |  |  |
| 0 |  | 0.0% |  |  |  |  |
| 0 |  | 0.0% |  |  |  |  |
| 2 |  | 1.5% |  |  |  |  |
| 1 |  | 0.8% |  |  |  |  |
| 1 |  | 0.8% |  |  |  |  |
| 5 |  | 3.8% |  |  |  |  |
| 0 |  | 0.0% |  |  |  |  |
| 5 |  | 3.8% |  |  |  |  |
| 2 |  | 1.5% |  |  |  |  |
| 1 |  | 0.8% |  |  |  |  |
| 5 |  | 3.8% |  |  |  |  |
| 11 |  | 8.3% |  |  |  |  |
| 6 |  | 4.5% |  |  |  |  |
|  |  | % SILL |  |  |  |  |
| # of SILL |  |  |  |  |  |  |
| 57 |  | 43.2% |  |  |  |  |
| 62 |  | 47.0% |  |  |  |  |
| 65 |  | 49.2% |  |  |  |  |
|  |  | South Ladder Differentials (more than 0.2 too low) |  |  |  |  |
|  |  | Ladder Exit |  |  |  |  |
|  |  | Ladder Weirs |  | 12 |  |  |
|  |  | Counting Station |  |  |  |  |
|  |  | South Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |
|  |  | Ladder Exit |  |  |  |  |
|  |  | Ladder Weirs |  | 0 |  |  |
|  |  | Counting Station |  |  |  |  |
|  |  | South Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |
|  |  | Ladder Exit |  |  |  |  |
|  |  | Ladder Weirs |  | 0 |  |  |
|  |  | Counting Station |  |  |  |  |
|  |  | South Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |
|  |  | Ladder Exit |  | 0 |  |  |
|  |  | Ladder Weirs |  | 0 |  |  |
|  |  | Counting Station |  | 0 |  |  |
|  |  | South Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |
|  |  | Ladder Exit |  | 0 |  |  |
|  |  | Ladder Weirs |  | 0 |  |  |
|  |  | Counting Station |  | 0 |  |  |
|  |  | South Ladder Differentials (more than 0.2 too high) |  |  |  |  |
|  |  | Ladder Exit |  | 0 |  |  |
|  |  | Ladder Weirs |  | 0 |  |  |
|  |  | Counting Station |  | 1 |  |  |
|  |  | North Ladder Differentials (more than 0.2 too low) |  |  |  |  |
|  |  | Ladder Exit |  |  |  |  |
|  |  | Ladder Weirs |  | 10 |  |  |
|  |  | Counting Station |  |  |  |  |
|  |  | North Ladder Differentials (0.11 - 0.2 too low) |  |  |  |  |
|  |  | Ladder Exit |  |  |  |  |
|  |  | Ladder Weirs |  | 0 |  |  |
|  |  | Counting Station |  |  |  |  |
|  |  | North Ladder Differentials (0.01 - 0.1 too low) |  |  |  |  |
|  |  | Ladder Exit |  |  |  |  |
|  |  | Ladder Weirs |  | 0 |  |  |
|  |  | Counting Station |  |  |  |  |
|  |  | North Ladder Differentials (0.01 - 0.1 too high) |  |  |  |  |
|  |  | Ladder Exit |  | 0 |  |  |
|  |  | Ladder Weirs |  | 3 |  |  |
|  |  | Counting Station |  | 0 |  |  |
|  |  | North Ladder Differentials (0.11 - 0.2 too high) |  |  |  |  |
|  |  | Ladder Exit |  | 0 |  |  |
|  |  | Ladder Weirs |  | 2 |  |  |
|  |  | Counting Station |  | 0 |  |  |
|  |  | North Ladder Differentials (more than 0.2 too high) |  |  |  |  |
|  |  | Ladder Exit |  | 1 |  |  |
|  |  | Ladder Weirs |  | 0 |  |  |
|  |  | Counting Station |  | 0 |  |  |
|  |  | Channel/Tailwater Differentials (<0.80) |  |  |  |  |
|  |  | South Shore |  | 10 |  |  |
|  |  | North Powerhouse |  | 12 |  |  |
|  |  | North Shore |  | 10 |  |  |
|  |  | Channel/Tailwater Differentials (0.80 - 0.89) |  |  |  |  |
|  |  | South Shore |  | 0 |  |  |
|  |  | North Powerhouse |  | 0 |  |  |
|  |  | North Shore |  | 0 |  |  |
|  |  | Channel/Tailwater Differentials (0.90 - 0.99): |  |  |  |  |
|  |  | South Shore |  | 0 |  |  |
|  |  | North Powerhouse |  | 0 |  |  |
|  |  | North Shore |  | 0 |  |  |
|  |  | Channel/Tailwater Differentials (2.01 - 2.10) |  |  |  |  |
|  |  | South Shore |  | 0 |  |  |
|  |  | North Powerhouse |  | 0 |  |  |
|  |  | North Shore |  | 0 |  |  |
|  |  | Channel/Tailwater Differentials (2.11 - 2.20) |  |  |  |  |
|  |  | South Shore |  | 0 |  |  |
|  |  | North Powerhouse |  | 0 |  |  |
|  |  | North Shore |  | 0 |  |  |
|  |  | Channel/Tailwater Differentials (>2.20) |  |  |  |  |
|  |  | South Shore |  | 5 |  |  |
|  |  | North Powerhouse |  | 0 |  |  |
|  |  | North Shore |  | 1 |  |  |
|  |  | Entrance Weir Depths (more than 0.2 too low) |  |  |  |  |
|  |  | SFE 1 (<7.80) |  | 15 |  |  |
|  |  | NFE 2 (<7.80) |  | 19 |  |  |
|  |  | NSE 1 (<7.80) |  | 13 |  |  |
|  |  | Entrance Weir Depths (0.11 - 0.2 too low) |  |  |  |  |
|  |  | SFE 1 (7.80 - 7.89) |  | 0 |  |  |
|  |  | NFE 2 (7.80 - 7.89) |  | 1 |  |  |
|  |  | NSE 1 (7.80 - 7.89) |  | 2 |  |  |
|  |  | Entrance Weir Depths (0.01 - 0.1 too low) |  |  |  |  |
|  |  | SFE 1 (7.90 - 7.99) |  | 0 |  |  |
|  |  | NFE 2 (7.90 - 7.99) |  | 2 |  |  |
|  |  | NSE 1 (7.90 - 7.99) |  | 1 |  |  |

| ICE HARBOR |  |  |  | ----------Not Enough Depth---------- |  |  | ----------Too Much Depth---------- |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Criteria and | No. in | % In | No./% | No./% | No./% | No./% | No./% | No./% |
| Locations | Criteria/ | Criteria/ | Within | Within | >0.2 | Within | Within | >0.2 |
|  | No. on Sill/ | % On | 0.01-0.1 | 0.11-0.2 | Foot | 0.01-0.1 | 0.11-0.2 | Foot |
|  | No. of | Sill | Foot | Foot |  | Foot | Foot |  |
|  | Inspections |  |  |  |  |  |  |  |
| Channel Velocities | 132 | 100.0 | *** | *** | *** | *** | *** | *** |
|  | *** | *** | *** | *** | *** | *** | *** | *** |
|  | 132 |  |  |  |  |  |  |  |
| Differentials |  |  |  |  |  |  |  |  |
| South Fish Ladder |  |  |  |  |  |  |  |  |
| Ladder Exit | 132 | 100.0 | *** | *** | *** | 0 | 0 | 0 |
|  | *** | *** | *** | *** | *** | 0.0 | 0.0 | 0.0 |
|  | 132 |  |  |  |  |  |  |  |
| Ladder Weirs | 130 | 98.5 | 0 | 0 | 12 | 0 | 0 | 0 |
|  | *** | *** | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 0.0 |
|  | 132 |  |  |  |  |  |  |  |
| Counting Station | 131 | 99.2 | *** | *** | *** | 0 | 0 | 1 |
|  | *** | *** | *** | *** | *** | 0.0 | 0.0 | 0.8 |
|  | 132 |  |  |  |  |  |  |  |
| North Fish Ladder |  |  |  |  |  |  |  |  |
| Ladder Exit | 131 | 99.2 | *** | *** | *** | 0 | 0 | 1 |
|  | *** | *** | *** | *** | *** | 0.0 | 0.0 | 0.8 |
|  | 132 |  |  |  |  |  |  |  |
| Ladder Weirs | 127 | 96.2 | 0 | 0 | 10 | 3 | 2 | 0 |
|  | *** | *** | 0.0 | 0.0 | 7.6 | 2.3 | 1.5 | 0.0 |
|  | 132 |  |  |  |  |  |  |  |
| Counting Station | 132 | 100.0 | *** | *** | *** | 0 | 0 | 0 |
|  | *** | *** | *** | *** | *** | 0.0 | 0.0 | 0.0 |
|  | 132 |  |  |  |  |  |  |  |
| Collection Channels |  |  |  |  |  |  |  |  |
| South Shore | 127 | 96.2 | 0 | 0 | 10 | 0 | 0 | 5 |
|  | *** | *** | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 3.8 |
|  | 132 |  |  |  |  |  |  |  |
| North Powerhouse | 130 | 98.5 | 0 | 0 | 12 | 0 | 0 | 0 |
|  | *** | *** | 0.0 | 0.0 | 9.1 | 0.0 | 0.0 | 0.0 |
|  | 132 |  |  |  |  |  |  |  |
| North Shore | 131 | 99.2 | 0 | 0 | 10 | 0 | 0 | 1 |
|  | *** | *** | 0.0 | 0.0 | 7.6 | 0.0 | 0.0 | 0.8 |
|  | 132 |  |  |  |  |  |  |  |
| Weir Depths |  |  |  |  |  |  |  |  |
| SFE 1 | 70 | 53.0 | 0 | 2 | 1 | *** | *** | *** |
|  | 57 | 43.2 | 0.0 | 1.5 | 0.8 | *** | *** | *** |
|  | 132 |  |  |  |  |  |  |  |
| NFE 2 | 59 | 44.7 | 0 | 1 | 2 | *** | *** | *** |
|  | 62 | 47.0 | 0.0 | 0.8 | 1.5 | *** | *** | *** |
|  | 132 |  |  |  |  |  |  |  |
| NSE 1 | 61 | 46.2 | 15 | 19 | 13 | *** | *** | *** |
|  | 65 | 49.2 | 11.4 | 14.4 | 9.8 | *** | *** | *** |
|  | 132 |  |  |  |  |  |  |  |