U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#29-2008
Project:  McNary

Biologists:  Brad Eby and Bobby Johnson

Dates:  September 12 - 18, 2008
Turbine Operation

McNary had 11 to12 turbine units available for power generation this week.  On September 15, turbine unit 4 was removed from service for annual maintenance and is expected to be returned to service early next week.  Turbine unit 5 was returned to service from the 9-year overhaul on September 16, and turbine unit 8 remains out of service for external thrust bearing oil cooler work.  Turbine unit 5 did operate for a short time outside the 1% criteria on September 16 for testing and calibration of the 3D cam before being returned to service.  Otherwise, all turbine units met 1% operational requirements this week.                                          

Adult Fish Passage Facilities

On September 13, 15 and 17, the McNary fisheries biologist performed measured inspections of the adult fishways.  Adult fish counting continues.  Temperature monitoring efforts at the ladder exits concluded September 15.                            
Fish Ladders:  Both ladders met all Fish Passage Plan criteria during inspections except 
on September 15 when the Oregon ladder’s head over weir was 0.7 feet.  The picket leads had just been cleaned and the set points required adjustment.  Both ladder set points were checked three times this week with two changes noted at the Oregon exit.  The north Oregon ladder traveling screen remains out of service.  Work continues toward resolving the issue and dive work is planned for Sept 26 for stop log placement and debris removal.    The south traveling screen has been operating well.  The roving operator and biologist cleaned the Washington picketed leads on September 13 as the general maintenance crew was off for the weekend.    

Fishway Entrances and Collection Channel:  On the Washington ladder, all criterion points were met.  However, it was noted that W2 and W3, though in criteria, required calibration, which occurred on Fri Sept 19.  At the Oregon north powerhouse entrance, on September 13 and 15, the pool differential measured 0.8 to 0.9 feet.  All week, NFEW2 measured from 8.6 to 8.8 feet and on September 15 and 17, NFEW3 measured 8.7 to 8.8 feet.  At the south powerhouse entrance, the pool differential remained in criteria.  However, all week, SFEW1 and SFEW2 measured from 8.6 to 8.7 feet.  Fish passage appears unaffected.  The channel velocity averaged 1.4 feet per second.       

Auxiliary Water Supply System:  Fish pump 3 remains out of service due to an oil leak.  Pumps 1 and 2 ran all week with blade angles of 30 degrees.  Pump 3 is expected to be repaired during the winter maintenance period.  The juvenile facility continued to supply the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD unit had no interruptions in service this week.
Juvenile Fish Passage Facility

Collection for truck transport continues.  Primary bypass was necessary September 17 (2200 hours) to September 18 (0200 hours) due to an influx of juvenile shad.  Juvenile shad out migrate in larger numbers at night and can block circulation system screens within the transport trailer.  For the report week, 2,430 smolts and 61,774 juvenile shad were collected and trucked down river.                                

Forebay Debris/Gatewell Debris/Oil:  Forebay debris was light.  No trash racks were cleaned and differentials continued to be monitored.  A small amount of oil was removed from 4 gatewell slots with absorbent pads.                                   

ESBSs were deployed in all turbine unit slots throughout the week except for those in slots 5B and 5C.  Screens in slots 5B and 5C were reinstalled following turbine unit maintenance on September 16.  Fish screens in slots 4B and 11C slots remain in transducer bypass mode.  Other fish screen work included the removal of a spare screen to the yard for repairs on September 17, and the adjustment of fish screen cables in slot 1A.  ESBS camera inspections will resume next week after a new camera cable is installed.  Although no high VBS differentials were recorded this week, four screens nearing criteria were cleaned as a precautionary measure.                                                   

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: At the start of the week, 41 to 42 orifices were opened depending on forebay elevation and the maintenance status of turbine unit 5.  On September 16, orifices associated with slots 5A – 5C became operational just prior to turbine unit 5’s return to service and 42 opened orifices became the norm for the remainder of the week.  On September 15, a small stick was removed from the orifice flow at slot 3A.  Otherwise, all systems functioned well. 

Transportation Facility: Collection for truck transport continued.   PIT tag detection took place in the full flow pipe and throughout the facility with smolt monitoring occurring daily.  All systems functioned well.  The primary (A and B) PIT tag slide gates remained on, and the secondary (C and D) PIT/bypass gates were closed (off for duration of transport operations).  Balloon test of the PIT tag release lines revealed no problems (project personnel release balloons filled with air and water into the PIT tag lines – if intact balloons are observed exiting the outfall, there are no blockages).  The sample gates operated well with no interruption in service.  A towboat with a crane mounted barge was used to remove a floating mooring bit (which developed a slow leak) for repairs.  The towboat and crane were at the barge dock for approximately 2 hours.

Transport Summary:  Truck loading occurred on September 12, 14, 16 and 18.  On September 12, an automobile accident and associated fire delayed the driver’s return by three hours.       

River Conditions

River conditions during the week are outlined in Table 1 as provide by the smolt monitoring staff with the data day running from 0700 to 0700 hours.  Water clarity was measured three times this week.

Table 1.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	96.8
	62.8
	0.0
	0.0
	67.2
	66.8
	6.0
	     6.0


*Morning wet lab temperature.  Water clarity provided by control room.

Other

Bird counts continued with the tailwater being checked twice a day and the forebay once per day.  The high count in the tailrace was approximately 53 gulls and 46 cormorants with an occasional merganser.  Occasionally gulls passed by the bypass outfalls.  The water cannon continues to be operational as PIT tagged fish are exiting one of the outfalls.  In the forebay area, only an occasional gull was noted, and no grebes were observed on project.  Bird numbers on project appear to be fluctuating significantly and probably are affected by out migrating juvenile shad numbers.  University of Idaho researchers concluded their adult lamprey study this week, and no outside groups are actively holding or handling fish at the project at this time.       

Project:  Ice Harbor

Biologist:  Mark Plummer

Dates:  September 12 - 18, 2008

Turbine Operation

Turbine units 1, 4, 5, and 6 were available for operation throughout the entire reporting period. Turbine units 2 and 3 were previously taken out of service September 8 for cooling water strainer replacement.  Turbines 2 and 3 share a common strainer.  Turbine units 5 and 6 were out of service for a short period September 15 to in support of STS inspections.

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fishways September 15, 16, and 17.
Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.     
Fishway Entrances and Collection Channel (in inspection date order):  The south shore entrance (SFE) was on sill with a depth of 6.9 feet, on sill with a depth of 6.9 feet, and on sill with a depth of 7.7 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 6.9 feet, on sill with a depth of 7.1 feet, and on sill with a depth of 7.7 feet.  The north shore entrance (NSE) was on sill with a depth of 6.9 feet, on sill with a depth of 6.9 feet, and on sill with a depth of 7.7 feet.   Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All channel/tailwater differentials were within criteria.  Channel/tailwater differential criteria are 1 – 2 feet.  
Auxiliary Water Supply System:  2 of the 3 north fish pumps and all eight south shore fish pumps were operated without problems.  North shore fish pump 2 remains out of service.  

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating.  

STSs/VBSs:  STSs were placed in cycle run mode on August 14 as subyearling Chinook lengths exceed 120 mm in length at Lower Monumental Dam.  STSs in turbine units 5 and 6 were inspected September 15.  No problems were found.  October STS inspections are scheduled for October 6 and 7.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   20 orifices are open.    No problems to report.
Juvenile Bypass Facility:  The bypass is in operation with 20 orifices open providing 300 cfs into the juvenile collection channel.  270 cfs is dewatered and directed into the south adult fish pump chamber for additional adult fish attraction water.    

Removable Spillway Weir:  RSW operation ceased with the end of summer spill for fish August 31.  

Fish Sampling:  Juvenile fish sampling concluded July 31.

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	25.1
	14.3
	0.0
	0.0
	69.0
	65.0
	6.8


	6.8


*Unit 1 scrollcase temperature.

Other

A non-clipped adult Chinook salmon was found dead on the grating in the juvenile collection channel September 18.  The fish appears to have jumped through a hole in the netting that runs along the handrail of the collection channel.  The Chinook mortality was returned to the river and the netting was repaired. 
Project:  Lower Monumental Dam

Biologists:  Bill Spurgeon and Ken Fone 

Dates:  September 12 - 18, 2008

Turbine Operation

Since April 1 all turbine units have been operated within the hard constraint of the 1% operation criteria.  Turbine units 5 and 6, and spill gates 7 and 8 were taken out of service in support of the RSW test and dive inspection on September 15.  The test showed that the RSW can be manually lowered to the stowed position and raised to the deployed position.  The automatic system for this operation will be tested next week.

Adult Fish Passage Facility

The adult fishway was inspected by Corps or State biologists on September 12, 13, 15 and 17. 

Fish Ladders: 

Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively).  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  The upper south ladder diffuser was changed to manual control when it stopped working in automatic mode.  A trouble report has been submitted.
Fishway Entrances and Collection Channel:  

NSE1 and NSE2 weir gates were in depth criteria (criteria: > 8’ or on sill) through this period with the exception of September 12 and 13 with depths from 7.8 to 7.9 feet.  North shore channel/tailwater head was in criteria (1’-2’).  The shift operator was informed and corrections were made. Fish passage was not likely affected.  
SPE1 and SPE2 weir gates were in sill criteria (criteria: > 8’, on sill, or closed during 2-pump operation) throughout this period with depths from 7.4 to 7.8 feet.    South powerhouse channel/tailwater head was within criteria (1’-2’) with the exception of the September 12 inspection that had a reading of 0.9 feet (reported and corrected).  Effects on fish passage were most likely minimal.  

SSE1 weir gate was in depth criteria (criteria: > 8’ or on sill) through this period with the exception of a 7.9 foot reading on September 13.  SSE2 was in criteria (6’ above sill).  South shore channel/tailwater head was in criteria (1’-2’) feet with the exception of a 0.9 foot reading on September 12. (Reported and corrected).  No effect on fish passage would be expected.  

Auxiliary Water Supply System:

Auxiliary water supply pumps 1 and 2 are operating.  Pump 3 is out of service to work on the diffuser assembly and bearing housing problems.  Pump 3 is “bulkheaded off” to minimize water loss during two-pump operation.  Two-pump operation is expected to continue for the remainder of this operating year.
Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 50.0 square yards of forebay debris observed during this period.  There was 0 - 5% debris coverage in the gatewells.   No oil was observed.     

STSs/VBSs:  STS operation was changed to cycle mode on August 2 when an average fork length of greater than 120 mm was seen in sub-yearling chinook.   STS inspections occurred on September 8, and 10.   No problems were discovered.
Orifices, Collection Channel, Dewatering Structure, Flume:  The bypass is operating with 19 orifices open.  
Collection Facility:  No problems.
Transport Summary:   Alternate day midi-tank truck transport began on August 17.  

A 2.4 milligram per liter (6# to 300 gallon) salt solution was used on all trips to treat and/or ease suspected outbreaks of Flexibacter columnaris.
River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	24.4
	15.0
	0
	0
	65
	63.5
	5+
	3.8


   *Scrollcase temperatures.

Other

Zebra mussel monitoring stations were checked on September 3 and no mussels were found.

Project:  Little Goose

Biologists:  Eric Volkman and George Melanson

Dates:  September 12 - 18, 2008

Turbine Operation

Turbine units 1, 3, 4 and 5 were available for service during this report period.  Turbine unit 2 remains out of service for annual maintenance.  Turbine unit 6 remains out of service due to electrical grounding (water in the stator).  Turbine unit operation was confined to the 1% efficiency criteria during the report period.

Adult Fish Passage Facility

COE and ODFW fisheries biologists performed measured inspections of the adult fishway September 16, 17 and 18.

Fish Ladder:  All criteria were met.
Fishway Entrances and Collection Channel:  Fishway components were within criteria during the report period except during the pump outage explained below.  Channel to tailwater head differentials during the report periods ranged between 1.68 and 1.84 feet (criteria 1.0 – 2.0 ft.).  During the pump outage the differentials ranged between 0.88 and 1.14 feet.  SSE weir depths ranged between 8.28 and 8.36 feet (criteria 8.0 ft. minimum).  NPE weirs depths ranged between 7.18 and 7.22 (criteria 7.0 ft minimum or on sill), NSE weir depths ranged between 6.12 and 6.22 feet (criteria 6.0 ft. minimum). Collection channel water velocities (criteria 1.5 – 4.0 fps) ranged between 2.5 and 3.0 fps at the SSE and ranged between 1.4 and 2.2 fps near the NSE.  Subsurface water velocities near the SSE (flowmeter) ranged between 1.7 and 2.3 fps.  
Auxiliary Water Supply System:  On September 18, fish pump one was shut down from 0751 to 1015 hours and fish pump 2 from 1016 to 1042 hours to repair water leaks.  During the outages the two pumps in service were operated at increased RPMs to make-up additional water and NSE2 weir was raise to increase channel to maintain head differentials.  All pumps and weirs were returned to normal operating condition at 1045 hours.   Aside from this, all three fish pumps operated within criteria during the report period.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Forebay and gatewell debris was minimal this report period. 

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel operated with 22 open orifices until September 17 when the number of open orifices were reduced to 18 in response to increased forebay pool elevations.    

Extended Length Submersible Bar Screens/Vertical Bar Screens (ESBS/VBS):  All ESBS/VBS operated within criteria during the report period.

Transportation Facility:  The facility continued collection for transport operations.  Collected smolts totaled 90 for the week.  Descaling and mortality remained low during the report period and averaged 0% and 7.8% respectively.

Transport Summary:  Alternate day truck transport operations continued this report period with the 300-gallon midi tank.  Truck loading, transport and release were performed without problems.      
River Conditions

River conditions during the week are outlined in Table 1.

Minimum pool operations ended during this report period.  Forebay elevations increased from approximately 633.5 ft to 637.5 ft and tailrace elevations increased from approximately 537.5 to 539.3 feet by September 16.
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	Low
	High
	Low
	High
	Low
	High
	Low
	High

	16.0
	26.0
	0
	0
	64.6
	65.7
	6.0
	6.0+


*Ladder temperature.

Other

The University of Idaho continued with adult fish passage research involving tracking of adult salmon and hydrologic flow patterns in the tailrace.  
Daily piscivorous bird observations this week included 2 to 12 cormorants and 2 to 6 gulls in the immediate vicinity of the tailrace and forebay. 

The zebra mussel monitor was inspected on September 18 – no mussels were detected.

Project:  Lower Granite

Biologists:  Mike Halter and Kent Blevins

Dates:  September 12 - 18, 2008

Turbine Operation

Lower Granite had turbine units 1, 4, and 6 available for power generation at the beginning of the report week.  Turbine unit 2 remained out of service for a rewind of the generator and repairs to the blade and liner.  This turbine unit  is scheduled to return to service September 30, 2008   Turbine unit 3 is projected to return to service December 31, 2008 following a 6-yr overhaul.  Turbine unit 5 was taken out of service last week for annual maintenance and fire protection system upgrade, and is projected to return to service on September 26.  All operating turbine units were run within the established guidelines.  

Adult Fish Passage Facility

On September 12, 13, 14, and 18 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.  The September 18 inspection was a joint inspection with the Oregon Department of Fish & Game.
Fish Ladder:  All criteria were met.
Fishway Entrances and Collection Channel:  Head differential readings remained within criteria at all adult fishway entrances during this week’s inspections.  Weir depths at the south shore fishway entrances also met criteria during the week.  The north powerhouse fishway entrance weirs were on sill all week due to tailwater elevations below 636.0 feet except for the September 18 inspection when both weirs rose off sills with readings of 629.6 feet. Weir depths at the north powerhouse entrances ranged between 6.9 to 7.2 feet on three of four inspections and were in criteria on the September 18 inspection with readings of 8.2 and 8.1 feet (criteria ≥ 8.0 feet).  North shore fishway entrances weir gate depths were out of criteria all week and varied between 5.2 and 5.7 feet (criteria ≥ 7.0 feet).  Weir depth readings at the north shore entrances are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway transition pool ranged from 0.95 to 1.00 feet per second and averaged 0.97 feet per second. 
Auxiliary Water Supply System:  Fish pumps 1 and 2 were operated during the report period without any problems.
Juvenile Fish Passage Facility
The sample rate remained at 100% during the entire report week.
Forebay Debris/Gatewell Debris/Oil:   Debris levels remained low but are rising in the forebay.   Forebay elevations measured 735 feet due to the cessation of MOP (minimum operating pool) operations.  Debris in the forebay measured approximately 900 square feet this week.  There was no debris in the gatewells during the week.  A slight oil sheen was observed in gatewell 5-C on the September 12 inspection.  Absorbent pads were in place in gatewell 5-C.

ESBSs/VBSs:  Nothing to report.  The next video inspections are scheduled for October.
Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Collection gallery orifices are being backflushed every 3 hours around the clock to prevent blockages.  It was not necessary to dewater the separator inclined screen to remove debris this week. 

Transportation Facility:  The facility operated without any problems. Debris levels were slightly rising during the week.  
Transport Summary:  Trucking operations to the release pipe below Bonneville continued during the week.  Due to relatively low fish numbers (and poundage), Lower Granite continued to truck fish using the pickup-mounted midi-tanker during the week.
Removable Spillway Weir:   Nothing to report on the RSW.  
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	25.1
	16.9
	0.0
	0.0
	64.8
	64.6
	5.0
	4.2


*Scrollcase temperature.

Other
The adult trap continued operation during the report week.  The sample rate remained at 20% until the afternoon of September 12 when it was reduced to 12%.  Scale samples are being taken from unmarked Chinook and hatchery and wild steelhead. 

NOAA-Fisheries marking operations to evaluate late season trucking operations continued in the lab.

Fish facility personnel continued counting cormorants in the forebay and tailrace areas of the dam three days per week (morning and evenings counts).  This work will continue through the fall months.

COE fisheries technicians continued recording data from adult Chinook that “fallback” across the separator for the Washington Department of Wildlife’ Snake River Lab.  Data is being recorded on maturity (adult or jack), hatchery or wild (adipose clip), caudal fin clips, operculum punches, VIE tags, and general fish condition.  This is a continuation of work conducted during the fall months in 2006 and 2007.

