U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#30-2008
Project:  McNary

Biologists:  Brad Eby and Bobby Johnson

Dates:  September 19 - 25, 2008
Turbine Operation

McNary had 12 to13 turbine units available for power generation this week.  Turbine units 4 and 8 were respectively returned to service on September 19 (annual maintenance) and September 25 (external thrust bearing oil cooler installation).  Turbine units 6 and 5 were respectively taken out of service on September 22 (9-year overhaul, expected to last 2 months) and September 25 (hub tapping, expected return to service date is September 26).  All turbine operated within 1% efficiency limitations this week.

Adult Fish Passage Facilities

Adult fishways were visually inspected on September 19, 20, 23 and 24.  The September 24 inspection began with the Oregon ladder tainter valve in the closed position and ended with tainter valve in the opened position.  The tainter valve feeds a 1000 cfs auxiliary water supply conduit.  This location still feeds 140 cfs to an irrigation system regardless of the valve position.   Only the south powerhouse pool differential inspection point was affected by tainter valve operation.  The differential reading in this location was 0.3 feet lower with the valve closed.  Adult fish counting continues.                             
Fish Ladders:  Both ladders met all Fish Passage Plan criteria except on September 20 when the Oregon ladder’s head over weir was 0.9 feet.  Both ladders weir set points were checked once this week with a single change noted at the Oregon exit.  Two set point changes were logged on September 23 and 24 respectively before and after the Oregon ladder picketed leads were cleaned.  The north Oregon ladder traveling screen remains out of service, and a repair dive is scheduled for September 26.  The south Oregon ladder traveling screen triggered a single alarm on September 20, and repeated high differential alarms on September 23.  The wash pump also triggered an alarm.  Previously, the south screen had been operating satisfactorily.  Measured differential readings at the time of the alarms ranged from three to four feet.  Because of excessive debris accumulations on the trashracks and traveling screens, the tainter valve was closed during nighttime hours on September 23 and 24.  The tainter valve was again was closed in late afternoon on September 25 to protect the structures and in support of dive work scheduled for the following day.           

Fishway Entrances and Collection Channel:  the Washington ladder met all criteria points except on September 19 when W3 weir depth measured 7.7 feet.  W2 and W3 underwent needed calibration the same day.  The pool differential at the Oregon north powerhouse entrance measured 0.9 feet on September 19, while NFEW2 and NFEW3 weir depths measured from 8.6 to 8.9 feet throughout the week.  The south powerhouse entrance pool differential measured 0.7 feet on September 24 when the tainter valve was closed.  Otherwise, the differential remained in criteria.  SFEW1 and SFEW2 weir depths measured from 8.6 to 8.8 feet all through the report period.  Fish passage appears unaffected by the slightly low entrance gate readings or by the over night closures of the auxiliary water supply.   The channel velocity averaged 1.4 feet per second.     

Auxiliary Water Supply System:  Fish pump 3 remains out of service due to an oil leak which is to be repaired during the upcoming winter maintenance period.  In the meantime, pumps 1 and 2 continued to run with blade angles of 30 degrees.  The primary fish pump cooling water line was taken out of service for approximately 10 minutes on September 22 to allow the installation of a new water line.  Pump operations continued as a backup water line was available.  As mentioned above, the tainter valve which controls the Oregon ladder auxiliary water supply was intermittently closed due to debris accumulations.  Closure dates and times were: September 23 (1507 hours) to September 24 (0803 hours), September 24 (1633 hours) to September 25 (0747 hours) and September 25 (1601 hours) to the end of traveling screen dive work (estimated to end 2 days into the next report period).  Conduit outages were scheduled to minimize any adverse affects on fish passage.  The juvenile facility continued to supplying the usual 450 CFS to the north powerhouse pool.  The Wasco County PUD unit had no interruptions in service this week.   
Juvenile Fish Passage Facility

Collection for transport ceased September 24 at approximately 0830 hours when the facility switched to secondary bypass mode.  The abundance of shad and the few smolts present made trucking operations impractical.  Juvenile shad tend to block circulation system screens within the transport trailer.  Fish held in the raceways were bypassed to the river.  The facility switched to primary bypass mode on September 25 at 0700 hours as shad numbers remained high.  Sample fish and fish remaining in the separator were also bypassed to the river.  Primary bypass was also necessary during evening hours (29 hours total) from September 21 to 24; due to influxes of juvenile shad.  For the report week, 1,500 smolts were collected with 940 trucked and 560 bypassed.  198,385 juvenile shad were also collected; these fish were either transported or bypassed.                              

Forebay Debris/Gatewell Debris/Oil:  Forebay debris was light.  No trash racks were cleaned and differentials continued to be monitored.  A small amount of oil was removed from one gatewell slot with absorbent pads.                                   

ESBSs/VBSs:  ESBS’s are currently deployed in all turbine units.  Screens in slots 4B and 11C slots remain in transducer bypass mode.  No mechanical or electrical screen problems were evident this week other than cable adjustments in slot 5A.  ESBS camera inspections will resume next week.  Four high VBS differentials were recorded this week.  These and four other screens were cleaned.                                                   

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  42 orifices remained opened this week as forebay elevations remained stable.  On September 25, the orifice in slot 5A slot was briefly closed so fish screen cables could be removed from the orifice intake.  Otherwise, all systems functioned well.  With the start of the fall primary bypass season, the collection channel will be closely monitored during all shifts by fisheries technicians.                   

Transportation Facility:  As mentioned above, collection for truck transport concluded September 24.  Prior to the end of secondary bypass operations on September 25, PIT tag detection occurred throughout the facility.  Smolt monitoring activities also ceased September 25.  PIT tag detection is now taking place only at the full flow PIT tag detector.  Prior to the start of primary bypass operations, all facility systems functioned well.  The primary (A and B) PIT tag slide gates remained on until 1215 hours on September 24.  The secondary (C and D) PIT/bypass gates remained closed and off.  Sample gates operated with no interruptions in service until they were turned off at 0700 hours on September 25.  Ice and balloon tests of release and bypass lines this week revealed no problems (unruptured balloons exiting the outfall indicate no blockages).  During the fall bypass season, the collection and holding facility will remain watered up to avoid frozen pipes as the system cannot be fully dewatered until the winter maintenance season begins.  With fish no longer entering the facility, light maintenance will begin.  On September 22, the potable water supply line to the juvenile facility was shut down for 10 minutes to allow installation of a new water line.  Trap and transport operations were not affected.     

Transport Summary:  Truck loading occurred on September 20 and 22 with no problems to report.  The 3500 gallon tanker trailer was returned to the shop for winter maintenance.
River Conditions

River conditions during the week are outlined in Table 1 as provide by the smolt monitoring staff with the data day running from 0700 to 0700 hours.  During the week, spillways hoists received scheduled maintenance, and a very slight amount of unrecorded spill occurred when the hoists were tested.        

Table 1.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	91.9
	59.1
	0.0
	0.0
	67.2
	64.9
	6.0
	     6.0


*Morning wet lab temperature.  Water clarity provided by control room.

Other

Bird counts concluded September 25.  Before then, the tailwater area was checked twice a day and the forebay once per day.  The high count in the tailrace this week was approximately 82 gulls and 63 cormorants with an occasional merganser and pelican being noted.  In the forebay, only an occasional gull and a group of grebes were observed.  No grebes were noted elsewhere on project.  During the transport season, an occasional gull passed by the bypass outfalls.  Once bypass operations began, small groups of gulls were noted at times in the vicinity of the outfalls.  The water cannon continued to operate well.  Bird numbers appear to be fluctuating significantly, and are probably affect by outmigrating juvenile shad numbers.  Zebra mussel montoring stations were inspected this week and none were found.  
A scroll case and draft tube salvage was successfully concluded September 23 in turbine unit 6.  Recovered fish included 1 catfish, 1 sturgeon and 1 sucker. 

Project:  Ice Harbor

Biologist:  Mark Plummer

Dates:  September 19 - 25, 2008

Turbine Operation

Turbine units 1, 4, 5, and 6 were available for operation the entire reporting period. Turbine units 2 and 3 were previously taken out of service September 8 for cooling water strainer replacement.  Turbines 2 and 3 share a common strainer.  

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fishways on September 22, 23, and 24.
Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.     
Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with a depth of 6.4 feet, on sill with a depth of 6.6 feet, and on sill with a depth of 7.3 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 6.4 feet, on sill with a depth of 6.6 feet, and on sill with a depth of 7.3 feet.  The north shore entrance (NSE) was on sill with a depth of 6.4 feet, on sill with a depth of 6.6 feet, and on sill with a depth of 7.3 feet.   Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All channel/tailwater differentials were within criteria except on September 23.  On this inspection, the south channel/tailwater differential was at 2.1 feet.  This was of short duration as the adult fishway adjusted.  Channel/tailwater differential criteria are 1 – 2 feet.  
Auxiliary Water Supply System:  2 of the 3 north shore fish pumps and all eight south shore fish pumps were operated without problems.  North shore fish pump 2 remains out of service.  

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Fish ladder exits are clear of debris and the bubblers are operating.  The head gate actuator cylinder in turbine unit 2 lifted out of the slot when the turbine unit was “watered up” to remove the bulkhead on September 22.  A release of approximately 200 gallons of hydraulic oil occurred in the slot.  The juvenile fish gatewell orifices were already closed due to the bulkhead being in the slot for strainer replacement.  The oil was vacuumed from the water surface and placed into 55 gallon drums the same day.  The gatewell orifices remained closed while repairs were being made on the actuator cylinder.  Fish were dipped from turbine unit slot 2C September 24 due to the gatewell orifices being closed.  The bulkhead was removed September 26 (following the end of the current report period).  No fish mortalities were observed.     

STSs/VBSs:  STSs are in cycle run mode.  October STS inspections are scheduled for October 6 and 7.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   20 orifices are open.  No problems to report.
Juvenile Bypass Facility:  The bypass is in operation with 20 orifices open providing 300 cfs into the juvenile collection channel.  270 cfs is dewatered and directed into the south adult fish pump chamber for additional adult fish attraction water.    

Removable Spillway Weir:  RSW operation ceased with the end of summer spill for fish August 31.  

Fish Sampling:  Juvenile fish sampling concluded July 31.

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	20.0
	11.8
	0.0
	0.0
	65.0
	64.0
	6.8


	6.8


*Unit 1 scrollcase temperature.

Other

A non-clipped adult steelhead and a clipped adult steelhead were found on the grating in the juvenile collection channel September 22.  The fish appear to have jumped and created a hole in the netting that runs along the handrail of the collection channel by turbine unit 6.  The mortalities were returned to the river and the netting was repaired. 
Project:  Lower Monumental Dam

Biologists:  Bill Spurgeon and Ken Fone 

Dates:  September 19 - 25, 2008

Turbine Operation

Since April 1 all turbine units are being operated within the hard constraint 1%.  Turbine units 5 and 6, and spill gates 7 and 8 were out of service in support of RSW tests from September 22 to 25.  The test showed that the RSW can be automatically lowered to the stowed position and raised to the deployed position.  Although the test was deemed a success, some minor repairs and adjustments were necessary.

Adult Fish Passage Facility

The adult fishway was inspected by Corps or State biologists on September 12, 13, 15 and 17. 

Fish Ladders: 

Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively).  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  The upper south ladder diffuser was changed to manual control when it stopped working in automatic mode.  A trouble report has been submitted.
Fishway Entrances and Collection Channel:  

NSE1 and NSE2 weir gates were in depth criteria (criteria: > 8’ or on sill) throughout this report period with the exception of September 12 and 13 with depths from 7.8 to 7.9 feet.  North shore channel/tailwater head was in criteria (1’-2’).  The shift operator was informed and corrections were made. Fish passage was not likely affected.  
SPE1 and SPE2 weir gates were in sill criteria (criteria: > 8’, on sill, or closed during 2-pump operation) throughout this period with depths from 7.4 to 7.8 feet.    South powerhouse channel/tailwater head was within criteria (1’-2’) with the exception of the September 12 inspection that had a reading of 0.9 feet (reported and corrected).  Fish passage was not likely affected.
SSE1 weir gate was in depth criteria (criteria: > 8’ or on sill) through this period with the exception of a 7.9 foot reading on September 13.  SSE2 was in criteria (6’ above sill).  South shore channel/tailwater head was in criteria (1’-2’) feet with the exception of a 0.9 foot reading on September 12 (reported and corrected).  Fish passage was not likely affected.
Auxiliary Water Supply System:

Auxiliary water supply pumps 1 and 2 are operating.  Pump 3 is out of service to allow work on diffuser assembly and bearing housing problems.  Pump 3 is “bulkheaded off” to minimize water loss during two-pump operation.  Two-pump operation is expected to continue for the remainder of this operating year.
Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 50.0 square yards of forebay debris observed during this report period.  There was 0 - 5% debris coverage in the gatewells.  No oil was observed.     

STSs/VBSs:  STS operation was changed to cycle mode on August 2 when an average fork length of greater than 120 mm was seen in sub-yearling chinook.   STS inspection occurred on September 8, and 10.   No problems were discovered.
Orifices, Collection Channel, Dewatering Structure, Flume:  The bypass is operating with 19 orifices open.  
Collection Facility:  No problems.
Transport Summary:   Alternate day midi-tank truck transport began on August 17.  

A 2.4 milligram per liter (6# to 300 gallon) salt solution was used on all trips to treat and/or ease suspected outbreaks of Flexibacter columnaris.
River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	24.4
	15.0
	0
	0
	65
	63.5
	5+
	3.8


   *Scrollcase temperatures.

Other

Zebra mussel monitoring stations were checked on September 3 and no mussels were found.

Project:  Little Goose

Biologists:  Eric Volkman and George Melanson

Dates:  September 19 - 25, 2008

Turbine Operation

Turbine units 1, 3, 4 and 5 were available for service during this report period.  Turbine unit 2 was returned to service following annual maintenance on Sept 25 at 1630 hours and removed from service at 1645 hours due to exciter system failure.  Turbine unit 6 remains out of service due to grounding error (water in stator).  Turbine unit operation was confined to the 1% efficiency criteria during the report period.

Adult Fish Passage Facility

COE and ODFW fisheries biologists performed measured inspections of the adult fishway September 20, 23 and 25.

Fish Ladder:  All criteria were met.
Fishway Entrances and Collection Channel:  Fishway components were in criteria during this report period.  Channel to tailwater head differentials this week ranged between 1.28 and 1.80 feet (criteria 1.0 – 2.0 ft.). SSE weir depths ranged between 8.24 and 8.38 feet (criteria 8.0 ft. minimum).  NPE weirs depths ranged between 7.10 and 7.34 (criteria 7.0 ft minimum or on sill), NSE weir depths ranged between 6.16 and 6.22 feet (criteria 6.0 ft. minimum). Collection channel water velocities (criteria 1.5 – 4.0 fps) ranged between 2.6 and 2.7 fps at the SSE and ranged between 1.8 and 2.3 fps near the NSE.  Subsurface water velocities near the SSE (flowmeter) ranged between 1.7 and 1.8 fps.  
Auxiliary Water Supply System:  All three fish pumps operated within criteria during the report period.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Forebay and gatewell debris was minimal this report period. 

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel operated with 18 open orifices.    

Extended Length Submersible Bar Screens/Vertical Bar Screens (ESBS/VBS):  The ESBS cleaning brush motor in slot 3A was found inoperative on September 19 at 0945 hours.  The motor controls were reset and the screen returned to service at 1245 hours.  Aside from this all ESBS/VBS operated within criteria during the report period.

Transportation Facility:  The facility continued collection for transport operations.  Collected smolts totaled 167 for the week.  Descaling and mortality remained low during the period and averaged 0.6% and 1.2% respectively.

Transport Summary:  Alternate day truck transport operations continued this report period with the 300-gallon midi tank.  Truck loading, transport and release were performed without problems.      
River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	Low
	High
	Low
	High
	Low
	High
	Low
	High

	13.5
	21.9
	0
	0
	64.6
	65.7
	6.0
	6.0+


*Ladder temperature.

Other

The University of Idaho continued with adult fish passage research involving tracking of adult salmon and hydrologic flow patterns in the tailrace.  
Daily piscivorous bird observations this week included up to 3 cormorants and 9 gulls in the immediate vicinity of the tailrace and forebay areas of the dam.   

Project:  Lower Granite

Biologists:  Mike Halter and Kent Blevins

Dates:  September 19 - 25, 2008

Turbine Operation

Lower Granite had turbine units 1, 4, and 6, available for power generation at the beginning of the report week.  Turbine unit 2 remained out of service for a rewind of the generator and repairs to the blade and liner.  It is scheduled to return to service on Sept 30, 2008.  Turbine unit 3 is projected to return to service December 31, 2008 following a 6-yr overhaul.  Turbine unit 5 remained out of service during the week and is projected to return to service on September 26, 2008 from annual maintenance and fire protection system upgrades.  All operating turbine units were run within the established guidelines.  

Adult Fish Passage Facility

On September 20, 21, and 22 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.
Fish Ladder:  All criteria were met.
Fishway Entrances and Collection Channel:  Head differential readings remained in criteria at all adult entrances during this week’s inspections.  Weir depth readings at the south shore and north powerhouse fishway entrances also remained within criteria during the week. Weir depth readings at the north shore entrances were below criteria during all inspections this week and ranged between 5.8 and 5.4 feet (criteria ≥ 7.0 feet).  Weir depth readings at the north shore entrances are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway transition pool ranged from 0.98 to 0.95 feet per second and averaged 0.97 feet per second.

Auxiliary Water Supply System:  Fish pumps 1 and 2 were operated during the report period without any problems.
Juvenile Fish Passage Facility

The sample rate remained at 100% during the report week.  

Forebay Debris/Gatewell Debris/Oil:  Debris levels remained low in the forebay.  There was no debris observed in the gatewells during the week.  A slight oil sheen was observed in gatewell 6A during the September 22 inspection.  The duty operator was notified and absorbent pads were placed into the gatewell. 
ESBSs/VBSs:  Nothing to report.  The next video inspections are scheduled for October.
Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Collection gallery orifices are being backflushed every 3 hours around the clock to prevent debris blockages.   The separator inclined screen was dewatered for approximately ½ hour on the afternoon of September 24 to remove fine material and plastic from the screen.  The separator was operated in the primary bypass mode during this time frame. 

Transportation Facility:  The facility operated without any problems.  Debris levels were slight during the week.
Transport Summary:  Trucking operations to the release pipe below Bonneville continued during the week.  Due to relatively low fish numbers (and poundage), Lower Granite continued to truck fish using the pickup midi-tanker during the week.
Removable Spillway Weir:   Nothing to report on the RSW.  
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	21.2
	12.5
	0.0
	0.0
	65.3
	64.8
	5.0
	5.0


*Scrollcase temperature.

Other
Operations continued at the adult trap this week.  Chinook and steelhead are being diverted from the ladder at a sample rate of 12%.  Scale samples are being taken from unmarked Chinook and hatchery and wild steelhead.

NOAA-fisheries marking operations to evaluate late season trucking operations continued in the lab.

Fish facility personnel continued counting cormorants in the forebay and tailrace areas of the dam three days per week (morning and evening counts).  This work will continue through the fall months.

The mussel trap at the fishway exit was examined for the presence of zebra mussels during the report week.  No evidence of zebra mussels was found.

COE fisheries technicians continued to record fall Chinook “fallback” tag information.

