U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#25-2009
Project:  McNary

Biologists:  Brad Eby and Bobby Johnson

Dates:  August 14 - 20, 2009

Turbine Operation

McNary had 10 to 11 turbine units available for power generation this week.  Turbine units 7 and 8 remain out of service for replacement of transformer T4.  This work should be completed in the near future.  Turbine units 1 and 2 respectively remain out of service for annual maintenance and for nine year overhaul.  Both are expected to return to service in mid-September.  On August 17, turbine unit 5 was taken out of service for annual maintenance and on August 19, turbine unit 6 was removed from service so the hub could be tapped.  The forebay deck crane failed while moving a headgate in turbine unit 6.  This crane is needed to place turbine units 5 or 6 back into service.  Since crane repair and certification are expected to take three weeks or more, McNary personnel are exploring various alternatives for temporary crane service.  North powerhouse priority loading remains in effect to moderate juvenile collection channel and gatewell temperatures.  All available turbine units operated within the hard constraint one percent criterion this week.

Adult Fish Passage Facilities

On August 14, 16, 18, 19 and 20, McNary fisheries biologists performed measured inspections of the adult fishways.  Since additional inspections were conducted on August 14 and 19 to monitor Oregon ladder operations during contract dive work (see below), not all locations were inspected on those dates.  The Washington entrance was not inspected on August 14 and 19.  NFEW 2 and NFEW3 were not inspected on August 19.  Adult fish counts, daily temperature monitoring and lamprey research continued.      
Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections except for the Washington count station differential measuring 0.6’ on August 18.  Count station picketed leads in both ladders required repeated cleanings this week due to excessive milfoil accumulations.  
Dives took place on August 17 and 18 to examine the north traveling screen and clean the trash racks near the Oregon ladder exit.  From August 17 at 0752 hours to August 18 at 1455 hours, the supply valve for the 1000 cfs conduit was closed in support of the dive work.  In addition, the Oregon ladder was placed on orifice flow for approximately three hours on August 17, also due to diving safety requirements.  On the first day of dive operations, divers discovered at least one broken basket and noted a separated carrier chain lying on the bottom.  Since an extended outage is needed to complete this work, north auxiliary water supply screen repairs will have to wait until the winter maintenance season.  On August 18, the dive crew successfully cleaned the trash racks for the south traveling screen.  The trash rack differential was reduced from approximately 1.2 feet to 0.4 feet.  The AWS screen differential remains at approximately 0.2 feet.  Debris and differential monitoring will continue.  
Fishway Entrances and Collection Channel:  All Washington ladder inspection points were in criteria except on August 16 when the pool differential measured 2.1 feet and both entrance weirs measured 7.9 feet.  It was also noted that the lower limit for the entrance weirs was set at 255.0 feet, which can put them out of criteria during low tailwater elevations.  The August 18 inspection revealed that the Wasco county PUD differential reading was approximately 0.5 feet below the COE measurement.  The PUD was notified that their instruments required calibration.  
All Oregon ladder criteria were met except fort the north powerhouse differential and SFEW1.  The north powerhouse pool differential measured 0.8 to 0.9 feet all week except on August 19 when it measured 0.5 feet due to fish pump 3 tripping a breaker.  On August 14 and 19, SFEW1 depth measured 8.9 feet.  The collection channel velocity average 1.6 feet per second this week.    
Auxiliary Water Supply System:  The auxiliary water supply was affected by the temporary shutdown of the 1,000 cfs gravity fed-conduit at the Oregon ladder exit, repeated fish pump outages and fishway transformer outages.  As mentioned above, the conduit closure was necessary to clear excessive debris from the south traveling screen and associated trash racks and the unsuccessful attempt to return the north traveling screen back into service.  Fishway criteria could nearly be met during the closure with 3 fish pump operations.  

A total of 15 fish pump outages were recorded this report period.  Nine of these outages resulted from low cooling water flows tripping electrical breakers.  Outage times ranged from a few minutes to 1.9 hours.  Air cooled fish pump transformers overheated, tripped breakers and shut down on 3 occasions.  In each case service was restored after the transformer cooled down and fish pump blade angles were adjusted.  Pump blade angles ranged from 26 to 30 degrees this week.  A grease pump failure forced fish pump #1 out of service for 8 hours on August 18.  The remaining 2 outages took place on August 19, when fish pump 3 was twice taken out of service for annual maintenance and brake testing.  The cumulative outage time for the pump annual and brake work totaled 4.1 hours.       

Potable water is used to cool fish pumps and other project equipment.  The potable water storage reservoir liner has recently come loose, possibly impeding the flow of water and resulting in some of the problems mentioned above.  
The juvenile facility continues to supply the usual 450 cfs to the north powerhouse pool and the Wasco County PUD unit had no interruptions in service this week.

Juvenile Fish Passage Facility

Collection for daily barge transport concluded at 0700 hours on August 15 with the start of collection for truck transport.  For the report week, 15,350 smolts were collected for transport.  Of these 4,746 were barged and 10,467 were trucked.  Daily facility mortality rates for the week ranged from 0.4 to 2.1 percent.  There were also 9,220 juvenile shad collected during this report period.     

Forebay Debris/Gatewell Debris/Oil: Forebay debris loading was light, and accumulations reported in recent weeks near the Oregon ladder exit have largely dissipated.  Trash rack differentials remained low and none were cleaned this week.  Gatewell slots 7B, 7C, 8A and 8B remain covered to prevent contamination should a spill take place during the course of T4 transformer replacement.  A small amount of residual oil was removed with absorbent pads from two slots at turbine unit 1 which is out of service.  There were no other problems this week.     

ESBSs/VBSs:  ESBSs are currently deployed in all turbine units.  The screen in slot 11C remains in transducer bypass mode.  Screen operation in slot 13A was switched from bypass mode to transducer mode early in the week.  The screen in slot 9C triggered an alarm once the week and resumed normal operation after the alarm was reset.  No ESBS video camera inspections were conducted this week.  VBS monitoring revealed no screens out of criteria and no screens were cleaned during this report period.    

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  For the week, there were 42 orifices opened.  No problems were encountered and all automated systems operated well.

Transportation Facility:  Fish collection for transport continued.  The primary (A and B) PIT tag diversion gates are in service and the secondary (C and D) PIT/bypass gates remain closed.  Sample gates operated satisfactorily this week.  Regularly scheduled maintenance continued.  

Transport Summary:  Daily barge operations ended August 15 when collection for ever-other day truck transport began.  Truck departures took place on August 16, 18 and 20 without any difficulties.  The truck driver shortened the overhead garden hose at the Bonneville truck pad on August 16.  The unmodified hose was excessively long, hard to handle and presented a safety hazard.  On August 18, the rear window of the truck cracked and fell out, delaying the return trip to McNary Dam for an hour.  This tractor was taken out of service and replaced by a tractor and trailer assigned to Little Goose Dam.  On August 20 (a 100 degree F ambient air temperature day), the trailer chiller system would not start, so a gradual water exchange of trailer water with cooler river water at the Bonneville truck pad became necessary to equilibrate water temperatures prior to the release of fish.  This trailer was exchanged for another fish trailer prior to the next trip.  
On August 17, a towboat and fish barge combination tested an approach to the facility dock along the Oregon shore.  This test was done to evaluate this route should the bypass lines and outfalls be relocated in the future.  Such a change in facility configuration could affect towboat and fish barge operations.                    

                                                         River Conditions

River conditions during the week are outlined in Table 1 with data provided by the smolt monitoring staff whose data day runs from 0700 to 0700 hours.  Water clarity data continues to be provided by the control room.  The smolt monitoring staff continues gathering water temperature data throughout the project except for the covered gatewell slots (mentioned above) that no longer have temperature probes installed.  Temperature information will be distributed in a separate weekly report.  

Spill for juvenile fish passage continued at 50 percent of total flow except from August 15 through 18 when total river flow was insufficient to maintain 50% spill and minimum generation requirements.  Spill as a percentage of total river flow on these dates ranged from 37 to 40 percent.  The number of spill pattern changes for safe navigation to and from the locks has increased due to reduced river flow.  Spillway gate openings and closures in support of towboat and fish barge arrivals and departures ended with the conclusion of fish barge operations on April 15.     

Table 1.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	136.9
	89.0
	68.6
	33.2
	70.3
	69.6
	6.0
	     5.6


*From control room data.
Other

Inline Cooling Water Strainers:  Cooling water strainers were not inspected this week. 
Invasive Species:  On August 10, the zebra mussel stations were examined and no mussels were found.  The next inspection is scheduled for approximately September 10.

Predatory bird counts continued with the tailwater and forebay areas being checked twice and once a day, respectively.  The tailwater area had high counts of 74 terns, 50 gulls and 29 cormorants with an occasional pelican being noted.  No birds were seen at the bypass outfalls.  The water cannon continued to operate well.  Only an occasional gull or osprey was seen in the forebay.  No grebes were noticed this week.  

The juvenile lamprey study concluded with end of the barge season.  On August 19, adult lamprey research activities were suspended until safety protocols could be reviewed with the project biologist.  This review was successfully completed.

On August 18, minor blue-green algae accumulations were observed near the Washington ladder exit.          
Project:  Ice Harbor

Biologist:  Mark Plummer 

Technician: Stephen Jeffers
Dates:  August 14 - 20, 2009

Turbine Operation

Turbine unit 3 was available for operation through the entire reporting period.  Turbine unit 4 was taken out of service August 12 for annual maintenance and electrical repairs (loose connection in the transformer canyon).  Turbine units 5 and 6 were out of service from August 3 to August 14 for annual maintenance.  Turbine units 1 and 2 went out of service August 18 for annual maintenance and the installation of bus bar arrestors.  Annual turbine maintenance for unit 3 is slated to begin August 24.

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fishways August 18, 19, and 20. 
Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  The south picketed leads are requiring frequent cleaning due to plugging with aquatic vegetation.  
Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with a depth of 8.0 feet, on sill with a depth of 8.0 feet, and on sill with a depth of 8.6 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 8.0 feet, on sill with a depth of 7.8 feet, and on sill with a depth of 8.3 feet.  The north shore entrance (NSE) was off sill with a depth of 6.8 feet, on sill with a depth of 6.6 feet, and on sill with a depth of 7.1 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All other channel/tailwater differentials were in criteria.  Channel/tailwater differential criteria are 1 – 2 feet.  The south and center entrance gates (SFE-1 and NFE-2) are being lowered to reduce entrance velocities to benefit lamprey passage.  This operation began July 20 and occurs between the hours of 2100 hours and 0400 hours and will continue through the end of September.
Auxiliary Water Supply System:  North shore fish pumps 1 and 2 were operated without any problems.  North shore fish pump 3 is on standby.  Six of the available 8 south fish pumps were operated without incident.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating.
STSs/VBSs:  STS inspections for unit 4 took place August 17.  STS inspections for units 1 and 2 were performed August 18.  No problems to report.  STS inspection for turbine unit 3 is scheduled for the week of August 24.  A 6” x 2’ rip was found on the south edge of the south vertical barrier screen (VBS) in slot 4A.  Slot 4A was dipped for fish and bulkheads were set in place on August 20.  No fish were found or recovered.  The screen will be repaired August 24.   

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe: 20 orifices are open.  The power supply wire system to the screen cleaner in the collection channel continues to malfunction.  After repairs were made August 20, the wire system failed again the subsequent evening.  Screen cleaner repair efforts continue and the screen cleaner is being operated manually once per day.  The juvenile collection channel water elevations and the incline screen area are being monitored by power house operators and fish facility personnel.  
Juvenile Bypass Facility:  The bypass is in operation with 20 orifices open providing 300 cfs into the juvenile collection channel.    
Removable Spillway Weir:  The RSW is in the operating position.

River Conditions

River conditions during the week are outlined in Table 1.  
Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	35.7
	27.5
	28.9
	18.3
	70
	70
	7.8
	7.0


*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers: Cooling water strainer gages are read 3 times a reporting period during each adult fishway inspection by fish facility personnel.  During the August STS inspections performed this period, strainers on turbine units 1, 2, and 4 were checked.  One lamprey mortality was found in the turbine unit 2 strainer and one unidentifiable juvenile fish mortality was found in the turbine unit 4 strainer.  The turbine unit 1 strainer was empty.

Invasive Species: Zebra mussel monitoring devices are inspected by fish facility personnel during the first adult fishway inspection of the reporting period.  No mussels were found during this week.

Project:  Lower Monumental Dam

Biologists:  Bill Spurgeon and Ken Fone 

Dates:  August 14 - 20, 2009

Turbine Operation

All available turbine units were operated within the 1% operation criteria.  Turbine unit 6 was taken out of service for annual maintenance on July 13 at 0700 hours and remained out of service through this time period.  

Adult Fish Passage Facility

The adult fishway was inspected by Corps or state biologists on August 14, 15, 18 and 19.   
Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  

Fishway Entrances and Collection Channel: NPE1 and NPE2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.  

SPE1 and SPE2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections, with an average depth of 5.3 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.     

SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections, with an average depth of 5.6 feet.  SSE2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) on all inspections.

Auxiliary Water Supply System: AWS pump 3 remains out of service to in support of bearing housing replacement and diffuser assembly repair.  Pumps 1 and 2 were in service throughout this period.  Pump 3 remains “bulkheaded off” to minimize water loss during two-pump operation.          

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0 to 17% surface coverage.  No oil was observed in the gatewells.

STSs/VBSs: STS operations were changed to cycle mode on July 30 as the average fork length of sockeye and Chinook juveniles exceeded the 120mm criteria.  
Orifices, Collection Channel, Dewatering Structure, Flume:   The bypass operated with 19 to 20 orifices open.   Channel, dewatering structure and flume functioned normally.
Collection Facility:  Fish are being collected for transport.  Equipment is functioning normally. 

Transport Summary:  Alternate day midi-tanker transport began on August 16. 

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	33.5
	26.5
	17.4
	14.4
	69.5
	68.5
	5+
	4.5


   *Scrollcase temperatures.

Other

Inline Cooling Water Strainers:  The main unit cooling water strainers were cleaned on August 19.  No juvenile lamprey or other fish were present.  We plan to collect this information monthly through the year unless degradation of fish due to water temperature makes this task impossible.
Invasive Species: There were no zebra mussels observed at the monitoring stations on August 1.  The September inspection is expected to occur during the week of September 1.

Summer spill began on June 21.  Spill is scheduled to cease at the end of August.

Project:  Little Goose

Biologist: George Melanson and Richard Weis
Dates:  August 14 - 20, 2009

Turbine Operation

Turbine units 3 and 4 were available for power generation throughout this report period.  Turbine unit 1 was removed from service on August 17 for annual maintenance.  Turbine units 5 and 6 were also removed from service on August 17 in support of Doble tests on main transformer #2.  Turbine unit 2 was removed from service on August 17 from 0735 to 1609 hours in support of turbine unit 1 trash rack raking operations.  All turbine units were operated within 1% efficiency criteria.  

Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway on August 14, 16, 18 and 20.

Fish Ladder:  All criteria were met.
Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.12 and 1.64 ft. (criteria 1.0 to 2.0 ft.). 

SSE1 and 2 weir depths ranged between 8.16 and 8.30 feet (criteria ≥8.0 ft).  NPE1 and 2 weirs rested on sill and depths ranged between 5.12 and 5.74 feet (criteria ≥7.0 ft. or on sill).  NSE1 weir depths ranged between 5.95 and 6.20 feet (criteria ≥ 6.0 ft.).  On August 16 and 18, NSE 2 measured below criteria at 2.54 feet as this weir was raised to compensate for water loss through the damaged NPE3 weir when the TSW was closed.  NSE2 measured close to criteria on August 14 and 20 when the TSW was in operation, recording depths of 5.86 and 5.96 feet respectively (criteria ≥ 6.0 ft.).  
Collection channel water velocities (criteria 1.5 to 4.0 fps) ranged between 1.9 and 2.5 fps near the SSE.  Subsurface water velocities near the SSE (flowmeter) ranged between 1.8 and 2.0 fps.
The fall-out fence was inspected this week.  The fence appears to be loosing more fasteners.

NPE3 (a concrete lift gate – normally closed), has deteriorated from water forces caused by flow over spillway 1.  The flow over spillway 1 forces collection channel water to remain within the channel and to meet channel to tailwater head differentials criteria at fishway entrances.   During TSW/Spillway closures from August 15 – 17, water flowed unrestricted from the collection channel through NPE3 into the tailrace.  To compensate for water loss through NPE3, NSE2 was raised to approximately 2.5 feet which allowed remainder of the fishway entrances and collection channel to function within criteria.   

Auxiliary Water Supply System:   All three fish pumps operated within criteria.  

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Several pieces of floating forebay debris were observed inside the trash/shear boom.  Gatewells remained clear of debris and contaminants.  

ESBSs/VBSs: All ESBSs operated within criteria this report period.  Except for the screen in slot 3C, all screens were in proper operating condition.  A limit switch error generated several ESBS trouble reports in slot 3C.   Normal screen operation resumed after the switch was adjusted.  The next scheduled video inspections are slated to take place from October 6 to October 8.  Turbine unit 1 trash racks were cleaned on August 17 and 18.  Approximately 1 - 2 cubic yards of debris was removed.  A large log appears to be lodged against the three turbine unit 1 intakes that prevented a complete raking of the trash racks.  A plan of action is being formulated to remove the log.  Drawdowns were performed on turbine units 2 and 3 on August 19 and  all criteria were met.     

Orifices, Collection Channel, Dewatering Structure, and Flume:  The collection channel was operated with 21 to 22 open orifices.  There were no orifice blockages noted during this report period.

The primary dewatering weir motor failed on July 20.  Repairs are on standby - awaiting parts.  Water flow volume into the bypass system is regulated with the number of open orifices.

Transportation Facility:  Collection and transport continued.  Daily collection ranged between 17 and 291 for a total of 635 for the week.  Descaling was not observed this report period (i.e.: 0.0% descaling rate).  Daily smolt mortalities ranged between 1 and 15 for a total of 22 (3.5%).  The majority of mortalities appear to be disease (presumed columnaris) related.   

Transport Summary:   Every-other day barge operations ended with the departure taking place on August 14.  Alternate day truck transport operations using the 300-gallon midi tank started on August 16.  Salt in small concentrations of approximately 1 g/L is added to the midi-tank water to treat potential Columnaris disease and reduce stress.  All barge and truck loading and transport operations were performed satisfactorily.  

Spillway Weir:  TSW was closed on August 15 per BPA request and reopened on August 18.  Otherwise, the TSW operated as usual.
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	   35.7
	26.6
	11.6
	8.1
	69.4
	68.0
	4.6
	4.1


*Ladder temperature.
Other
Inline Cooling Water Strainers:  Cooling water strainers were checked on August 20.  Units 1, 2, 4, 5, and 6 were inspected and no fish were observed.

Invasive Species:  The Zebra Mussel substrate was inspected on August 6.  No mussels were observed.   The next inspection is scheduled for September 2.

Up to 7 cormorants were observed in the forebay during the report period.   

Project:  Lower Granite

Biologists: Mike Halter and Casey Watson
Dates:  August 14 - 20, 2009

Turbine Operation

Lower Granite had turbine units 1, 2, 3, and 4 available for power generation at the beginning of the report week.  Turbine unit 5 was not available for full generation due to transformer T2 remaining off line.  Turbine unit 6 remained out of service for annual maintenance.  All available turbine units were run within the established 1% efficiency guidelines during the week.     
Adult Fish Passage Facility
On August 15, 16, 17, and 18 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.   The August 15 inspection was jointly conducted with the ODFW biologist stationed at Little Goose Dam.

Fish Ladder:  All criteria were met during the week.    
Fishway Entrances and Collection Channel:  Head differential readings remained within criteria at all adult fishway entrances during the week.  Weir depths at the south shore fishway entrances were within criteria whenever the tailwater depths were sufficient to keep the gates off their seals.  (At tailwater elevations below 633.0 feet the south shore gates bottom out).  Weir depths at the south shore entrances ranged between 7.6 and 8.4 feet during the weekly inspections (criterion ≥ 8.0 feet).  Weir depths at the north powerhouse fishway entrances were below the desired 8.0 foot criteria level on all inspections this week due to low tailwater elevations which caused the gates to bottom out and rest on their sills.  (At elevations below 636.0 feet the north powerhouse weir gates bottom out.)  North powerhouse entrance weir depths ranged from 5.0 to 5.6 feet.  Weir depth readings at the north shore fishway entrances were out of criteria all week and ranged between 5.0 and 5.1 feet (criterion ≥ 7.0 feet).  Weir depth readings at the north shore entrances continue to be sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway collection channel transition pool area ranged from 0.87 to 1.09 feet per second and averaged 0.96 feet per second.

Auxiliary Water Supply System:  Fish pumps 1 and 3 were run during the week without any problems.  

Juvenile Fish Passage Facility

The facility sample rate remained at 100% during the report week.

Forebay Debris/Gatewell Debris/Oil:   Debris levels remained very low during the week.  There were no plugging issues of any kind.  
ESBSs/VBSs:  The last video camera inspections of the ESBSs and VBSs were completed on June 19.  The next video inspections are scheduled for August 21-23.
Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:   As a fail-safe measure, collection gallery orifices were backflushed every three hours throughout the week.

Transportation Facility:  The project switched to a 100% sample rate on the morning of August 14 (immediately following the last barge trip).  Following the switch-over, fish were worked up in the lab every other day and directly loaded onto the fish transport truck.
Transport Summary:   The last scheduled fish barge of the season departed Lower Granite on August 14.  Fish trucking operations began on August 16.  Due to low fish numbers, and a 100% sample rate, the project used the midi-tanker for trucking operations throughout the week.  All operations proceeded smoothly.
Removable Spillway Weir:   Nothing to report on the RSW.  

River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	36.3
	28.7
	19.8
	16.7
	68.5
	68.0
	5.0
	5.0


*Scrollcase temperature.
Other
Inline Cooling Water Strainers:   Inline cooling water strainers on turbine unit 4 were last checked for lamprey on July 14.  One lamprey (alive) was found in one strainer basket.  The other basket had evidence of 3 dead lamprey.  
Invasive Species:  No evidence of zebra or quagga mussels was found during the week.  The zebra mussel detector at the head of the adult fishway was last checked on August 17.

Adult fish trap operations resumed on August 18 with fish ladder water temperatures in the high 60s’ degree range.  The sample rate was set at 12% and is projected to remain at that level through the duration of the fall season.  In addition, a goal of 2,000 unclipped (wild) steelhead are to be PIT-tagged for the Idaho Department of Fish and Game.

