
U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#13-2010
Project:  McNary

Biologists:  Brad Eby and Bobby Johnson

Dates:  May 21 - 27, 2010
Turbine Operation

McNary had 12 to 13 turbine units available for power generation this week.  Turbine unit 8 remains out of service for an asbestos removal contract.  On May 24, turbine units 3 through 6 and 12 were out of service for a total of 8.9 hours for trash rack cleaning.  On May 25, turbine units 9 through 11 were out of service for a total of 62 minutes in support of ESBS camera inspections.  On May 26, turbine unit 7 was out of service 43 minutes for trash rack cleaning.  On May 27, turbine unit 9 was removed from service for the asbestos removal.  This outage is expected to last approximately two weeks.  
Turbine units 4 and 5 continue to be operated outside of peak efficiency limitations in support of the one percent criteria study.  Turbine units 4 and 5 alternate modes of operations daily from Monday through Friday.  This study requires the operation of one turbine unit outside the criteria at approximately 70 megawatts while the other turbine is operated at the upper limit of the 1% efficiency criterion.   Since May 13, the switch in operating mode has been taking place at 12 noon.  Both of these turbine units return to normal operation ranges @ 2200 hours each night following the conclusion of daily research activities.  One modification to this scheduled schedule occurred this week.  On May 25, turbine unit 5 was operated at a reduced load for 47 minutes for VBS cleaning.  Otherwise, all turbine units operated within the 1% efficiency criterion this week.       

Adult Fish Passage Facilities

On May 21, 24 and 26, McNary fishery biologists performed measured inspections of the adult fishways.  Adult fish counts continued.  On March 26, from 1400 to 1523 hours, the Oregon ladder was placed in orifice flow mode in support of an unsuccessful attempt to remove a debris blockage in one of the new lamprey passage orifices on weir 335 at the Oregon exit.  The attempt was unsuccessful and further debris removal attempts were deemed futile.  Researchers will likely move their camera to another weir with a lamprey opening.           

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections and no alarms were reported.  The Oregon ladder exit traveling screens continue to operating well and differentials were satisfactory.  Due to the amount of floating debris in the river, picketed leads in both ladders are being monitored daily.                       

Fishway Entrances and Collection Channel:  All inspection points in both ladders met criteria.  Spill influenced hydraulic gradients produced continue to affect some readings.  Collection channel velocities averaged 1.6 feet per second this week.    

Auxiliary Water Supply System:  For the week, all three fish pumps ran satisfactorily with blade angles of 22 to 26 degrees.  There was one interruption in service for approximately ten minutes when pumps 1 and 3 tripped out of service for no apparent reason.  Normal service was restored after cooling water alarm limits were reset.  The juvenile facility continued to add 450 cfs to the north powerhouse pool.  The Wasco County PUD turbine unit had no interruptions in service during this report period.

Juvenile Fish Passage Facility

The alternating spring season of primary and secondary bypass continues with the switch between the bypass modes occurring each morning at approximately 0700 hours.  Only two diversions from this scheduled occurred this week.  On May 23 and 25, secondary bypass for an extra sample for the orifice light study occurred from 2100 to 0300 and from 2100 to 2226, respectively with only the B sample gate in use and set at ten and 20 percent, respectively.  For the report week, 475,421 smolts were bypassed.  The extra samples collected 1,737 fish for possible tagging.        

Forebay Debris/Gate well Debris/Oil:  Forebay debris was light as river currents and wind continue to disperse incoming floating debris.  Even though trash rack differentials have been satisfactory, the next phase of trash rack raking resumed on May 24 and 26 when turbine units 3 through 8 were cleaned.  VBSs in slots 12A, 12B and 12C were also cleaned as differentials respectively reached 1.4 feet, 1.0 feet and 1.4 feet.  Approximately 75 cubic yards of debris was removed from the racks, the majority of the debris being tumbleweeds.  No problems were observed in the gatewell slots this week.        

ESBSs/VBSs:  ESBSs are currently deployed in all turbine units.  The screens in slots 5C, 6A and 9C remain in transducer bypass mode.  The screen in slot 12A slot triggered an alarm once and was reset.  On May 25, ESBS camera inspections at units 9 through 11 revealed no problems.  VBS monitoring revealed one screen out of criteria.  On May 21, 24, 25 and 27, this screen and 13 others were cleaned, including all three screens at unit 5, a study unit.               

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  For the week, 42 orifices were in use with one problem to report.  On May 21, caution orders were placed on both orifices in slots 4A, 5A and 6B.  Orifice traps are associated with the south orifice in each of these slots.  NOAA researchers currently are swapping the trap orifices and the adjacent north orifice as trap usage dictates.  However, even with these precautions, both orifices in 6B slot were found closed on May 22.  These orifices may have been closed as long as 12 hours.  No fish injuries were observed.  Proper orifice operations were again reviewed with researchers and COE fisheries personnel.  All systems operated well in automatic mode this week.  However, the newly installed south retracting cable on the rectangular screen cleaner appears to be rubbing against the drive shaft.  This does not appears to be a significant problem as nomal operation is not affected.  Lighting in the south end of the channel gallery was re-lamped this week.  Fisheries personnel continue to monitor the collection channel during all shifts when primary bypass operations are taking place.  Fisheries personnel also continue to monitor all three orifice traps associated with the orifice lighting study as time allows.       

Transportation Facility:  Spring bypass season continued with alternating days of primary and secondary bypass.  All sampled fish were returned to the river.  PIT tag detection occurs in the full flow pipe during primary bypass mode and throughout the facility during secondary bypass operations.  Sampling and smolt monitoring occurs only during secondary bypass operations.  Limited sampling and secondary bypass operations are taking place on scheduled primary bypass days in support of the NMFS orifice lighting study.   When extra sampling occurs on primary bypass days, Corps data only includes adult fallback counts.  Primary (A and B) PIT tag slide gates remained off and closed as the return to river lines provide a better bypass route for PIT tagged fish.  The secondary (C and D) PIT/bypass gates were off and open as there are no studies requiring them this year.  Sample gates continued to function well.  Ice block checks of the return to river lines indicated no blockages.  Sample tank and raceway shelter lights were re-lamped this week.
PIT tag data seemed to indicate that some fish were getting past the secondary (C and D) gates and passing into the raceway.  Facility personnel drained the raceways and no fish were seen.  Since the tail screens were in their raised positions, fish may have entered the raceway bank drains and returned safely to the river.  On May 25, soft rubber flaps were installed just downstream of the bypass gates to prevent raceway entry in the future.  This is the first time PIT tag data has indicated such a problem at the McNary Juvenile Fish Facility.                              

Transport Summary:  Transport operations are not taking place at this time.  There is nothing to report. 

River Conditions

River conditions during the week are outlined in Table 1 as provided by the smolt monitoring staff whose data day runs from 0700 to 0700 hours each day.  The spring spill program continues with 40 percent of the river discharge being spilled.  Because of low river flows, spill patterns were adjusted for brief periods to allow towboats and barges safe entrance into and egression out of the navigation lock.  Spill changes for navigation lock usage are decreasing as river flows have increased.  On May 25, the spill percentage reached 43 percent due to work with the crane being used to move the gate in spillbay 22.  
Table 1.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	266.0
	213.3
	106.6
	85.4
	55.2
	54.1
	6.0
	     6.0


*Control room data.  

Other

Inline Cooling Water Strainers:  On May 24, the cooling water strainer examination occurred.  At units 5 and 9, the valves were stuck and the examination took place on May 26.  The units’ run times are from April 13 to May 24 or 26, inclusive.  This was the first examination this year which included smolt mortalities.
Table 2.  Cooling Water Strainers at McNary Dam.

	        Unit
	Run Time Hours
	Lamprey 

Dead
	Lamprey 

Alive
	Lamprey 

Unit Total
	Smolts

Dead

	          1
	     964.9
	         2
	         1
	         3
	        20

	          2
	     523.9
	         1
	         0
	         1
	          0

	          3
	  1,005.8
	         4
	         0
	         4
	          0

	          4
	  1,007.1
	         0
	         0
	         0
	          0

	          5
	  1,053.3
	         2
	         0
	         2
	          0

	          6
	     647.9
	         2
	         0
	         2
	          0

	          7
	     134.9
	       19
	         0
	       19
	          6

	          8
	     231.2
	         1
	         0
	         1
	          0

	          9
	     530.9
	         0
	         0
	         0
	          0

	        10
	     633.9
	         8
	         0
	         8
	          1

	        11
	     756.5
	         8
	         0
	         8
	          1

	        12
	     900.0
	         4
	         0
	         4
	          0

	        13
	     921.1
	         6
	         0
	         6
	          0

	        14
	     984.1
	         3
	         0
	         3
	          6

	      Total
	10,295.5
	       60
	         1
	       61
	        34


 A total of nine unrecognizable mortalities were retrieved from turbine units 1, 10 and 12 through 14.  

Invasive Species:  No invasive species were found during the May 1 detector inspection.  The next inspection is approximately scheduled for June 1. 
Predatory bird counts continue with tailwater observations and forebay counts done twice and once daily, respectively.  The tailwater area had high counts of approximately 425 gulls, 17 pelicans and eleven cormorant noted.  This is the most gulls noted in about two years as the birds seem attracted to the large numbers of juvenile sockeye in river.  Gull movements make them every difficult to count.  As of now, no terns have been observed.  Most birds were seen in the spill area with the highest counts occurring on swing shift when no hazing personnel are on duty.  At the bypasses’ out falls, the high counts were five gulls and four pelicans again on swing shift.  The water cannon operated well with APHIS personnel on duty seven days a week on day shift.  The forebay area had high counts of approximately 85 grebes, five pelicans and four gulls with an occasional osprey seen.  Pelicans along with gulls and cormorants were also noted roosting on the rocks by the Washington boat ramp.  Two grebes entered the gatewell slots this week joining the two from last week for a total of four.  One grebe which appeared ill was removed from 9A slot.  Two other grebes passed to the collection channel leaving one grebe in the gatewell slots.  The two grebes in the channel passed out of the system with one being removed from the separator.  The orifice light, one percent criteria and adult lamprey passage studies continue along with GBT monitoring.     

Project:  Ice Harbor

Biologist:  Mark Plummer 

Dates:  May 21 - 27, 2010

Turbine Operation
All turbine units (1 - 6) were available for operation this reporting period.

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fishways May 24, 25, 26, and 27. 
Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria 

Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 9.7 feet, off sill with a depth of 10.1 feet, off sill with a depth of 9.7 feet, and off sill with a depth of 9.9 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 10.7 feet, on sill with a depth of 10.9 feet, on sill with a depth of 10.8 feet, and on sill with 10.9 feet. The north shore entrance (NSE) was off sill with a depth of 9.2 feet, off sill with a depth of 8.7 feet, off sill with a depth of 8.3 feet, and off sill with a depth of 8.3 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All channel/tailwater differentials were in criteria.  Spill makes visual staff gage reading difficult due to rapid changes in water elevation at the staff gages.  Visual staff gage readings are reported in the weekly report.  
Auxiliary Water Supply System:  2 of the 3 north shore fish pumps were operated without problems.  All north shore fish pump are in service.   6 of 8 south fish pumps were operated.  All 8 south fish pumps are in service.  

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating.  

STSs/VBSs:  The STSs operation has been changed to continuous operational mode.  The change in mode was made due to the average fork length of sub-yearling Chinook or sockeye is less than 120 mm at Lower Monumental Fish Facility.  No problems were found during the May STS/VBS inspections.  June STS/VBS inspections are scheduled for the 15th and 16th.
Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   The juvenile fish bypass is in operation.  20 orifices are open.  
Juvenile Bypass Facility:  The bypass was put in operation March 8.

Juvenile Fish Sampling:  Sampling for fish condition Monday and Thursday.  

Removable Spillway Weir:  The RSW is in operation.

Fish Sampling:  No fish sampling will occur on Monday May 31 due to Memorial Day Holiday.   
May 24:  

	Species
	Sampled
	#Descaled
	Morts
	Avian Marks

	
	
	
	
	 

	C-CH
	39
	1
	0
	0

	UC-CH
	10
	0
	0
	0

	C-CH-O
	---
	---
	---
	---

	UC-CH-O
	---
	---
	---
	---

	C-SH
	67
	2
	0
	1

	UC-SH
	11
	0
	0
	0

	C-COHO
	---
	---
	---
	---

	UC-COHO
	---
	---
	---
	---

	C-SOCK
	---
	---
	---
	---

	UC-SOCK
	---
	---
	---
	---

	
	 
	 
	 
	 

	TOTAL
	127
	3
	0
	1


May 27:

	Species
	Sampled
	#Descaled
	Morts
	Avian Marks

	
	
	
	
	 

	C-CH
	40
	3
	0
	0

	UC-CH
	17
	0
	0
	0

	C-CH-O
	---
	---
	---
	---

	UC-CH-O
	2
	---
	---
	---

	C-SH
	84
	3
	0
	2

	UC-SH
	32
	0
	0
	0

	C-COHO
	---
	---
	---
	---

	UC-COHO
	1
	---
	---
	---

	C-SOCK
	---
	---
	---
	---

	UC-SOCK
	1
	---
	---
	---

	
	 
	 
	 
	 

	TOTAL
	177
	6
	0
	2


River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	108.3
	68.2
	66.5
	20.5
	55
	54
	4.8
	3.6


*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainers were last checked on May 12.  
Invasive Species: No zebra mussels were observed during inspections on May 17 and 20. 
Spill for fish passage began April 3.  No zebra mussels were observed when the inspection was performed May 24 and 25.

Project:  Lower Monumental Dam

Biologists:  Bill Spurgeon and Elizabeth Lindsey 

Dates:  May 21 - 27, 2010

Turbine Operation

Turbine units are being operated within the hard constraint 1% operational criteria.  There were no turbine unit outages during this week.   
Adult Fish Passage Facility

The adult fishway was inspected by Corps or State biologists on May 21, 22, 23, and 26. 

Fish Ladders: Fishway exit head differential and depth over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  

Fishway Entrances and Collection Channel:  NPE 1 and NPE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.  

SPE 1 and SPE 2 weir gates were in depth criteria or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 7.7’, 7.8’, and 6.5 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) this week.    

SSE1 weir gate was in depth criteria or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth reading was 6.9 feet.  SSE2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.

Auxiliary Water Supply System:  AWS pump 3 has been out of service to replace the bearing housing and repair the diffuser assembly.  This work is scheduled to be completed in 2010.  Pumps 1 and 2 were in service throughout this period.   Pump 3 is bulkheaded off to minimize water loss during two-pump operation.   

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0.5 square yard of forebay debris observed during this period.  Gatewell debris ranged from 0-20% surface coverage.  No oil was observed in gatewells.
STSs/VBSs:  STSs are operating in cycle mode.   STS inspections were conducted May 24 and 25 with all screens found in good operating condition.  
Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is watered up with 19 orifices open.  
Collection Facility:  Collection of fish into raceways for transport began at 0001 hours on May 4.
Transport Summary:  Every-day barging began on May 5.  Due to the towboat Lassen being out of service and the time required for necessary repairs, fish collected on May 21 were transported on May 22.  This change in operation did not result in fish holding time exceeding 48hrs or surpassing raceway holding capacities.    
River Conditions

Spring spill operation was initiated at 0001 hours on April 3.  River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	105.4
	66.8
	26.8
	25.0
	56.5
	55.0
	4.4
	3.6


   *Scrollcase temperatures.

Other

Inline Cooling Water Strainers:  Unit cooling water strainers were cleaned on May 12 (Table 2).  
Table 2. Summary of aquatic organisms recovered during cooling water strainer inspections. 

	
	Lamprey
	Salmon
	Steelhead
	Siberian Prawn

	Unit
	Live
	Dead
	Live
	Dead 
	Live
	Dead
	

	1
	0
	2
	0
	0
	0
	0
	1

	2
	0
	22
	0
	0
	0
	0
	3

	3
	0
	0
	0
	0
	0
	0
	0

	4
	0
	0
	0
	0
	0
	0
	0

	5
	0
	10
	0
	1
	0
	1
	2

	6
	0
	0
	0
	0
	0
	0
	0


Invasive Species:  There were no zebra mussels observed at the monitoring stations on the May 7 inspection.

Project:  Little Goose

Biologists: Richard Weis
Dates:  May 21 - 27, 2010

Turbine Operation

All turbine units were available for service this reporting period.  All turbine units were operated within 1% of best efficiency. 
Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway May 21, 24 and 25.
Fish Ladder:  The ladder exit head differentials ranged between 0 and 0.1 feet (criteria < 0.5 ft.).  Water depths over the weirs was 1.1 feet (criteria 1.0-1.3 ft.) for all three inspections and picketed lead head differentials held steady a 0.0 feet (criteria < 0.3 ft.).  

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials at fish entrances ranged between 1.06 and 1.88 (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 7.92 and 8.30 feet (criteria ≥8.0 ft), NPE1 and 2 weirs rested on sill position and depths ranged between 5.42 and 6.30 (criteria ≥7.0 ft. or on sill).  NSE1 is manually positioned at 529.1 and depths measured between 8.56 and 9.56 feet (criteria ≥ 6.0 ft.).  NSE2 weir depth ranged between 6.12 and 6.22 feet (criteria ≥ 6.0 ft.).

Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged between 1.6 and 2.0 fps near the SSE and 2.5 and 3.1 fps near the NSE.   Subsurface water velocities near the SSE (flowmeter) ranged between 0.9 and 1.2 fps.  

Auxiliary Water Supply System:  All fish pumps operated within criteria during this report period.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Forebay debris remained light during this report period.  Gatewells remain clear of debris.  Trace amounts of oil was observed in gatewells 5A through 6C.  The oil is suspected rain-wash from residue on the intake deck.

Spillway Weir:  The weir was operated in the low crest position (618 ft.) spilling approximately 11,300 cfs through May 25 at 0800 hours at which time the weir was closed.  The weir was reopened on May 27 at 1520 in the high crest position (622 ft.) spilling approximately 7200 cfs.  The extended duration of closure was to allow improved adult fish passage into the collection system and ladder fishway.    
ESBS/VBS:  All operating ESBS were within criteria this report period.    Drawdown measurements across trash racks, ESBS and VBS associated with turbine units 1, 2 and 3 were performed on May 26, all criteria were met.  . Video inspections of the ESBS and VBS scheduled for May 25 - 27 were not performed due to the underwater camera in disrepair.  A new camera is scheduled to be in service in June.  Video inspections were last performed April 26 – 28 and all components were viewed in satisfactory condition.    All ESBS cleaning brushes were manually operated this week and determined to be in operational order.

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection channel is operating with 23 open orifices.  
Transportation Facility:  Collection and transport continued this report period.  Daily collection for the period ranged between 29,950 and 115,007 for a total of 443,063.  All fish were transported except for mortalities.  Descaling and mortality rates for this report period are 0.2% and < 0.1% respectively.  
Transport Summary:  All barge transport operations were successfully performed.  Direct barge loading operations ended on May 26.  Daily barging operations will continue through May 28 and alternated day barging operations are scheduled to begin May 30.    
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	102.4
	68.4
	30.6
	20.4
	56.2
	53.7
	5.3
	3.8


*Ladder temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected this report period on May 26.  Seventeen juvenile lamprey were removed – one was alive and released back to the river. 

Invasive Species:  The Zebra Mussel substrate monitor was inspected on May 26, no mussels were observed.  The next inspection for zebra mussels is scheduled for June 30.  

Avian Activity:  USDA – APHIS performed piscivorous bird hazing.  Up to 55 gulls and 6 Cormorants and 3 Pelicans were observed during a given day this report period.

Project:  Lower Granite

Biologist: Mike Halter and Ches Brooks
Dates:  May 21 - 27, 2010

Turbine Operation

Lower Granite had turbine units 1, 2, 4, 5, and 6 available for power generation at the beginning of the report week.   Turbine unit 3 remained out of service for a rewind and will not be available until approximately December 31, 2010.
Adult Fish Passage Facility

On May 21, 23, and 24 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.   An additional inspection was conducted with the ODFW biologist from Little Goose Dam on May 26.
Fish Ladder:  All criteria were met with the exception of the ladder weir depth at diffuser 14 which was 0.9 feet (0.1 feet below criteria) on the May 26 inspection (criterion 1.0 – 1.3 feet).
Fishway Entrances and Collection Channel:   Head differential readings remained within criteria at all adult fishway entrances during the weekly inspections.  Weir depths at the south shore fishway entrances were also within criteria on all inspections.  North powerhouse fishway entrance weirs were on sill all week due to tailwater elevations below 636.0 feet.  Weir depths at the north powerhouse entrances ranged from 5.7 to 7.3 feet.  Weir depths at the north shore fishway entrances were out of critieria all week with readings of between 4.9 and 5.3 feet (criterion ≥ 7.0 feet).  Weir depth readings at the north shore entrances are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway collection channel transition pool area ranged from 0.87 to 1.01 feet per second and averaged 0.94 feet per second.

Auxiliary Water Supply System:  Fish pumps 2 and 3 were operated during the week without any problems.  
Juvenile Fish Passage Facility

The sample rate was increased from 0.5% to 1.0% at 0700 hours on May 25.   Due to rapidly decreasing fish numbers, it was increased again from 1.0% to 2% at 0700 hours on May 27.

Forebay Debris/Gatewell Debris/Oil:  Debris accumulation in the forebay and gatewells was minimal during the week.   It was not necessary to hand-dip debris from any gatewells this week.  
ESBSs/VBSs:   There were no problems with fish screens during the report week.   ESBS/VBS video inspections of units 1, 2, 4, 5, and 6 were conducted on May 23.  The only problems found were a loose retaining strap/bar in the gate slot 6A north screen about 47 feet down and a small hole in the gate slot 1A south screen near the top.
Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  There were no problems with any of these structures during the week.  Orifices are being backflushed every three hours around the clock to ensure they remain free of materials that might impact fish passage.
Transportation Facility:   The towboat Lassen lost an engine while moored at the Lower Granite Fish Facility on May 21.  Rather than leave Lower Granite with only a single engine, the towboat remained at Lower Granite and the following day’s towboat (Invader) took the Lassen’s tow.   This caused a much later than normal departure from Lower Granite on May 21.   In order to save time, fish were not picked up at Lower Monumental on that trip.  The Lassen and Invader switched tows over the May 22-23 weekend and both boats were back on their normal schedule by Monday, May 24.
Transport Summary:  Every day fish barging operations continued at Lower Granite, Little Goose, and Lower Monumental Dams.  With the exception of the above incident, operations have been going smoothly.   Every-other-day barging activities are scheduled to start on May 28 (the first day without a barge leaving Lower Granite will be May 29).
Removable Spillway Weir:   Nothing to report on the RSW.  
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	103.8
	69.1
	20.7
	20.5
	55.0
	53.3
	4.5
	3.4


*Scrollcase temperature.

Other
Inline Cooling Water Strainers:  Inspection of the inline cooling water strainers took place on May 26.   A total of 398 juvenile lamprey were found during the inspections.  Higher flows during the week apparently caused large numbers of juvenile lamprey to move through the system.  This coupled with the increased power generation entrained higher numbers of lamprey than expected.  
Invasive Species:   The zebra mussel trap at the adult fishway exit was last examined for zebra mussels on the May 17 inspection.  No evidence of zebra mussels was found.

Research:  The University of Idaho continued steelhead kelt research work at the recently constructed holding tanks upstream of the main fish facility.   Steelhead kelts are being examined to determine the changes that occur during sexual maturity and to determine post spawning changes associated with successful downstream migration and recovery to spawn again.  Dependent on the group, steelhead kelts were blood sampled, PIT-tagged, acoustic-tagged, trucked, barged, or returned back to the river during the report week.   Steelhead kelts were barged from Lower Granite on May 26.

NOAA-Fisheries personnel tagged fish for the survival study and transport study at the JFF trailers during the week.  

Idaho Department of Fish and Game personnel conducted genetic stock identification work on chinook and steelhead smolts from the lab during the week.  The goal of the study is to enumerate and characterize the natural production of spring/summer chinook salmon and steelhead above Lower Granite with regard to age composition and genetic stock identification.  Sampling is taking place every day with a goal of collecting between 2500 and 4000 genetic samples from both chinook and steelhead. 

The adult fish trap continued operation at a 4% sample rate during the week.  Wild steelhead are being PIT-tagged and genetic and scale samples are being taken.  In addition, scale samples are being taken from one out of every 25 hatchery steelhead .  One out of every seven hatchery chinook are also being PIT-tagged and scale samples and genetic materials are being taken.  Two sort-by-code projects are also under way:  1) up to 15 Lemhi-origin chinook are to be diverted for radio-tagging,   2) chinook that were acoustic-tagged in the estuary are being diverted to check the recovery status of the surgery and take reference photos.

