U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#27-2010
Project:  McNary

Biologists: Brad Eby and Bobby Johnson

Dates:  August 27 – September 2, 2010
Turbine Operation

McNary had eight to twelve turbine units available for power generation this week.  Turbine units 2 and 7 are expected to remain out of service for rewind work until the end of the year.  Turbine units 3 and 4 returned to full service August 28 following the replacement of the T2 transformer and follow up tests.  These turbine units were also unavailable for of service for 3.2 hours on August 30 in support of T2 transformer electrical ground work and again on August 31 for 1 hour when the new transformer tripped a circuit breaker.  Turbine units 3 and 4 were in standby status when the breaker opened.  On September 1, turbine units 1 and 2 were removed from service in support of the T1 transformer replacement contract.  This work is expected to take approximately two months.  Turbine units 13 and 14 were also removed from service on September 1 in support of transformer T7 maintenance and repair.  Turbine units 13 and 14 are expected to be returned to service in 2 weeks.  During tests on August 28, turbine units 3 and 4 ran outside the 1% efficiency criterion.  Otherwise all turbine units operated within the 1% efficiency restrictions this week.           

Adult Fish Passage Facilities

McNary fishery biologists performed measured inspections of the adult fishways on August 29, September 1 and September 2.  Adult fish counts continued.  As in 2009, Oregon entrance weirs SFEW1, SFEW2 and NFEW1 are being lowered during nighttime hours on a predetermined schedule as part of the adult lamprey passage study.  No unusual problems have been observed this week.  Ladder exit temperature monitoring continues.      

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections except on September 1 when differentials at the Oregon count station measured 0.8’.  Criterion was met after the picketed leads were cleaned and tilting weir 337 was adjusted.  Oregon ladder tilting weir 340 still occasionally triggers alarms.  Whenever this occurs, normal operation resumes after the alarm is reset.  The Oregon ladder exit is sometimes placed in manual mode when alarms and tilting weir are being reset.    The regulating weir near the Washington exit also continues to occasionally trigger alarms during tilt angle adjustments.  As in case of the Oregon weirs, normal operation resumes after the alarms are reset.  The north Oregon exit traveling screen remains out of service. The south traveling screen continues to operate well.  Differentials at both exits are being monitored daily.                         
Fishway Entrances and Collection Channel:  All Washington ladder inspection and most Oregon ladder inspection points were in criteria.  Oregon fishway locations not meeting criteria included the north powerhouse pool differential (0.6 to 0.8 feet all through the week), the north powerhouse entrance weir, NFEW3 (measured 8.9 feet on August 29), the south pool differential on September 1 (measured 0.1 feet due to a fish pump outage) and the south powerhouse entrance, SFEW1 on August 29 (measured 8.9 feet).  Collection channel velocities averaged 1.3 feet per second.    

Auxiliary Water Supply System:  All three pumps were operated this week with blade angles of 30 degrees.  Only two fish pumps at a time were available for service during this period due to transformer work.  When transformers T1 and T2 are both available, there is sufficient power to operate all 3 fish pumps.  If one of the 2 transformers is out of service, there is only enough power available to operate 2 of the 3 fish pumps.  The week began with transformer T1, fish pump 2 and fish pump 3 in service.  Transformer T2 returned to service on August 28 after a 2 month outage.  This work required fish pump 3 to be briefly taken out of service three times, with outage times totaling 1.2 hours.  On August 31 at 1550 hours, pump 3 was removed from service and pump 1 was placed into service in support of the pending T1 transformer outage.  Shortly afterwards, pump 1 tripped a breaker and went out of service twice.  Pump 2 also went out of service after a second breaker tripped off line.  Both pumps 1 and 2 remained out of service for 5 minutes while electricians resolved a grounding issue.  This outage also affected the August 31 ladder inspection results.  Following various tests on T2, transformer T1 was taken out of service on September 1.  The juvenile facility continued to supply the usual 450 cfs to the north powerhouse pool and the Wasco County PUD turbine unit had one interruption in service lasting 52 minutes in support of the T7 transformer outage.  The bypass operated well during the outage.

Juvenile Fish Passage Facility

Collection for every other day truck transport continues.  Fish collection was suspended from August 31 at 2300 hours to September 1 at 0400 hours to prevent large amounts of debris from entering the facility.  Large debris loads were possible with the end of the summer spill period and the operation of turbine units which have been on standby for several months or more.  Placing facility into bypass mode for a few hours routes debris to the tailrace and reduces the potential for fish loss and injuries.  This year, the debris load turned out to be fairly light and extended bypass operations were not necessary.  Due to the above mentioned T1 transformer outage, the facility experienced a loss of power from 0635 to 0647 hours on September 1.  Facility power is now being supplied by the powerhouse station service turbine unit.  The facility was placed in primary bypass from September 2 at 2206 hours to September 3 at 0200 hours to avoid the collection of juvenile shad during peak migration hours.  Because of their small size and flat body shapes juvenile shad can clog screens, drains and circulation systems in trucks and raceways.  For this report period, 41,460 smolts, 44,220 juvenile shad, and 95 juvenile lamprey were collected.           

Forebay Debris/Gate well Debris/Oil:  Forebay debris was very light and consisted of mostly Eurasian milfoil.  Trash rack differentials were satisfactory and no raking took place this week.  Slots 3B, 3C, 4A and 4B remained covered in support of transformer T2 replacement until September 1 and 2 when covers were removed from slots 3C, 4A and 4C.  Additional slots were covered after the start of work at transformers T1 and T7.  Covers were installed over slots 1B, 1C, 2A and 2B slots in support of T1 transformer replacement work and over slots 13B and 14A in support of T7 transformer replacement work.  A slight amount of hydraulic fluid was removed from slot 11B this week.  Algae growth was noted in slot 7B slot this week, but this accumulation appears to be dissipating.  No other problems were observed.    

ESBSs/VBSs:  ESBSs are currently deployed in all turbine units and screens in slots 5C, 6A, 9C and 10C remain in transducer bypass mode.  No ESBS problems to report this week other than the screen in slot 5C triggering an alarm on September 1.  Normal operation resumed after the alarm was reset.  Camera inspections took place in turbine units 5 and 6.  All inspected screens were found to be in satisfactory condition.  VBS monitoring revealed no screens out of criteria and cleaning was not necessary.  As part of an ongoing preventative maintenance program, the VBS in slot 5C was replaced.  Orifice video camera inspections were not necessary this week since little or no woody debris was present.  These orifice inspections are in addition to the daily orifice inspections required by the fish passage plan.  
Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Thirty-nine to forty orifices were in use all through the week as forebay elevations remain fairly stable.  The orifices associated with turbine unit 2 (which is out of service) are opened or closed as required with changes in forebay elevations.  These orifices changes sometimes cause high or low channel water elevation alarms to sound for brief periods.  On the night summer spill ended, dewaterer cleaning brush cycles were set at 60 minutes.  Normally brushes are set to operate once every 90 to 120 minutes depending on debris loads.  No unusual maintenance occurred this week other than lubrication of the rectangular screen cleaning brush.  All systems operated well in automatic mode.  Facility personnel continue to monitor the collection channel whenever the system is in primary bypass mode.

Transportation Facility:  Alternating days of truck transport continued.  Primary (A and B) PIT tag slide gates are currently in service and PIT tagged fish are being routed directly to the river.  The secondary (C and D) PIT/bypass gates remain closed and off for fish collection.  Sample gates continued to function well.  The PIT tag and sample gates were out of service September 1 during a planned power outage from from 0630 to 0700 hours on September 1.  Balloon tests revealed that PIT tag release lines were clear of any blockages this week.  Daily fish mortality rates ranged from 0.13 to 1.48 percent for the report period.  Electricians determined that the separator phone was out of service this week due to a failed outside ringer.  The ringer will be replaced sometime next week.  
Transport Summary:  Trucks left the McNary facility on August 28, 30, 31, and September 1.  The August 31st trip was added due to unusually high fish numbers in the collection and to reduce impacts from the juvenile shad out migration.  There are no unusual problems to report.             

River Conditions

River conditions during the week are outlined in Table 1 as provided by the smolt monitoring staff whose data day runs from 0700 to 0700 hours each day.  The summer spill program continued with approximately 50 percent of the river discharge being spilled until August 29.  On August 29, 50% spill was no longer feasible due to low river flows and minimum generation requirements.  Summer spill continued until September 1 at 0001 hours when voluntary spill ended for the season.  Spill patterns were adjusted for brief periods to allow safe navigation.  WDFW personnel continued to monitor water temperatures until August 31 when temperature monitoring efforts ceased for the season.  No temperature-related problems were observed this week.  Water temperature monitoring results are reported separately.

Table 1.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	120.8
	90.9
	60.7
	0.0
	68.0
	66.8
	6.0
	     6.0


*Control room data.  

Other

Inline Cooling Water Strainers:  Cooling water strainer inspections last took place on August 18 in turbine unit 6.  No fish were noted. 

Invasive Species: No invasive species were found during the September 1 detector inspection.  
Predatory bird counts continued with tailwater and forebay observations conducted twice and once daily, respectively.  The tailwater high counts included 246 gulls, 92 terns, 24 cormorants and 1 pelican.  Most tailwater birds were seen in the spill basin until summer spill ended.  Reduced numbers of birds congregated in the powerhouse flow with the cessation in spill.  The juvenile shad outmigration appears to be attracting birds.  Bird numbers are fluctuating, possibly due to the start of winter migration.  No birds were seen around the bypass outfalls.  No birds were observed in the forebay or the gatewell slots.  The three grebes noted in the collection channel at the end of the previous report period are still present.  Grebe removal may be coordinated with APHIS personnel in October.  The water cannon continued to operate satisfactory.  GBT monitoring efforts ceased August 30.  The adult lamprey passage studies continued.  
Project:  Ice Harbor

Biologist: Mark F. Plummer 
Dates:  August 27 – September 2, 2010

Turbine Operation
Turbine units 2, 3, and 4 were available for operation this reporting period.  Turbine unit 1 remains out for annual maintenance. Turbines 5 and 6 went out of service August 23 due to line constraints for system reliability.

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fishways August 27, August 31, September 1, and September 2. 
Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  
Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with a depth of 7.5 feet, on sill with a depth of 6.6 feet, on sill with a depth of 7.3 feet, and on sill with a depth of 7.5 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 7.4 feet, on sill with a depth of 6.6 feet, on sill with a depth of 7.2 feet, and on sill with a depth of 7.4 feet.  The north shore entrance (NSE) was on sill with a depth of 5.7 feet, on sill with a depth of 4.1 feet, on sill with a depth of 6.2 feet and on sill with a depth of 7.7 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill. The north shore channel/tailwater differential readings were above the criteria of 2.0 feet on August 27 and September 1.  The differential was reduced and returned to criteria by turning off a north shore fish pump.  All other channel/tailwater differentials were in criteria.  Visual staff gage readings are reported in this report.  
Auxiliary Water Supply System:  Two of the three north shore fish pumps were operated without problems.  All north shore fish pumps are in service.  Five of eight south shore fish pumps were operated.  South fish pumps 4, 5, and 6 were out of service for motor replacement.  The south adult fishway is staying in criteria with only 5 south fish pumps operating.    

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There is minimal forebay debris.  Fish ladder exits are clear of debris and the bubblers are operating.  

STSs/VBSs:  The STSs operation is in cycle run mode as of August 30.  No problems were found during the August STS/VBS inspections.  September STS/VBS inspections are scheduled for the 13th and 15th. 
Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   The juvenile fish bypass is in operation.  20 orifices are open.
Juvenile Bypass Facility:  The bypass was placed in operation March 8, 2010.

Juvenile Fish Sampling:  Sampling for the 2010 season concluded July 1 when the number of juvenile fish sampled during a 4 hour period dropped below 100 on 2 consecutive sample dates.
Removable Spillway Weir:  The RSW is not in operation.  Spill for fish passage ended September 1.  

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	27.5
	21.9
	15.3
	0.0
	71
	70
	6.4
	5.9


*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainer cleanings took place in turbine units 4, 5 and 6 on August 9 and in turbine units 1, 2 and 3 on August 11.  No lampreys were found.

Invasive Species: No zebra mussels were observed during inspections on August 27.
Project:  Lower Monumental Dam

Biologist(s):  William Spurgeon and Elizabeth Lindsey

Dates:  August 27 – September 2, 2010

Turbine Operation

Turbine units are being operated in hard constraint 1% operational criteria.  Turbine unit 2 was taken out of service for annual maintenance on August 2 at 0809 hours.  Turbine unit 5 remains out of service as of August 10 at 0957 hours pending contractor evaluation.  
Adult Fish Passage Facility

The adult fishway was inspected by Corps or State biologists on August 28, 29, and September 1. 

Fish Ladders: Fishway exit head differential and depth over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections. 

Fishway Entrances and Collection Channel: NPE 1 and NPE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.  

SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 5.2’, 5.5’, and 6.3 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’).    

SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 5.8’, 6.0’, and 7.5 feet.  SSE2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’).

Auxiliary Water Supply System: AWS pump 3 remains out of service in support of bearing housing and diffuser assembly repairs.  This work is scheduled to be completed in September.  Pumps 1 and 2 were in service throughout this period.  Pump 3 remains “bulkheaded-off” to minimize water loss during two-pump operation.   

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0.0 square yards of forebay debris observed during this period.  Gatewell debris surface coverage ranged from 0-23 percent.  No oil was observed in gatewells.
STSs/VBSs:  STS operation was changed to cycle mode on August 10 as average fork length of sub-yearling chinook and/or sockeye exceeded 120mm.  STS inspection was conducted on August 2 and 3.  All screens passed inspection. 
Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 19 orifices open.  
Collection Facility:  No problems were observed in facility systems or operations. 
Transport Summary:  Fish transport by midi-tanker transport is occurring every other day. 
River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	26.6
	22.1
	12.1
	0.0
	68.5
	66.0
	4.4
	3.8


   *Scrollcase temperatures.

Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected September 1.  Thirteen shad and eleven Siberian prawns were recovered.  No lampreys were found.

Invasive Species:  There were no zebra mussels observed at the South shore monitoring stations on August 8. 

Summer spill operation was initiated at 0003 hours on June 21 and ended on September 1 at 0005 hours.

Project:  Little Goose

Biologist:  George Melanson and Richard Weis
Dates:  August 27 – September 2, 2010

Turbine Operation

Turbine units 2 through 6 were available for power generation throughout this reporting period.  Turbine unit 1 was removed from service on August 16 for annual maintenance.  All turbine operated within the 1% of best efficiency curves this week. 

Adult Fish Passage Facility

COE and ODFW fisheries biologists performed measured inspections of the adult fishway on August 27, 30 and Sept. 1.

Fish Ladder:  The ladder exit head differential ranged between 0.0 and 0.1 feet (criteria < 0.5 ft.).  Water depths over the weirs held steady, measuring 1.1 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials held steady at 0.0 feet (criteria < 0.3 ft.). 

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials at fish entrances ranged between 1.12 and 1.60 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.16 and 8.28 feet (criteria ≥8.0 ft), NPE1 and 2 weirs rested on sill position and depths ranged between 5.08 and 5.88 (criteria ≥7.0 ft. or on sill).  NSE1 is manually positioned at 529.1’ elevation and depths measured between 7.80 and 8.74 feet (criteria ≥ 6.0 ft.).  NSE2 weir depths ranged between 6.14 and 6.18 feet (criteria ≥ 6.0 ft.).

Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged between 1.1 and 1.9 fps near the SSE and 2.4 and 2.6 fps near the NSE.   Subsurface water velocities near the SSE (flowmeter) ranged between 0.8 and 1.3 fps.  

Auxiliary Water Supply System:  All fish pumps operated within criteria during this report period. 

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Surface debris in the immediate forebay remained minimal during this report period.  Gatewells remain clear of debris. 

Spillway Weir:  The weir was removed from service on August 5.  

ESBS/VBS: All operating ESBS were within criteria during this report period.  Drawdown measurements across trash racks/ESBS/VBS associated with turbine units 2 and 3 were performed on September 1.  All criteria were met.

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection channel continued to operate with 23 open orifices – no problems to report. 

Transportation Facility:  Collection and transport continued throughout this report period.  Daily fish collection for ranged between 23 and 138, totaling 528 for the week.  All fish were transported except for mortalities.  Descaling and mortality rates for this report period are 0.0% and 2.3% respectively.
Transport Summary:  Every-other-day truck transport operations continued throughout this report period.  Salt in small concentrations of approximately 1 g/L is added to the midi-tank water to treat potential Columnaris disease and to reduce stress.  All transport operations were successfully performed.    
River Conditions

River conditions during the week are outlined in Table 1.  Summer spill for fish passage ended on August 31 at 2400 hours.   
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	26.3
	23.7
	9.3
	0
	66.7
	66.3
	5.1
	4.3


*Ladder temperature.

Other

Inline Cooling Water Strainers:  Cooling Water Strainers were inspected on September 1.  No fish or fish remains were found.  
Invasive Species:  The Zebra Mussel substrate monitor was inspected on August 5, no mussels were observed.  The next inspection for zebra mussels is scheduled for September 3.  

Avian Activity:  Up to 10 gulls and 5 cormorants were observed in the vicinity of the dam during this report period. 
Project:  Lower Granite

Biologists:  Mike Halter and Ches Brooks 
Dates:  August 27 – September 2, 2010

Turbine Operation

Lower Granite had turbine units 1, 2, 5 and 6 available for power generation at the beginning of the report week.   Turbine unit 3 remained out of service for a rewind and will not be available until approximately January 28, 2011.  Turbine unit 4 remained out of service for annual maintenance.  The estimated return to service date is now September 24.  Summer spill operations ended at 0001 hours on September 1, as specified in the 2010 Fish Passage Plan.

Adult Fish Passage Facility

On August 28, 30, 31 and September 2 the Lower Granite COE fisheries biologists performed measured inspections of the adult fishway system.  

Fish Ladder:  All criteria were met with the exception of the ladder weir depth at diffuser 14 which was 0.9 feet (0.1 feet below criteria) on the above August inspections (criterion 1.0 – 1.3 feet).  The ladder weir depth met criteria on the September 2 inspection with a reading of 1.0 feet.

Fishway Entrances and Collection Channel:   Head differential readings remained within criteria at all adult fishway entrances this week.  Weir depths at the south shore fishway entrances were on sill on the August inspections with readings ranging from 7.3 to 7.5 feet .  On the September 2 inspection the weir depths met criteria due to increased tailwater elevations.  North powerhouse fishway entrance weirs were on sill all week due to tailwater elevations below 636.0 feet.  Weir depths at the north powerhouse entrances ranged from 4.4 to 5.5 feet.  Weir depths at the north shore fishway entrances were out of criteria all week with readings of between 4.4 and 5.4 feet (criterion ≥ 7.0 feet).  Weir depth readings at the north shore are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway collection channel transition pool area ranged from 0.79 to 1.05 feet per second and averaged 0.88 feet per second.

Auxiliary Water Supply System:  Fish pumps 2 and 3 were operated during the week without any problems.  
Juvenile Fish Passage Facility

The juvenile fish sample rate remained at the 100% level all week.

Forebay Debris/Gatewell Debris/Oil:  Debris levels were low during the week.  It was not necessary to hand-dip debris from any gatewells this week.  There is a slight film on the surface of gatewell slot 4C and soaker pads are in place.
ESBSs/VBSs:   ESBS/VBS video inspections took place on August 28-29.  No new problems were found during this month’s inspections.  The next inspections are scheduled for late September or early October.
Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:   Debris levels remained very light during the week.  Collection gallery orifices were back-flushed every three hours around the clock to ensure they remained free of materials that might impact fish passage.   
Transportation Facility: The facility operated in a 100% sampling mode with all collected fish being diverted to the sample holding tank outside the JFF lab.  Fish are being worked up every other day on designated transport dates.  All facets of facility operation went smoothly this week. 
Transport Summary:  Fish are being trucked on the even days of August and the odd days of September.  Fish numbers remained low enough to utilize the pickup midi-tanker (300 gallon tank) on all trips this week.  Fish are being released into the smolt monitoring facility outfall pipe below Bonneville Dam.
Removable Spillway Weir:   Nothing new to report on the RSW.  
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	27.6
	24.1
	12.3
	0.0
	65.0
	63.8
	4.4
	4.2


*Cooling line intake temperature.

Other
Inline Cooling Water Strainers:  Inspection of the inline cooling water strainers took place on August 5.   No lamprey were removed from the strainers on this inspection.   The next inspections will take place in mid to late September.

Invasive Species:   The zebra mussel trap at the adult fishway exit was last examined for zebra mussels on August 22.  No evidence of zebra mussels was found.  A September inspection is planned.
Fish Salvage Operations:  A fish salvage operation was conducted in the scrollcase of turbine 4

between the hours of 1310 and 1445 on August 31.  The dewatering took place in order to allow inspection of the turbine blades.  The following fish were removed and released alive into the tailrace:  five adult clipped steelhead, one adult unclipped steelhead, two channel catfish, one bullhead catfish, and one ~4.5’ sturgeon.  (No juvenile salmonids were encountered during the dewatering.)

Research:  The adult fish trap continued operation at a 12% sample rate during the week.  One out of every 25 hatchery steelhead and all wild PIT-tagged steelhead are being scale-sampled.  Scale samples and genetic samples are being taken from hatchery PIT-tagged steelhead.  Transport of fall chinook to Lyon’s Ferry Hatchery and the Nez Perce Hatchery at Cherry Lane has started.  Seventy percent of the transported fish are to be transported to Lyon’s Ferry and the remaining 30% are to go to Cherry Lane.  The Nez Perce Tribe will haul fish on Sundays and Mondays and Lyon’s Ferry will haul fish Tuesday through Saturday. 
