U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#41-2010
Project:  McNary

Biologists: Carl Dugger and Bobby Johnson
Dates: December 3 - 9, 2010

Turbine Operation

McNary had eleven turbine units available for power generation this week.  Turbine units 2 and 7 remain out of service for a rewind contract until year’s end.  Turbine unit 8 remains out service for relay upgrades until mid-December.  On December 3, turbine units 3, 4 and 5 were out of service for 9.2, 9.2 and 4.9 hours respectively for dive installation of hydro-acoustic equipment in support of the adult salmonid fallback study.  Also, on December 6, turbine units 5 and 6 were out of service for hydro-acoustic equipment installation for 7.8 and 9.4 hours, respectively.  Finally, on December 7, turbine units 10, 11, 12, 13 and 14 were out of service for 4.8, 4.7, 8.4, 3.7 and 3.5 hours, respectively for installation of the remaining study equipment.  On December 3, 6 and 7, available turbine units operated outside the soft one percent criterion during the duration of the dives.  Due to high VBS differential readings measured on December 2, electrical loads on turbine units 11 through 14 had were reduced to the lower end of the one percent criteria.  After VBS cleaning, turbine units 11 and 12 returned to normal load levels on December 3 with turbine unit 13 returning on December 4 and turbine unit 14 returning on December 6.                           

Adult Fish Passage Facilities

On December 5 and 9, the McNary fisheries biologist performed measured inspections of the adult fishways.                       

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections.  Once this week, the Washington exit’s tilting weirs were adjusted.  At the Oregon exit, the regulating weir was adjusted once.  The north traveling screen remains out of service at the Oregon exit.  Several false screen differential alarms occurred this week.  In each case, normal operation resumed after the alarm was reset.      
Fishway Entrances and Collection Channel:  At the Washington ladder, all inspection points were in criteria.  For the week, at the Oregon ladder’s north powerhouse pool, the differential measured 0.6 feet.  On December 9, the north powerhouse entrance, NFEW2, measured depths of 8.9 feet.  Also, all week, the south powerhouse pool differential measured 0.9 feet.  All other inspection points were in criteria.  The Oregon ladder’s collection channel velocity averaged 1.6 feet per second.    

Auxiliary Water Supply System:  For the week, fish pumps 1 and 2 were operational with blade angles of 30 degrees with no interruptions in service.  Fish pump 3 remains out of service for repairs and maintenance.  The juvenile facility remains in emergency bypass and is no longer supplying the usual 450 cfs to the north powerhouse pool.  Finally, the Wasco County PUD unit had no interruptions in service this week.  
Juvenile Fish Passage Facility

The Fall bypass season continues with the facility in emergency bypass mode.  Bypass operations will continue until ESBS removals in late December.  The emergency bypass configuration does not allow for PIT tag detection.  However, emergency bypass does allow drainage of the juvenile transportation facility and protection from possible freeze breakage.   

Forebay Debris/Gate well Debris/Oil:  Forebay debris was light and consisted of mostly Eurasian milfoil and woody debris.  Trash rack differentials revealed no problems and no racks were cleaned.  Slots 14A, 14B and 14C remain covered in support of forebay deck crane maintenance.  No problems were observed in the gatewell slots.      

ESBSs/VBSs:  ESBSs are currently deployed in all turbine units.  Screens in slots 5A, 5C, 9C and 10C slots remain in transducer bypass mode.  ESBS camera inspections did not occur this week.  Although VBS cleaning operations took place on December 2, six screens still had measured differentials of 1.5 feet or above.  The total includes the screen in slot 4C slot.  This screen was previously thought to have satisfactory differentials but was later determined to be in unsatisfactory condition following the discovery of a math error on the next day.  The remaining 5 screens were located in turbine units 11 through 14.  Electrical loads in these turbine units were reduced to the lower end of the one percent criteria until the screens were cleaned on the dates mentioned above.  The six out of criteria screens and eight other screens were cleaned on December 3, 4 and 6.  The portable crane continued to be used as the intake deck crane remains out of service for repairs and testing.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  For the week, 42 orifices were in use for emergency bypass channel operation with no problems observed.  The orifice operators also underwent scheduled maintenance.  This winter, moisture was again noted in the orifice air supply line and the operating project is looking at resolving this issue.  Since emergency bypass is in progress, the dewatering structure and primary bypass pipe and other related systems are out of service.  Facility personnel observed that the cover at the turbine unit 6 orifice trap required removal or replacement and NMFS was notified.    

Transportation Facility:  The facility remains shut down for the fall bypass season and winterized.  All systems remain off for the year with light maintenance in progress.  On December 9, during facility cleaning activities, a dead adult steelhead was found.  The fish appeared to have been pinched and wedged against the flume wall when the switch gate was placed in the primary bypass position on October 1.  This is the first time such an occurrence has occurred at the McNary facility.  A potable water valve required replacement this week after being damaged by the freezing weather.            

Transport Summary:  There is nothing new to report as transport operations ended October 1.                            

River Conditions

River conditions during the week are outlined in Table 1 as provide by the control room as the smolt monitoring staff is no longer collecting data.  The control room data day runs from 0000 to 0000 hours each day.  The spillway hoists continued to receive scheduled maintenance this week.      

Table 1.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	130.4
	114.7
	0.0
	0.0
	      45
	45
	6.0
	     6.0


Other

Inline Cooling Water Strainers:  No cooling water strainer inspections took place this week.

Invasive Species: The zebra mussel station examination on December 5 revealed no problems.  New zebra mussel stations were installed on December 8.                      
Casual observations of the tailwater area revealed gulls, mergansers and cormorants along with the occasional small group of pelicans.  Most birds were seen roosting near the spill basin with few feeding in the powerhouse flow.  Bird numbers appear to be fluctuating with juvenile shad out migration.  At the emergency bypass out fall, an occasional gull was noted.  In the forebay area, only an occasional loon, cormorant or gull was observed with no grebes noted.  However, on rare occasions, a large group of gulls was also noted roosting along the Washington shore.  
Project:  Ice Harbor

Biologist:  Mark F. Plummer
Dates: December 3 - 9, 2010

Turbine Operation
Turbine units 1, 2, 3, 5, and 6 were available for operation this reporting period.  Turbine units 5 and 6 were out of service December 9 from 0749 hours to 2205 hours to allow divers to install trolley pipes on pier nose of dam.  Turbine unit 3 was out of service December 9 from 1406 hours to 1700 hours to adjust brakes.  Turbine unit 4 remains out of service for blade repairs.  

Adult Fish Passage Facilities

Fish Facility personnel inspected the adult fishways on December 3, 6, 7, 8, and 9.
Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria. Over the weir criteria is 1.0 – 1.3 feet.

Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with a depth of 6.8 feet, on sill with a depth of 7.6 feet, on sill with a depth of 6.4 feet, on sill with a depth of 6.5 feet, and on sill with a depth 6.9 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 6.6 feet, on sill with a depth of 7.4 feet, on sill with a depth of 6.2 feet, on sill with a depth of 6.3 feet, and on sill with a depth 6.7 feet.  The north shore entrance (NSE) was on sill with a depth of 6.6 feet, on sill with a depth of 7.4 feet, on sill with a depth of 6.2 feet, on sill with a depth of 6.2 feet, and on sill with a depth 6.7 feet.  

Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All channel/tailwater differentials were in criteria.  Visual staff gage or measuring tape readings are reported in this report.  Both the north and the south adult fishway controls were checked for calibration November 30.  The water velocity meter located in the south adult fishway is not functioning.  Repairs/replacement will take place during the adult fish winter maintenance period.

Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  Five of 8 south shore fish pumps were operated without problems.  South shore fish pump 1 remains out of service due to vibration.  

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There is minimal forebay debris.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.  

STSs/VBSs:  STSs are currently in cycle run mode.  No problems were found during the November STS/VBS inspections.  STS removals are tentatively scheduled for December 15.  

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   The juvenile fish bypass is in operation with 20 opened orifices.  The collection channel is tentatively scheduled to be unwatered on December 20.

The JFF collection channel screen cleaner continues to sound alarms indicating a problem.  Although the cleaner and alarm system were investigated several times, nothing appeared to be out of order.  This situation continues to be under investigation and a trouble report has been initiated.  The screen cleaner and bubbler remain functional.
Juvenile Bypass Facility:  The bypass was put in operation March 8, 2010.  The juvenile bypass is tentatively scheduled to be unwatered December 20.

Juvenile Fish Sampling:  Sampling for the 2010 season concluded July 1 when the number of juvenile fish sampled during a 4 hour period dropped below 100 for 2 consecutive samples.  

Removable Spillway Weir:  The RSW is not in operation.  Spill for fish passage ended September 1.   

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	25.4
	16.3
	0.0
	0.0
	45
	44
	8.2
	6.8


*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers:  Main turbine units cooling water strainer inspections will continue this winter.  We are currently finding many juvenile shad mortalities in the strainers. 

Invasive Species:  No zebra mussels were observed when the inspection was performed December 3 and 8.  

No adult salmonid mortalities observed this reporting period.  

Fish were salvaged from turbine unit 3 draft tube December 7.  This turbine unit is expected to be out of service for a couple of months for blade repair.  Fish removed included 4 juvenile sturgeon, 1 adult sturgeon, 1 catfish, and 1 sucker.  No fish mortalities were observed.  All recovered fish were returned to the tailrace.  
Project:  Lower Monumental Dam

Biologist(s):  William Spurgeon and Elizabeth Lindsey

Dates: December 3 - 9, 2010

Turbine Operation

All available turbine units are being operated within the soft constraint 1% efficiency criteria.  Turbine unit 3 was removed from service for annual maintenance on November 29 at 0715 hours and returned to service on December 8 at 0906 hours.  
Adult Fish Passage Facility

The adult fishway was inspected by Corps biologists on December 6, 7, and 8. 

Fish Ladders: Fishway exit head differential and depth over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  Picketed leads were raised for the winter on November 4.  Visual adult fish counts ended October 31.
Fishway Entrances and Collection Channel:  NPE 1 and NPE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.  

SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 7.2’, 7.1’, and 6.8 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’).    

SSE1 weir gate was in depth or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth reading was 7.8’feet.  SSE2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’).
Auxiliary Water Supply System:  AWS pump 3 remains out of service for bearing housing replacement and diffuser assembly repairs.  Pumps 1 and 2 were in service throughout this period.  Pump 3 is “bulkheaded off” to minimize water loss during two-pump operation.   

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 18.3 square yards of forebay debris observed during this period.  Gatewell surface debris ranged from 0 - 45% coverage.  No oil was observed in gatewells.
STSs/VBSs:  STS operations were changed to cycle mode on August 10 when the average fork length of sub-yearling Chinook and/or sockeye exceeded 120mm.  STSs will be raised for winter maintenance on December 20 and 21.
Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 18 orifices open.  The primary dewaterer mechanical screen cleaner was removed from service on August 31 due travel cable slippage.  The pneumatic screen cleaner (bubbler) is more than adequate for keeping the screens clean through the remainder of the season.  The primary dewaterer automated level control weirs were set to manual control on October 21 due to a PLC (Programmable Logic Circuit) control glitch that caused continuous overshooting and hunting for the set point.    
Collection Facility:  Facility operation changed to primary bypass on October 1.  The load and hold facility is in winter maintenance mode. 
Transport Summary:  Transport ended October 1. 
River Conditions

River conditions during the week are outlined in Table 1.  
Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	23.9
	17.0
	0.0
	0.0
	45.0
	45.0
	5+
	5.0


   *Scrollcase temperatures.

Other

Inline Cooling Water Strainers:  The cooling water strainer of unit 3 was cleaned on December 1.  The strainers of the remaining units were cleaned on December 8 (Table 2).  
Table 2.  Aquatic organisms recovered during turbine unit cooling water strainer inspections. 

	
	Lamprey
	Salmon
	Steelhead
	Siberian Prawn
	Shad

	Unit
	Live
	Dead
	Live
	Dead 
	Live
	Dead
	Live
	Dead
	Live
	Dead

	1
	0
	0
	0
	0
	0
	0
	0
	5
	0
	200

	2
	0
	0
	0
	0
	0
	0
	0
	3
	0
	200

	3
	0
	0
	0
	0
	0
	0
	0
	0
	0
	225

	4
	0
	0
	0
	0
	0
	0
	0
	0
	0
	50

	5
	0
	0
	0
	0
	0
	0
	0
	2
	0
	80

	6
	0
	0
	0
	0
	0
	0
	0
	10
	0
	0


Invasive Species:  No zebra mussels were observed at the monitoring stations on December 6. 
Project:  Little Goose

Biologists: George Melanson and Rick Weis
Dates: December 3 - 9, 2010

Turbine Operation

Turbine units 1 through 6 were available for power generation throughout this reporting period.    Turbine units are being operated in soft constraints of the 1% of best efficiency. 

Adult Fish Passage Facility

COE Fisheries personnel performed measured inspections of the adult fishway on December.6, 8 and 9.

Fish Ladder:  The ladder exit head differential ranged between 0.1 and 0.2 feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.0 and 1.2 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials remained at 0 feet (criteria < 0.3 ft.). 

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials at fish entrances ranged between 1.04 and 1.92 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.24 and 8.42 feet (criteria ≥8.0 ft),   NPE1 weir rested on sill during the report period with depths ranging between 6.22 and 6.84 feet (criteria ≥7.0 ft. or on sill). NPE2 is raised and closed.  NSE1 and 2 weir gates are positioned on sill (529.0 feet) due to broken gate hoists.  Depths measured between 9.34 and 10.10 feet (criteria ≥ 6.0 ft.).    

Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged between 2.2 and 2.6 fps near the SSE, and 3.1 - 3.8 fps near the NSE.   Subsurface water velocities near the SSE (flowmeter) measured 0.9 - 1.1 fps.  

Auxiliary Water Supply System: All three fish pumps operated within criteria during this report period.    

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Surface woody debris in the immediate forebay held steady at approximately 30 square feet.  Gatewells remained clear of debris. 

Spillway Weir:  The weir was removed from service on August 5.  

ESBS/VBS:  All operating ESBSs were within criteria this report period.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel operated with 20 open orifices during this report period.  No problems to report. 

Transportation Facility:  The facility switched to primary bypass operations on October 31.  All fish are being routed to the tailrace mid-channel area.  Seasonal maintenance work at the facility is in progress.  

Transport Summary:  Fish transport ended on October 31.    
River Conditions

River conditions during the week are outlined in Table 1.  
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	22.2
	15.5
	0
	0
	45.3
	43.4
	6.0
	6.0


*Ladder temperature.

Other

Inline Cooling Water Strainers:  All cooling water strainers were inspected on December 9.  No lamprey or fish were observed.
Invasive Species:  The Zebra Mussel substrate monitor was inspected on December 7, no mussels were observed.  The next inspection for zebra mussels is scheduled for January 8.  

Avian Activity:   Observations included up to 15 gulls and 4 cormorants. 
Project:  Lower Granite

Biologist(s):  Mike Halter and Ches Brooks 

Dates: December 3 - 9, 2010

Turbine Operation

Lower Granite had turbine units 1, 2, 5 and 6 available for power generation at the beginning of the report week.   Turbine unit 3 remained out of service for a rewind and will not be available until approximately March 18, 2011.  Turbine unit 6 was taken out of service for annual maintenance on December 6 at 0630 hours and is expected to return to service in early January.  Turbine unit 4 remained out of service for annual maintenance.  Due to bearing alignment problems, the outage on turbine unit 4 has been extended to January 7, 2011.   Effective 2200 hours on December 2, Lower Granite (and the other Snake Plants) have been authorized to operate at zero generation for up to a six hour time period (from 2200 – 0600 hours).

Adult Fish Passage Facility

On December 6-8 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.  

Fish Ladder:  All criteria were met during the report period.

Fishway Entrances and Collection Channel:   Head differential readings remained within criteria at all adult fishway entrances during the weekly inspections.  Weir depths at the south shore and north powerhouse fishway entrances were also within criteria on all inspections this week due to the tailwater elevation exceeding 636.0 feet.  Weir depths at the north shore fishway entrances were out of criteria all week with readings of between 4.9 and 5.1 feet (criterion ≥ 7.0 feet).  Weir depth readings at the north shore entrances are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway collection channel transition pool area ranged from 0.87 to 1.05 feet per second and averaged 0.96 feet per second.

Auxiliary Water Supply System:  Fish pumps 2 and 3 were operated during the week without any problems.
Juvenile Fish Passage Facility

The juvenile fish collection system was operated in the secondary bypass mode throughout the report period (all juvenile fish routed out the pipe to mid-river release, starting on October 31).  The system is scheduled to operate in this mode through December 15 if weather conditions permit.

Forebay Debris/Gatewell Debris/Oil:  Forebay debris levels decreased during the week and averaged 208 square yards.  It was not necessary to hand-dip debris from any gatewells this week.   On November 30, a slight film was noted on the surface of the turbine unit 6 bulkhead slots.  Oil soaker pads were put in place to help remove the film.  This film cleared and the pads were removed.  
ESBSs/VBSs:   The last ESBS/VBS video inspections of the year took place on October 21-22.  No new problems were found during this inspection.   

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:   Debris levels decreased during the week.  Collection gallery orifices were backflushed every three hours around the clock to ensure they remained free of materials that might impact fish passage.   
Transportation Facility:   Fish collection and transportation activities concluded on October 31.  The separator system continues to operate in secondary bypass mode with all fish routed out through the long pipe to mid-river release.  This activity will continue until December 15 (weather permitting).  The separator complex is still being manned 24/7 due to fish being routed over the separator bars (No PIT-tag detection system is available at Lower Granite unless fish are diverted through the separator).    
Transport Summary:  All transport operations concluded on October 31.

Removable Spillway Weir:   Nothing new to report on the RSW.  
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	21.5
	16.2
	0.0
	0.0
	43.7
	42.8
	5.0
	4.4


*Cooling line intake temperature.

Other
Inline Cooling Water Strainers:  Inspection of the cooling line strainers took place on November 22, no lamprey morts were noted.  The next inspection is scheduled for December 21-22.    
Invasive Species:  The zebra mussel trap at the adult fishway exit was examined for zebra mussels during the December 8 inspection.  No evidence of zebra mussels was found.

Research:  Adult fish trap activities were completed on November 17.  The trap was taken out of service on November 18 and winterizing took place on November 19.

