U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#06-2012
Project:  McNary

Biologists: Carl Dugger and Bobby Johnson
Dates: April 6 - 12, 2012
Turbine Operation

McNary had 12 turbine units available for power generation this week.  Unit outages are recorded in Table 1.    

Table 1.  Unit Outages at McNary Dam.

	Units
	Outage Dates
	Outage Length
	Reason

	6
	To Apr 19.
	Approx. 38 days.
	Relay upgrade.

	5
	To Apr 26.
	Approx. 45 days.
	Relay upgrade.

	7 thru 14
	Apr 9 to 12.
	Average 5.3 hours per unit.
	ESBS installation and semi-annual maintenance.


On April 1, the hard constraint one percent criteria began.  No available units operated outside the criteria.            

Adult Fish Passage Facilities

On April 7, 9 and 11, McNary fishery biologists performed measured inspections of the adult fishways.  This week NMFS personnel conducted their monthly inspection.  Visual fish counts continued.  On April 11, the Washington ladder had a brief power outage in support of a spillway back up diesel generator test.  This test did not affect fish passage.          

Fish Ladders:  Both ladders met all Fish passage Plan criteria during measured inspections.  Even with high flows, debris in the area of the ladder exits has not become an issue.

On April 9, the south traveling screens at the Oregon exit experienced multiple alarms which the operators reset.  Screen differential monitoring revealed no problems.

Fishway Entrances and Collection Channel:  All Washington ladder inspection points were in criteria except entrance weirs, W2 and W3.  On April 11, these weirs measured depths of 7.8 and 7.3 feet, respectively.  Both entrance weirs appeared to be excessively “searching” or “hunting” for the proper set point, possibly due to high spill turbulence.   Maintenance personnel are investigating, but have not yet resolved this issue.          

On April 7, the Oregon ladder, the north entrance weir, NFEW2, measured depths of 8.8 feet.  These readings were possibly due to the juvenile facility being in emergency bypass and from spill turbulence.  On April 7, the south powerhouse pool differential measured 0.9 feet.  All week, the south powerhouse entrance, SFEW2, measured weir depths between 8.7 and 8.8 feet.  These readings may be due to hydraulic gradients and calibration drifts.  All other Oregon inspection points were in criteria.  Collection channel velocities averaged 1.8 feet per second.  Project personnel will install a new velocity meter in the near future.    

Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 operated with blade angles of 30 degrees, with no interruptions in service.  Pump 2 remains out of service for major overhaul, which will require a contract.  On April 9, the fisheries staff switched the juvenile facility to primary bypass, restoring the usual 450 cfs supplementation flow to the north powerhouse pool. 
The Wasco County PUD had no interruptions in service.  On April 11, the PUD reattached the two loose bypass diffusers.                

Juvenile Fish Passage Facility

On April 9, after the main flume paint had dried, the fisheries staff switched the system from emergency mode to primary bypass mode.  On April 10, the spring fish passage season began with the first day of secondary bypass.  The spring season consist of alternating days of primary and secondary bypass with the switch occurring every morning at 0700 hours.  This week, an estimated 820 smolts were routed through the secondary bypass.    

On April 12, from 1325 to 1347 hours, the system was in primary bypass, with sample gates left on so the FPOM group could examine the main flume hydraulic jump.        

Forebay Debris/Gatewell Debris/Oil:  For the week, forebay debris was moderate with location affected by project operations, flow and wind patterns.  The fisheries staff monitored trash rack differentials, with no problems seen.  The next round of trash rack cleaning is to start April 16.  No problems were observed in the gatewell slots.  

ESBSs/VBSs:  From April 9 to 12, ESBS installations took place in turbine units 7 through 14. ESBS installations in the remaining turbine (turbine units 1 – 4) should be completed by April 14.   On April 11, ESBSs associated with turbine units 5 and 6 were set in automatic mode even though these units are out of service.  Activation will keep the screens clean and the gear box lubricated.  Two spare ESBSs were also brought up to the intake deck.  
The fisheries staff also began VBS differential monitoring with the start of ESBS installations.  No problems were seen.  VBS rehabilitations will resume in June. 

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: On April 9, from 0745 to 1200 hours, the fisheries staff switched the system from emergency bypass to primary bypass mode of operation.  Forty-two orifices are in use and no blockages were observed.  The facility maintenance staff is refurbishing the orifice controllers.  Following the switch to primary bypass, all systems operated well in automatic mode.  The fisheries staff continues to monitor the channel during all shifts regardless of which bypass mode is in effect.  
Transportation Facility:  On April 9, the fisheries staff re-watered the facility.  The contractor has completed the most significant items.

With the start of the spring fish passage operations, all fish in the collection channel are being routed through either the primary of secondary bypass to the river.  PIT tag detection will occur in the full flow pipe during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring will occur only on secondary bypass days.  No PIT tag detection takes place during emergency bypass operations.    

Following tests on April 10, the primary (A and B) PIT tag slide gates were turned off and closed as the return to river lines provide a better bypass route for PIT tagged fish.  NMFS will use this system in May as part of a steelhead stray rate study.  The secondary (C and D) PIT/bypass gates were turned off and left open.  On April 10, the fisheries staff activated the sample gates.  The staff will turn the gates off or on at 0700 hours each day so the gates will be functional only during secondary bypass operations.  Water from raceway 4 is being used to flush and return sample fish to the river. 

Ice block checks of the return to river lines revealed no blockages.  However, due to the new location and distance of the bypass outfall, the fisheries staff is having difficulty seeing the ice blocks exit the pipe.  A spotting scope is on order.  

Transport Summary:  Fish transport operations are not expected to take place until summer. 

River Conditions

River conditions during the week are outlined in Table 2.  The smolt monitoring staff compiles and reports this data.  The data day runs from 0700 hours to 0700 hours the following day.  During emergency bypass operations, the staff obtained the water temperatures from the control room or from the dissolved gas monitoring station.

Table 2.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	302.2
	274.1
	152.0
	125.8
	44.9
	43.8
	3.6
	     1.5


*Control room data.
TSW installations in spill bays 19 and 20 were completed April 9.  On April 10 at 0001 hours, the operators began the spring spill program with 50 percent of river flow being spilled.  The operators noted that the hoist attached to the TSW in bay 20 was not functioning.  By 0206 hours, the electrical supervisor had the hoist operational.  The TSW in bay 19 is attached to a crane.  On April 11, power to the spillway was briefly interrupted to allow tests of the back-up diesel generator system.  Prior to April 10, involuntary spill became necessary as river flows exceeded power grid electrical demand.     

Other

Inline Cooling Water Strainers:  The next cooling water strainer inspection is scheduled to take place on April 17.

Invasive Species:  The next zebra mussel station examinations will occur in late April.      
Predatory Bird Observations:  Day shift technicians continue to conduct bird counts.  In tailwater locations, only an occasional tern, gull, cormorant or osprey was observed.  Most birds were seen in the spill area.  No birds were seen at the bypass outfalls.  Hazing efforts continued.  On April 9, the contractor adjusted the water cannon pump.    

In forebay locations, high counts included 43 grebes, 10 ten gulls and an occasional tern, pelican or osprey.  The fisheries staff observed six grebes in a gatewell slot where they remain.  Four of these grebes passed through the channel and out of the system.        

Research:  On April 16, the adult fallback study will conclude.  The juvenile salmonid and kelt passage studies will begin soon.  The contractor has delayed the Oregon exit traveling screen study.  Other researchers are preparing for the adult lamprey study.    

Fish Salvage:  On April 9, during the switch to primary bypass operations, the fisheries staff observed about one dozen smolts in the juvenile collection channel.  No recovery efforts were needed as all were routed through the primary bypass. 

Project:  Ice Harbor

Biologist:  Mark Plummer 

Biological Technician:  Stephen Jeffers
Dates: April 6 - 12, 2012
Turbine Operation
Turbine units 1 - 4 and 6 were available for operation this reporting period.  Turbine unit 6 went out of service April 11 for governor repair and transmission line 3 work.  Turbine unit 5 remained out of service.

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fishways April 9, 10, 11, and 12. 
Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.   
Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 8.0 feet, off sill with a depth of 9.4 feet, off sill with a depth of 9.3 feet, and off sill with a depth of 10.2 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 8.8 feet, off sill with a depth of 9.0 feet, off sill with a depth of 8.7 feet, and off sill with a depth of 9.0 feet.  The north shore entrance (NSE) was off sill with a depth of 9.6 feet, off sill with a depth of 8.8 feet, off sill with a depth of 6.3 feet, and off sill with a depth of 8.1 feet.  All out of criteria events at the NSE were reported to the control room operator to adjust the entrance depth.  The NSE is currently being operated in manual mode due to spill.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All channel/tailwater differentials were in criteria except April 9 and 12.  On these inspections, the north channel/tailwater was 0.5 and 0.7 respectively.  The control room operator was notified to adjust the fishway.  Channel/tailwater differential criteria are 1 – 2 feet.  Channel velocities ranged from 1.4 – 2.0 fps.  Channel velocity criterion is 1.5 fps – 4.0 fps.
Auxiliary Water Supply System:  Two of the 3 north shore fish pumps operated without any problems.  North shore fish pump 1 is out of service due to an electrical problem.  Parts are on order.  Five of the 8 south fish pumps are in service.  A sixth south fish pump was turned on April 9 to increase south channel velocity.  All south fish pumps are available for operation.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.
STSs/VBSs:  All STSs were installed March 19 - 22.  All STSs are in cycle run timing mode.  STS screen inspections are scheduled to take place April 24 and 25. 
Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was placed in operation March 19.  Twenty orifices are open.    
Juvenile Bypass Facility:  The bypass was placed into operation March 19.

Fish Sampling :  
Table 1.  April 9 sampling Results.  

	Species
	Sampled
	#Descaled
	Morts
	Avian Marks

	
	
	
	
	 

	C-CH
	27
	0
	0
	0

	UC-CH
	71
	1
	0
	0

	C-CH-O
	---
	---
	---
	---

	UC-CH-O
	---
	---
	---
	---

	C-SH
	21
	0
	0
	0

	UC-SH
	39
	2
	0
	1

	C-COHO
	---
	---
	---
	---

	UC-COHO
	---
	---
	---
	---

	C-SOCK
	---
	---
	---
	---

	UC-SOCK
	1
	0
	0
	0

	
	 
	 
	 
	 

	TOTAL
	159
	3
	0
	1


Table 2.  April 12 Sampling Results  

	Species
	Sampled
	#Descaled
	Morts
	Avian Marks

	
	
	
	
	 

	C-CH
	33
	1
	0
	0

	UC-CH
	83
	9
	0
	1

	C-CH-O
	---
	---
	---
	---

	UC-CH-O
	---
	---
	---
	---

	C-SH
	8
	1
	0
	1

	UC-SH
	12
	1
	0
	1

	C-COHO
	---
	---
	---
	---

	UC-COHO
	---
	---
	---
	---

	C-SOCK
	---
	---
	---
	---

	UC-SOCK
	---
	---
	---
	---

	
	 
	 
	 
	 

	TOTAL
	136
	12
	0
	3


Removable Spillway Weir:  The RSW is in operation.  Spill for fish began April 3, 2012.

River Conditions

River conditions during the week are outlined in Table 3.  

Table 3.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	111.2
	94.8
	67.3
	64.8
	46
	44
	1.1
	1.1


*Unit 1 scrollcase temperature.
Other

Invasive Species: No zebra mussels were observed during fishway inspections.

Inline Cooling Water Strainers:  Strainer inspections are scheduled for April 24 and 25.

Project:  Lower Monumental Dam

Biologist(s):  William Spurgeon and Elizabeth Lindsey

Dates: April 6 - 12, 2012
Turbine Operation

The units are being operated within the hard constraint 1% operation criteria.  Unit 5 was taken out of service for exciter replacement on March 7 at 1605 hours.  Unit 2 was removed from service at 1010 hours on April 9 for slip ring repair.  The expected date to return to service date is 13 April.
Adult Fish Passage Facility

The adult fishway was inspected by Corps and State biologists on April 6, 7, 8, 9, and 11.   

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  Debris was removed from the fish ladder exits on April 12.  Debris often accumulates between the fish ladder exit trash racks and the debris booms.  The powerhouse maintenance crew removed the fish ladder exit debris booms on April 12 to determine if their removal will help debris migrate away from the exits.   All ladder exits are equipped with bubblers.  

Fishway Entrances and Collection Channel: NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections with the exception of 0.2 feet reading on April 6.  This was attributed to a tripped breaker on fish pump 3 forcing 1 pump operation.  
SPE 1 and SPE 2 weir gates were in depth or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 7.3’ and 7.6 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections with the exception of 0.0 feet reading on April 6.  This discrepancy was due to the tripped breaker for fish pump 3.  
SSE1 weir gate was in depth or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth reading was 7.7 feet.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week with the exception of a 0.5 feet reading on April 6.  This discrepancy was due to the tripped breaker for fish pump 3.  

The collection channel velocity was out of criteria (1.5-4.0 ft/sec) with a reading of 1.0 fps on April 6.  This discrepancy was also attributed to fish pump 3 not operating during the time of inspection. 

Auxiliary Water Supply System: Two pumps were operated this week.  AWS pump 1 was in service throughout this report period.  Pump 3 was discovered inoperative during the April 6 inspection.  The operator found a tripped breaker and returned the pump to operation.  
Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 150.6 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-45% surface coverage.  Gatewell debris was removed on April 10.   An oil sheen of was observed in unit 5 gatewells during the April 9 inspection.  Oil soaker pads were deployed in each gatewell. 
STSs/VBSs:  The Unit 6 STS control was found in the off position during the April 6 fishway inspection. It appears the STS controller was turned off on the 5th for an undetermined reason.  The shift operator restored operation immediately on April 6 upon being told of the condition.   Unit 6 operated for approximately 21.5 hours with STS controls in the off position.  Restart drew no extra amps through the motor indicating that no large volume of debris was impinged on the screen. All STSs are operating in cycle run mode.  

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 20 to 21 orifices open.

Collection Facility:  Collection of fish for condition monitoring began on April 3.  Subsequent collection for condition monitoring is taking place every third day.         

Transport Summary:  No fish transport in progress at this time.  

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	109.9
	92.1
	28.4
	26.4
	46.0
	45.0
	2.7
	1.7


*Scrollcase temperatures.

Other

Inline Cooling Water Strainers:  Cooling water strainers were last inspected April 2.  No live lampreys were recovered.  Mortalities included 770 lampreys and 1 Siberian prawn. 
Invasive Species: There were no zebra mussels observed at the monitoring stations on April 8.

Spring spill operation was initiated at 0001 hours on April 3. 
Project:  Little Goose

Biologists: George Melanson and Richard Weis
Dates: April 6 - 12, 2012
Turbine Operation

Turbine units 1 through 6 were available for service throughout this report period.  All turbine units were operated within the hard constraint 1% efficiency criteria starting April 1.
Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway April 6, 8 and 10.
Fish Ladder:  The ladder exit head differentials ranged from 0.0 to 0.1 feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.2 and 1.3 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials ranged between 0 and 0.1 feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactorily.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.3 and 2.1feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.0 and 8.5 feet (criteria ≥8.0 ft). NPE weirs rested on sill and depths ranged between 5.7 and 6.3 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 6.2 and 6.4 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 fps) ranged from 1.8 to 2.3 fps near the SSE and 2.2 to 2.3 fps near the NSE.  On April 8, subsurface water velocities measured 2.6 fps in the collection channel near the NPE.

Auxiliary Water Supply System:  All fish pumps operated within criteria this report period.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Up to 4,800 square feet of scattered woody debris was observed inside the trash shear boom and up to 500 square feet was observed outside of the trash shear boom.

Spillbay Weir:  The spillbay operated in the low crest position.

ESBS/VBS:  All ESBS operated within criteria this report period.   Drawdown measurements across ESBS and VBS were performed on April 11.  All measurements indicated no debris buildup and screens in good operating criteria.  
Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection/bypass system was operated throughout this period with 21-22 open orifices.

Transportation Facility:  The facility switched from primary bypass to secondary bypass on April 9 at 0700 hours to collect a 24 hour fish condition sample.  The estimated collection for this day totaled 3,357 smolts.  All fish were bypassed during this activity.  Descaling was not observed.  Five mortalities were recorded, incurring a mortality rate of 0.15%.  Primary bypass operations resumed April 10 at 0700 hours.
Transport Summary:  Transport operations are expected to begin in late April or early May. 
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	102.8
	88.6
	32.7
	26.6
	46.0
	45.7
	2.3
	1.2


*Ladder temperature.

Other

Inline Cooling Water Strainers:  On April 9, all cooling water strainers were inspected.  A total of 36 juvenile lamprey mortalities and one unidentified smolt were removed.

Invasive Species:  The substrate monitor was inspected on April 2.  No zebra mussels were observed.  The next inspection is scheduled for May 2.

Avian Activity: Bird hazing by USDA continued this week.  Overall, several gulls a couple of cormorants have been observed in the vicinity of the dam. 
Project:  Lower Granite

Biologist(s):  Mike Halter and Ches Brooks 

Dates: April 6 - 12, 2012
Turbine Operation

Lower Granite had all turbine units available for power generation at the beginning of the report period.  As scheduled, turbine unit 4 was taken out of service at 0603 hours on April 11 in in support of cavitation repair.  Beginning April 1 all turbine units (except unit 1) are to be operated within the hard constraint 1% operation criteria.  Unit 1 turbine blades have been welded at a fixed angle and cannot achieve the 1% criteria.  This issue will be addressed after the spring freshet.            

Adult Fish Passage Facility

On April 6, 7, and 8 the Lower Granite fisheries biologists performed measured inspections of the adult fishways.  An additional inspection was conducted with USACE personnel from Portland District and Walla Walla District on April 11 to determine how best to tie fishway inspections in with the new bird counting methodology.

Fish Ladder:  All criteria were met.
Fishway Entrances and Collection Channel:  Head differential readings remained within criteria at the south shore and north powerhouse adult fishway entrances during the weekly inspections.  The north shore entrances were out of criteria on the April 6, 8, and 11 inspections with head differentials ranging from 0.7 to 0.8 feet (criterion 1.0 – 2.0 feet), but met criteria on the April 7 inspection.  Only north shore entrance 1 can adjust depth relative to the tailwater elevation (see below) making the requisite head differential difficult to achieve.  Weir depths at the south shore fishway entrances met criteria during the weekly inspections.  Both north powerhouse fishway entrances were on sill during the week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 6.5 to 7.4 feet. Weir depths at the north shore entrances ranged from 1.6 to 7.0 feet (criterion ≥ 7.0 feet).  North shore entrance 2 has been manually dogged off at 628.5 feet which is creating more weir depth than necessary causing the loss of head differential.  North shore entrance 1 has not been adjusting its elevation adequately in auto mode to compensate relative to the fixed gate.  A Corps biologist attempted to lower the gate manually to match NSE 2 – this was unsuccessful.  A work request has been generated to address this problem.  Normally weir depth readings at the north shore entrances are sacrificed in order to maintain the requisite 1.0 foot of head differential.  Velocity readings in the adult fishway collection channel transition pool area ranged from 0.89 to 1.06 feet per second and averaged 0.98 feet per second.
Auxiliary Water Supply System:  Fish pumps 2 and 3 were operated during the week.  Fish pump 1 is out of service because of a potential bearing problem.  At this time there is no estimated return to service date for this pump.

Juvenile Fish Passage Facility

As needed, fish were diverted to raceway 6 on April 9-11 in support of NOAA-Fisheries Transport and Survival Studies.  All fish other than those needed for marking purposes and lab sample workup were diverted back to the river through the mid-river bypass pipe (secondary bypass). The lab sample rate was reduced from 2% down to 1% at 0700 hours on April 11 and remained at that level for the duration of the report week.   

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week depending on wind strength and direction; none was removed.   

ESBSs/VBSs:  There were no problems with fish screens during the report week.  ESBS video inspections are scheduled for late April.     

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  There were a few blockage problems with the orifices (mainly unit 1) during the week.  Orifices are being backflushed every three hours around the clock in attempt to keep them free of materials that might impact fish passage.  

Transportation Facility:  General barge transport operations are uncertain at this time but will probably begin in early May.  Maintenance and general preparation work on the fish barges is complete and they are ready for deployment.  Juvenile fish sampling activities began on March 25 and are scheduled to continue through October 31.

Transport Summary:   The first research barge of the season (index barging) departed Lower Granite on April 12.  NOAA-Fisheries marked fish in support of this study on April 10 and 11.

Removable Spillway Weir:  Mandatory spill operations began at 0000 hours on April 3. The RSW was operated in support of general spill operations. 
River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	106.3
	92.3
	23.4
	20.0
	49.6
	47.7
	3.5
	2.7


*Scrollcase temperature.

Other

Video counts in the adult fish ladder counting room began on March 1 and concluded on March 31.  Visual counting between the hours of 0400 and 2000 began on April 1.

A fish rescue operation was conducted in the scrollcase of turbine unit 4 on the afternoon of April 12.  One adult steelhead and six (mixed species) juvenile salmonids were recovered.  The adult was released at Offield Landing upstream of the dam and the juveniles were released into the tailrace.  Approximately six decomposed juvenile salmonid mortalities were also recovered.

Invasive Species:  The trap near the adult fishway exit was last examined for zebra mussels on March 20.  No evidence of zebra mussels was found.

Lamprey:  Cooling water strainers were last inspected for lamprey entrainment on March 28.  A total of 288 lamprey were found in the strainers over a combined run time of 2268 unit hours.  Unit 3 was out of service and was not inspected.  The next cooling water strainer inspections are scheduled for late April.
Research

 Adult fish trap operations:  Adult fish trap operations continued with a sample rate of 10%.  Scale samples will be taken from one out of every 25 hatchery steelhead.  All wild steelhead captured will be PIT-tagged and have scale and genetic samples taken.  Any previously PIT-tagged steelhead (either hatchery or wild) will have both scale and genetic samples taken for verification purposes. 
 Idaho Fish and Game (IDFG) Genetic Stock Identification:  The goal of this study is to develop fine-scale genetic profiles for natural origin salmon and steelhead; develop genetic stock identification (GSI) techniques to estimate stock-specific escapement over Lower Granite Dam (LGR), monitor abundance, productivity and distribution of naturally produced adult and juvenile steelhead and salmon; research and monitor stock-specific life history characteristics. At LGR, the goal of the study will be to enumerate and characterize the natural production of spring/summer Chinook salmon and steelhead above LGR with regards to age composition and genetic stock profiles. IDFG will sample every day until the first part of July with the goal to collect between 2,000-5,000 genetic samples each from yearling spring/summer chinook and steelhead and 500-3,000 genetic samples from subyearling fall chinook.

Nez Perce Tribal Fisheries Steelhead Kelt Research: The Nez Perce Tribal Fisheries in coordination with the Corps and The University of Idaho started steelhead kelt research work for the season this week at the holding tanks upstream of the main fish facility.   Clipped and unclipped kelts are being examined to determine the changes that occur during sexual maturity and to determine post spawning changes associated with successful downstream migration and recovery to spawn again.  In the near future, dependent on the group, steelhead kelts will be blood sampled, PIT-tagged, acoustic-tagged, trucked, barged, or returned back to the river.  

NOAA-Fisheries Transport Study: NOAA staff PIT-tagged migrating smolts at the fish facility upstream raceways for their Transport Evaluation Study to compare smolt to adult returns of in-river migrating smolts to the smolt to adult returns of transported smolts.  This week 9,170 unclipped Chinook, 6,126 clipped Chinook,  6,833 unclipped steelhead, 2,311 clipped steelhead, 34 unclipped sockeye/kokanee, and 16 coho were marked and transported.   

NOAA-Fisheries Reach Survival Study: NOAA staff PIT-tagged smolts for their Survival Study to evaluate the in-river survival of juvenile salmonids bypassed into the tailrace at Lower Granite.  This week 1,241 unclipped yearling Chinook, 1,401 clipped steelhead and 850 unclipped steelhead were PIT-tagged and bypassed to the tailrace.
