U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#11-2012
Project:  McNary

Biologists: Carl Dugger and Bobby Johnson
Dates: May 11 – 17, 2012
Turbine Operation

McNary had 14 units available for power generation this week.  On April 1, the hard constraint one percent criteria began.  No turbine units operated outside the 1% hard constraint criteria.  Turbine unit outages are recorded in Table 1.    

Table 1.  Unit Outages at McNary Dam.

	Units
	Outage Dates
	Outage Length
	Reason

	  10 to 12
	May 15.
	Total 67 minutes.
	ESBS inspections.


Adult Fish Passage Facilities

On May 12, 14, and 16, the McNary fisheries biologist performed measured inspections of the adult fishways.  On May 17, NOAA fishery biologist conducted their monthly inspection.  Visual fish counts continued.  

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections except on May 12 when the Washington ladder head over weir differential measured 1.5 feet.  Multiple weir alarms also occurred the same day.  In each case, normal operation resumed after the alarms were reset.  In addition, maintenance crew removed debris from the picketed leads.  Operators adjusted exit weir set points twice this week.  McNary personnel continue to clean the leads almost daily including weekends.  

At the Oregon exit, the south traveling screen triggered multiple alarms which the operators reset.  The regulating weir also had one alarm which they reset.  Screen differential monitoring efforts revealed no problems.     

Fishway Entrances and Collection Channel:  Spill turbulence and hydraulic gradients make it difficult for the project to maintain entrance weir depth and calibration.  All Washington and Oregon ladder inspection points were in criteria except for south powerhouse entrances SFEW1 and SFEW2.  All week weir depths at these two entrances measured 7.7 to 8.3 and 7.7 to 8.0 feet, respectively.  These discrepancies are most likely due to hydraulic gradients.  It is also possible the stilts on SFEW2 are affecting the outflow through the south entrances.  South pool differentials ranged between 1.1 to 1.2 feet.   Collection channel velocities averaged 1.6 feet per second.  On May 23, the project will again attempt to install a new velocity meter probe.

Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 operated with blade angles of 30 degrees with no interruptions in service.  Pump 2 remains out of service for major overhaul which will require a contract.  The juvenile facility continues to provide the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD turbine had no interruptions in service this week.                   

Juvenile Fish Passage Facility

The spring bypass season continues with alternating days of primary and secondary bypass with the switch between modes occurring every morning at 0700 hours.  No deviation from this schedule occurred this week.  A total of 609,447 smolts and 7,200 juvenile lampreys were routed through the secondary bypass during this report period.    

Forebay Debris/Gatewell Debris/Oil:  Forebay debris loads were light at the start of the week, and moderate accumulations were evident by the end of the report period.  Debris location is affected by powerhouse and spillway configurations, total river flow and wind patterns.  Much of the forebay residue accumulated in the spillway area and some of the incoming debris passed over the spill bay weirs.  The fisheries staff monitored trash rack differentials and no problems were seen.  Trash rack raking is scheduled to take place on May 21 and 22.  No problems were observed in the gatewell slots.  

ESBSs/VBSs:  ESBSs are currently deployed in all gatewelll slots.  On May 15, ESBS video camera inspections were conducted in units 10 through 12.  All screens were found to be in satisfactory condition.          

VBS differential monitoring efforts continued, and no problems were found.  On May 15 and 16, VBS associated with turbine units 2, 3, 4, 9 and 14  were inspected and no problems were found.  \VBS rehabilitations will resume in June.     

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: This week, 42 orifices were in use with no blockages observed.  Orifice controller refurbishments continued.  All systems operated well in automatic mode.  The transition screen cleaner will remain out of service until a channel shutdown takes place.  Fisheries personnel continue to monitor the collection channel during all shifts when in primary bypass mode and during VBS inspections.

 Transportation Facility:  During the spring bypass season, both bypass modes return all fish are to the river.  PIT tag detection occurs in the full flow pipe during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring occurs only during secondary bypass operations. 

The primary (A and B) PIT tag slide gates remained off and closed as the return to river lines provide a better bypass route for PIT tagged fish.  The system received scheduled maintenance this week.  The secondary (C and D) PIT/bypass gates were off and open.  The fisheries staff turns the sample gates off or on at 0700 hours each day so the gates will be functional during secondary bypass operations.

Ice block checks of the return to river lines revealed no blockages.  However, due to the new location of the bypass outfall and high tailwater elevations, the fisheries staff is having difficulty seeing the ice blocks exit the pipe.   Final adjustments to the new barge/bypass gate remain under review.

Transport Summary:  No fish transport is taking place at this time. 

River Conditions

River conditions during the week are outlined in Table 2 which the smolt monitoring staff provides.  The data day is from 0700 to 0700 hours.  The spring spill program calls for 40 percent of flow being spilled.  Due to high flows, 42 to 50 percent was spilled.  On May 13, a recreational boat entered the spillway restricted zone after losing power.  From 1600 to 1650 hours, the operators closed the spill bay weirs for safety reasons.  However, the spill bay weir in bay 19 would not close completely.     

Table 2.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	349.5
	299.0
	173.5
	124.1
	54.8
	51.0
	4.8
	     3.0


*Control room data.
Other

Inline Cooling Water Strainers:  All 14 turbine units underwent strainer inspections on May 8.  A total of 116 juvenile lamprey mortalities were recovered.  Inspections will take place in June. 
Invasive Species:  Zebra mussel traps will be examined on May 20.  No invasive species were found during the last inspection on April 24.

Predatory Bird Observations:  APHIS continues hazing and day shift technicians conducted bird counts.  In tailwater locations, high counts included 165 gulls, 13 pelicans and an occasional cormorant or loon.  Most birds were seen in the spill area, foraging or roosting.  High counts at the bypass outfall included 55 gulls and three pelicans.  On May 11, the bypass pipe was eliminated as a roosting site with the installation of bird wire.  
The water cannon remains out of service.  However, district personnel are determining whether the installation of a second pump is feasible by the end of May.  The second pump would restore the sprinkler to service until the original pump can be repaired.  A contractor will reattach the pipe’s damaged walkway grating by May 25, giving APHIS personnel access to the outfall.  By late May or early June, the district will have a second APHIS person working at McNary.   

On May 11, facility personnel borrowed five propane hazing cannons from Iced Harbor Dam and located them around the outfall pipe and spill basin.  Spare propane bottles (which power the cannons) were received this week.  The fisheries mechanics set the cannons to fire every five minutes.  On May 22, they will also install timers on each cannon, which will eliminate the need to turn the cannons off every night.  

In the forebay locations, high counts included 32 grebes and an occasional pelican, osprey or loon.  Hazing appears to be working well on grebes.  Pelicans and gulls continue to roost on the rocks by the Washington shore boat dock.  One grebe remains in the gatewell slots.      

Research:  The juvenile salmonid passage study continues.  On May 16 Battelle replaced the hydrophone by spill bay 1.  Another contractor has delayed the Oregon exit traveling screen study.  Researchers are preparing for the adult lamprey passage study.  ODFW researchers continued sampling smallmouth bass in various places around McNary Dam.  GBT monitoring efforts also continued            .

From May 14 to 16, NOAA Fisheries personnel conducted a PIT tag study of the hydraulic jump at the junction box of the primary and secondary bypass pipes.  Early results appear to show no delay in passage.               

Project:  Ice Harbor

Biologist:  Mark Plummer 

Biological Technician:  Stephen Jeffers
Dates: May 11 – 17, 2012
Turbine Operation
Turbine units 1 – 6 were available for operation this reporting period.  

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fish passage ways May 15, 16, and 17. 
Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria, except on the May 16 inspection.  On this inspection, the north fish entrance channel/tailwater differential was 0.9.  It was reported to the shift operator to make adjustment corrections.  Channel/tailwater differential criterion is 1 – 2 feet.  
Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 8.7 feet, off sill with a depth of 8.3 feet, and off sill with a depth of 8.0 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 8.1 feet, off sill with a depth of 11.7 feet, and off sill with a depth of 11.7 feet.  The north shore entrance (NSE) was off sill with a depth of 9.5 feet, off sill with a depth of 9.5 feet, and off sill with a depth of 8.9 feet.  The NSE and NFE are currently being operated in manual mode due to tailwater fluctuations caused by spill.   Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  Channel velocities ranged from 1.4 fps – 1.7 fps.  Channel velocity criterion is 1.5 fps – 4.0 fps.
Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  North shore fish pump 1 is out of service due to an electrical problem.  Seven of the 8 south shore fish pumps were operated.  

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.  

STSs/VBSs:  The STS are in cycle run mode.  May STS and turbine cooling water strainer inspections are scheduled for May 22 and 23. 

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was placed into operation March 19.  Twenty orifices are open.  No problems to report.    
Juvenile Bypass Facility:  The bypass was placed into operation March 19.

Fish Sampling:  Due to reaching our spring/summer yearling Chinook permit take numbers, no sampling occurred on May 17 as previously scheduled.  A request for additional fish was submitted to NOAA May 15 to allow sampling to continue.  

May 14

	Species
	Sampled
	#Descaled
	Morts
	Avian Marks

	
	
	
	
	 

	C-CH
	65
	5
	0
	1

	UC-CH
	29
	0
	0
	0

	C-CH-O
	---
	---
	---
	---

	UC-CH-O
	---
	---
	---
	---

	C-SH
	18
	0
	0
	0

	UC-SH
	8
	0
	0
	0

	C-COHO
	---
	---
	---
	---

	UC-COHO
	---
	---
	---
	---

	C-SOCK
	---
	---
	---
	---

	UC-SOCK
	3
	0
	0
	0

	
	 
	 
	 
	 

	TOTAL
	123
	5
	0
	1


Removable Spillway Weir:  The RSW is in operation.  Spill for fish began April 3, 2012.

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	132.9
	96.4
	74.5
	30.8
	54
	50
	3.9
	2.4


*Unit 1 scrollcase temperature.
Other

Inline Cooling Water Strainers:  The cooling water strainers were last inspected April 24 and 26.  The next inspections are slated to take place on May 22 and 23. 
Invasive Species:  No zebra mussels were observed during inspections.
Project:  Lower Monumental Dam

Biologist(s):  William Spurgeon and Elizabeth Lindsey

Dates: May 11 – 17, 2012
Turbine Operation

The units are being operated in hard constraint of the 1% operation criteria.  Unit 4 was out of service due to a voltage regulator problem from 0005 hours on May 10 to 1422 hours on May 14.  Unit 5 is out of service due an exciter problem that occurred at 0650 hours on May 14.  Unit 6 was out of service from 0800-1630 hours on May 17 for load testing of the new powerhouse gantry crane.
Adult Fish Passage Facility

The adult fishway was inspected by Corps and State biologists on May 11, 12, 13, 14, 16, and 17.   

Fish Ladders:  Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  

Fishway Entrances and Collection Channel:  NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections with the exception of a 7.9 feet reading for NPE 2 on May 12.  This was likely due to spill generated wave action affecting the accuracy of tailwater staff gauge reading.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.
SPE 1 and SPE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.
SSE1 weir gate was in depth criteria (criteria: > 8’ or on sill) on all inspections.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.

The collection channel velocity remained in criteria (1.5 - 4.0 ft/sec) this week. 

Auxiliary Water Supply System:  All AWS pumps were in service and operating through this period. 
Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 51.7 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-25% surface coverage.  A sheen of oil was found in gatewell 4A on May 13.  An oil absorbing sock was placed in the slot to absorb this oil.

STSs/VBSs:  STSs are operating in cycle mode.  

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 19-20 orifices open.

Collection Facility:  The facility is in collection for transport mode.  Battelle research on fish passage and survival continued this week.  
Transport Summary:  Every-day barging is occurring.

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	131.5
	95.1
	43.7
	24.5
	55.0
	52.5
	3.2
	2.2


*Scrollcase temperatures.

Other

Spring spill operation was initiated at 0001 hours on April 3.  

Inline Cooling Water Strainers: Cooling water strainers were inspected on May 2.  Six live juvenile lampreys and one steelhead were recovered.  Mortalities included 100 juvenile lampreys, 25 juvenile salmon, and 17 juvenile steelhead. 
Invasive Species:  There were no zebra mussels observed at the monitoring stations on May 6.

Piscivorous bird numbers have been moderate with gulls being the most common birds observed.  Activity has been focused in the tailrace and bypass outfall zones.  APHIS has been concentrating hazing efforts in these areas.  Pelican abundance remained low with observations primarily in the forebay.   Two shifts of hazing per day began on May 6 and will continue through June 2. 

Project:  Little Goose

Biologists: George Melanson and Rick Weis
Dates: May 11 – 17, 2012
Turbine Operation

Turbine units 1-6 were available for service throughout this report period.  The turbine units were operated within the 1% efficiency criteria.

Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway May 11, 13 and 16.
Fish Ladder:  The ladder exit head differentials ranged between 0.0 and 0.1feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.2 and 1.3feet (criteria 1.0-1.3 ft.) and picketed lead head differentials ranged between 0 and 0.1 feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactory.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.5 and 2.3 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 7.5 and 8.5 feet (criteria ≥8.0 ft). NPE weirs rested on sill and depths ranged between 5.5 and 6.1 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 6.2 and 6.8 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged from 2.1 to 2.3 fps near the SSE and measured 2.6 fps near the NSE.  Subsurface water velocity measured near the NPE (mid-channel) and measured near the bottom, mid depth and near the surface averaged 2.85 fps.

Auxiliary Water Supply System:  All fish pumps operated within criteria this report period.
Juvenile Fish Passage Facility
Forebay Debris/Gatewell Debris/Oil:  Surface woody debris held steady at about 200 square feet inside the trash shear boom.  Trash racks on all units were cleaned on May 16-17. Approximately 80 cubic yards were removed.  
Spillway Weir:  The spillway weir operated in the low crest position.

ESBS/VBS:  All ESBS operated within criteria this report period.  Drawdown measurements across ESBS and VBS were performed on May 15.  All measurements indicated no debris buildup and screens in good operating criteria.  

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection system was operated throughout this period with 22 open orifices.

Transportation Facility:  The facility performed collection for transport.  Daily estimated collection ranged between 45,202 and 112,409. The estimate collection for the week totaled 459,138.  All fish were transported except for mortalities and 4 fry that were returned to the river for additional growth.  Descaling and mortality rate for the period was 1.1% and less than 0.1% respectively.
Transport Summary:  All barging operations were satisfactorily completed.
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	124.4
	90.7
	46.6
	27.3
	54.6
	52.4
	3.2
	2.8


*Ladder temperature.

Other

Inline Cooling Water Strainers:  On May 13, all cooling water strainers were inspected.  There were two unidentified smolts removed.  All were mortalities.

Invasive Species:  The substrate monitor was last inspected on May 9.  No zebra or quagga mussels were observed.  The next inspection is scheduled for June 6.

Avian Activity: Bird hazing by USDA continued this week.  Piscivorous activity increased with up to 100 gulls and 5 cormorants and 7 pelicans that were observed in the vicinity of the dam.     
Project:  Lower Granite

Biologist(s):  Mike Halter and Ches Brooks 

Dates: May 11 – 17, 2012
Turbine Operation

Lower Granite had turbine units 1, 2, 3, 5 and 6 available for power generation throughout the report period.  Turbine unit 4 is out of service for cavitation repair.  All turbine units (except unit 1) were operated within the 1% operation criteria.  Unit 1 turbine blades have been welded at a fixed angle and cannot achieve the 1% criteria.  This issue will be addressed after the spring freshet.            

Adult Fish Passage Facility

On May 11, 12, and 13 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.  

Fish Ladder:   All inspection points remained within criteria during the week.  The differential reading between the forebay and the fish ladder exit pool is at 0.5 feet which is still in criteria but marginally acceptable.  The mechanical crew has been notified.  

Fishway Entrances and Collection Channel:  All head differential readings remained within criteria during the report week.  Powerhouse crews worked on the auto mode controller on north shore entrance 1 on May 1-2 and were able to get it to adjust its elevation relative to north shore entrance 2 which is presently fixed at elevation 728.5.    Only north shore entrance 1 can adjust depth relative to the tailwater elevation. 

Weir depths at the south shore fishway entrances met criteria during all weekly inspections.  The north powerhouse fishway entrances were on sill on all inspections this week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 7.1 to 6.4 feet.  Weir depths at the north shore entrances ranged from 6.8 to 4.5 feet on the weekly inspections.  North shore weir depths are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  

Velocity readings in the adult fishway collection channel transition pool area ranged from 0.87 to 1.02 feet per second and averaged 0.93 feet per second during the weekly inspections.
Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.   Fish pumps one and three were run all week.   
Juvenile Fish Passage Facility

General fish collection activities began on May 1 and continued through this report week.  Fish barges have been leaving Lower Granite on a daily basis since May 2.   The sample rate was 1.0% for the duration of the report week.   

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; none was removed.   

ESBSs/VBSs:  There were no problems with fish screens during the report week.  ESBS video inspections were last attempted on April 21, but were cancelled due to low water clarity.  The next inspections are scheduled for mid May.       

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:   The debris load through the JFF system was variable during the week and ranged from very light to heavy at times.  There were some minor collection gallery orifice blockages caused by woody debris and the JFF staff backflushed orifices more frequently (on an as needed basis) to help deal with this.  A minor fish loss was caused by a kelt/debris blockage during direct barge loading operations the evening of May 15-16 (see details in “Other” section below).  

Transportation Facility:  With the exception of some debris issues and the incident discussed below, the JFF operated smoothly during the week.  Avian hazing activities continued on a 16 hour/day basis and prevented the buildup of gulls and other avian predators.  River flows dropped enough to allow the direct loading of fish barges (debris dependent), thus reducing the handling of transported smolts.
On 15 May at 2345 hours, the bio-technician on duty noticed water backing up at a barge loading line dewatering screen.  The technician immediately switched from the affected barge line to raceway 10 and notified the project fishery biologist at home.  Following instructions, the technician then disconnected the hose and found a kelt turned sideways in a bend of the hose by the junction box.  Because there were live fish and water trapped in the hose, the hose opening was directed to the river when the kelt was removed.  Approximately 50 to 100 smolt mortalities exited the hose into the river.  Over 100 live smolts also exited into the river.  Prompt detection and action by the bio-technician on duty prevented more serious losses.

Because the exact number, type and origin of these fish could not be ascertained, these details were estimated using information from the 24 hour daily collection period which ended 0700 hours on May 16. Assuming the loss of 100 smolts, the estimated loss included 42 clipped and 10 unclipped yearling Chinook, 26 clipped and 14 unclipped steelhead, 2 unclipped kokanee or sockeye and 6 coho.  In addition, 1 steelhead kelt was lost, clip status unknown.

This event likely occurred because a small kelt was able to pass through the separator bars, becoming stranded in the loading line, creating a blockage.  Lower Granite personnel will be investigating ways to prevent such an incident from happening again

Transport Summary:  The first everyday barge left Lower Granite on May 2.  The final research barge of the season (index barging) departed Lower Granite on April 26.  Research fish are now being barged along with the general fish collection.  Fish barging operations have been going smoothly.  Every day fish barging is scheduled to continue through the month of May.
 Removable Spillway Weir:  Mandatory spill operations began at 0000 hours on April 3. The RSW was operated in support of general spill operations. 

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	133.8
	95.1
	48.4
	20.1
	54.8
	54.4
	3.8
	3.3


*Scrollcase temperature.

Other

Visual adult fish counting at the adult ladder is taking place between the hours of 0400 and 2000.  Visual fish counting began on April 1 and is scheduled to continue through October 31.
Inline Cooling Water Strainers:  Cooling water strainers were last inspected for lamprey entrainment on April 30.  A total of 175 lamprey were found in the strainers over a combined run time of 3,956.4 unit hours.  The next cooling water strainer inspections are scheduled for late May.

Invasive Species:  The trap near the adult fishway exit was examined for zebra mussels on May 11.  No evidence of zebra mussels was found.

Research
 Adult Fish Trap Operations: Adult fish trap operations continued with a sample rate of 10%.  Scale samples will be taken from one out of every 25 hatchery steelhead.  All wild steelhead captured will be PIT-tagged and scale and genetic samples taken.  Any previously PIT-tagged steelhead (either hatchery or wild) will have both scale and genetic samples taken for verification purposes. 
 Idaho Fish and Game (IDFG) Genetic Stock Identification:  The goal of this study is to develop fine-scale genetic profiles for natural origin salmon and steelhead; develop genetic stock identification (GSI) techniques to estimate stock-specific escapement over LGR, monitor abundance, productivity and distribution of naturally produced adult and juvenile steelhead and salmon; research and monitor stock-specific life history characteristics. At LGR the goal of the study will be to enumerate and characterize the natural production of spring/summer Chinook salmon and steelhead above LGR with regards to age composition and genetic stock profiles. IDFG will sample every day until the first part of July with the goal to collect between 2,000-5,000 genetic samples each from yearling spring/summer chinook and steelhead and 500-3,000 genetic samples from subyearling fall chinook.

Nez Perce Tribal Fisheries Steelhead Kelt Research:  The Nez Perce Tribal Fisheries in coordination with the Corps and The University of Idaho started steelhead kelt research work for the season this week at the holding tanks upstream of the main fish facility.   Clipped and unclipped kelts are being examined to determine the changes that occur during sexual maturity and to determine post spawning changes associated with successful downstream migration and recovery to spawn again.  Dependent on the group, steelhead kelts will be blood sampled, PIT-tagged, acoustic-tagged, trucked, barged, or returned back to the river.  

NOAA-Fisheries Transport Study:  NOAA staff PIT-tagged migrating smolts at the fish facility upstream raceways for their Transport Evaluation Study, in order to compare smolt to adult returns of in-river migrating smolts to the smolt to adult returns of transported smolts.  This week 27,222 clipped yearling Chinook, 1,407 unclipped yearling Chinook, 281 clipped subyearling Chinook, 2,059 unclipped subyearling Chinook, 21,539 clipped steelhead, 1,971 unclipped steelhead, 37 clipped sockeye, 750 unclipped sockeye and 527 coho were collectively, marked and transported or handled and transported.   

NOAA-Fisheries Reach Survival Study:  NOAA staff PIT-tagged smolts for their Survival Study to evaluate the in-river survival of juvenile salmonids bypassed into the tailrace at Lower Granite.  This week 1,904 unclipped yearling Chinook, 2,136 clipped steelhead and 2,850 unclipped steelhead were PIT-tagged and bypassed to the tailrace.
