U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#14-2012
Project:  McNary

Biologists: Carl Dugger and Bobby Johnson
Dates: June 1 - 7, 2012
Turbine Operation

McNary had 13 to 14 turbine units available for power generation this week.  Unit outages are recorded in Table 1.    

Table 1.  Unit Outages at McNary Dam.

	Units
	Outage Dates
	Outage Length
	Reason

	        3
	Jun 4 to Jan 30.
	8 months. 
	Rewind contract.

	        6 
	Jun 6.
	5.5 hours.
	Hub tapped. 


No turbine units ran outside the one percent hard constraint criteria this week.              

Adult Fish Passage Facilities

On June 1, 3 and 6, the McNary fisheries biologist performed measured inspections of the adult fishways.  Visual fish counts continued.  In late May, a new printer was installed in the control room so ladder readings could be printed.    

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections.  

At the Washington ladder exit, debris in the area has decreased.  At the Oregon ladder exit, the south traveling screen experienced multiple alarms which the operators reset.  Screen differential measurements were satisfactory and no problems were observed.  The operators adjusted the Oregon ladder regulating weir once this week.       

Fishway Entrances and Collection Channel:  Spill turbulence and hydraulic gradients make it difficult for the project to maintain entrance weir depth and calibration.  On the Washington ladder, the biologist found all inspection points in criteria.  All Oregon inspection points were within criteria except for south powerhouse entrances SFEW1 and SFEW2.  All week, these entrances measured weir depths ranging from 8.0’ to 8.4’ and 7.7’ to 8.3’, respectively.  These readings are due to hydraulic gradients.  It is also possible the stilts on SFEW2 are affecting the flow out of the south entrances.  The project was able to maintain the south pool differential at 1.2 to 1.3 feet.  Collection channel velocities averaged 1.7 feet per second.  On May 5, electricians wired in the new velocity meter which is functioning well.

Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 operated with blade angles of 30 degrees with no interruptions in service.  Pump 2 remains out of service for major overhaul which will require a contract.  The juvenile facility continues to provide the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD had no interruptions in service this week.                    

Juvenile Fish Passage Facility

The spring bypass season continues with alternating days of primary and secondary bypass operations.  The switch between the 2 bypass modes takes place every morning at 0700 hours.  No deviation from this schedule occurred.  This week, 51,258 smolts and 1,250 juvenile lampreys were bypassed.    

Forebay Debris/Gatewell Debris/Oil:  Forebay debris accumulations ranged from light to moderate with some of the debris passing over the spillbay weirs.  Most of the debris has accumulated along the powerhouse.  Debris distribution is mainly affected by spillway and turbine operations and weather.  Trash rack differentials were satisfactory this week and no problems were seen.  The fisheries staff observed no problems in the gatewell slots.  

ESBSs/VBSs:  ESBSs are currently deployed in all turbine units.  No ESBS camera inspections occurred this week due to fish salvage operations in unit turbine unit 3 (see below for details).             

Following northeasterly winds, the fisheries staff found seven VBS differentials exceeding criteria through the course of the week.  From May 5 through 7, maintenance staff cleaned these screens and three others.  VBS rehabilitations will resume this month.     

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: This week, 42 orifices were in use and no blockages were observed.  However, on June 5, the biologist removed an ESBS rope from the orifice inflow at slot 9B. All systems operated well in automatic mode.  The transition screen cleaner will remain out of service until a channel shutdown takes place.  Fisheries personnel continue to monitor the collection channel during all shifts when in primary bypass mode and during VBS cleaning operations.  The electrical staff is currently rewiring lighting in the channel to improve night observations.   

 Transportation Facility:  During the spring bypass season, both bypass modes return all fish to the river.  PIT tag detection occurs in the full flow pipe during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring occurs only during secondary bypass operations. The primary (A and B) PIT tag slide gates remained off and closed, as the return to river lines provide a better bypass route for PIT tagged fish.  The system received scheduled maintenance this week.  The secondary (C and D) PIT/bypass gates were off and open.  The fisheries staff turns the sample gates off or on at 0700 hours each day so the gates will be functional during secondary bypass operations.

Ice block checks of the return to river lines revealed no blockages.  However, due to the new location of the bypass outfall and high tailrace elevations, the fisheries staff is having difficulty seeing the ice blocks exit the pipe.  The fisheries staff has ordered a spotting scope, which would allow the viewing of ice blocks exiting the outfall from a distance.

The Gas Bubble Trauma (GBT) flush water line remains functional despite occasional clogs.  A new pump is on order.  Fisheries mechanics are working on safety ladders for east raceway access and a spray system to address foam at the separator.  On June 1, the bypass pipe contractor made final adjustments to the new barge/bypass gate.  The new gate has been functioning well.  

Transport Summary:  There is no fish transport in progress at this time. 

River Conditions

River conditions during the week are outlined in Table 2 which summarizes data provided by the smolt monitoring staff.  The data day is from 0700 to 0700 hours.  The spring spill program targets calls for 40 percent of flow being spilled.  Due to high flows, spill made up 40 to 54 percent of total river flow this week.  

As per the Fish Passage Plan, on June 7 at 0730 hours, the spill bay weir in bay 19 was closed and the project installed a standard gate.  From 1435 hours to 1611 hours, the spill bay weir in bay 20 was closed.  The project subsequently reopened the spill bay weir in bay 20.  The switch to a standard gate in bay 20 is expected to be completed on June 8 and 9.  

The summer spill program was slated to begin on June 19.  Some consideration was given to the implementation of summer spill immediately following spill bay weir removals.  This plan was discarded after regional entities determined June 12 as the start date for the summer spill program.  The summer spill program targets 50 percent of total river flow being passed as spill.  However, due to higher river flows, project operations and other factors, the project is already passing 50 percent of river flow as spill.    

Table 2.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	338.0
	279.1
	182.2
	112.2
	57.2
	55.0
	5.1
	     4.3


*Control room data.

Other

Inline Cooling Water Strainers:  Main unit cooling water strainers were examined June 5.  A total of 25 juvenile lamprey were recovered.  All were mortalities with the exception of 1 lamprey which was recovered live from turbine unit 1.  Three unidentifiable smolt mortalities were also recovered from turbine unit 1.        

Invasive Species:  The next zebra mussel trap examination will occur in mid-June.         

Predatory Bird Observations:  APHIS continued hazing efforts and Corps day shift technicians continued to conduct bird counts.  Tailrace high counts (exclusive of the bypass outfall) included 4 gulls, 11 terns, 3 pelicans with an occasional merganser.  Most of these are feeding in the spill area. Occasionally terns pass over the powerhouse flow.  Bypass outfall high counts included 5 gulls, 2 terns and an occasional cormorant.  Forebay high counts included 20 grebes with an occasional pelican, osprey, cormorant or tern.  Hazing efforts appear to be working well on grebes.  Pelicans, cormorants and gulls continued to be observed on the rocks by the Washington shore boat dock.  Two grebes entered the gatewell slots this week.  The general maintenance crew removed one grebe prior to VBS cleaning operations.  The other grebe passed to the collection channel and out of the system.  The two grebes reported in the collection channel last week remain.          

The bypass outfall water cannon remained out of service.  District personnel are investigating the possible installation of a second pump to restore service this month.  This pump would be used until the original pump can be repaired.  Contractors completed reattachment of the outfall access walkway on June 1.  The Corps subsequently approved and accepted this repair work.  Outfall access for APHIS personnel and pump repairs was granted June 6.  

On June 4, a second APHIS shift was added at McNary Dam, making 16 hours of day light coverage possible.  The propane hazing cannons are operating well.  Three new cannons are on order.      

Research:  Current onsite research includes the juvenile salmonid passage study, Gas Bubble Trauma (GBT) examinations and ODFW angling efforts to sample Northern Pikeminnow and other fish species that prey on smolts.  Another contractor has delayed the Oregon exit traveling screen study.  Researchers completed preparations for the adult lamprey passage study which was to begin this week.  
Fish Salvage:  A fish salvage operation took place in turbine unit 3 this week.  After unit 3 was dewatered, project personnel removed a seven foot, seven inch healthy male sturgeon from the scroll case.  Five channel catfish were removed from the draft tube, of which 3 were lost.  These were the only fish observed.     

Project:  Ice Harbor

Biologist:  Mark Plummer 

Biological Technician:  Stephen Jeffers
Dates: June 1 - 7, 2012
Turbine Operation
Turbine units 1 – 6 were available for operation this reporting period.  

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fish passage ways June 4, 5, 6, and 7. 
Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria. Channel/tailwater differential criterion is 1 – 2 feet.  
Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 8.3 feet, off sill with a depth of 8.6 feet, off sill with a depth of 8.4 feet, and off sill with a depth of 8.2 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 10.6 feet, off sill with a depth of 10.5 feet, off sill with a depth of 11.4 feet, and off sill with a depth of 9.8 feet.  The north shore entrance (NSE) was off sill with a depth of 9.3 feet, off sill with a depth of 10.4 feet, off sill with a depth of 11.1 feet, and off sill with a depth of 8.5 feet.  The NSE and NFE are currently being operated in manual mode due to tailwater fluctuations caused by spill.   Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  Channel velocities ranged from 1.3 fps – 1.8 fps.  Channel velocity criterion is 1.5 fps – 4.0 fps.
Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  All 8 south shore fish pumps were operated.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating.  

STSs/VBSs:  The STS are in continuous run mode due to the size of juvenile fish less than 120 mm at Lower Monumental Fish Facility as per FPP.  June inspections are scheduled for June 19 and 20.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was placed in operation March 19, 20 orifices are open.  No problems to report.    
Juvenile Bypass Facility:  The bypass was put into operation March 19.

Fish Sampling:  Juvenile fish sampling occurs on Monday and Thursdays.

June 4:

	Species
	Sampled
	#Descaled
	Morts
	Avian Marks

	
	
	
	
	 

	C-CH
	10
	0
	0
	0

	UC-CH
	15
	0
	0
	0

	C-CH-O
	11
	0
	0
	0

	UC-CH-O
	16
	0
	0
	0

	C-SH
	13
	2
	0
	1

	UC-SH
	25
	0
	0
	4

	C-COHO
	1
	0
	0
	0

	UC-COHO
	11
	0
	0
	0

	C-SOCK
	---
	---
	---
	---

	UC-SOCK
	4
	0
	0
	0

	
	 
	 
	 
	 

	TOTAL
	106
	2
	0
	5


June 7:

	Species
	Sampled
	#Descaled
	Morts
	Avian Marks

	
	
	
	
	 

	C-CH
	1
	0
	0
	0

	UC-CH
	3
	0
	0
	0

	C-CH-O
	40
	1
	0
	2

	UC-CH-O
	51
	0
	0
	0

	C-SH
	14
	0
	0
	3

	UC-SH
	11
	0
	0
	0

	C-COHO
	---
	---
	---
	---

	UC-COHO
	8
	1
	0
	0

	C-SOCK
	---
	---
	---
	---

	UC-SOCK
	4
	0
	0
	0

	
	 
	 
	 
	 

	TOTAL
	132
	2
	0
	5


Removable Spillway Weir:  The RSW is in operation.  Routine spill for fish passage began April 3, 2012.

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	132.6
	79.7
	86.2
	27.4
	56
	55
	3.4
	3.4


*Unit 1 scrollcase temperature.
Other

Inline Cooling Water Strainers: Main turbine cooling water strainer inspections are scheduled for June 19 and 20.  

Invasive Species: No zebra mussels were observed during inspections.

Transformer Cooling Water Strainers: Ice Harbor Dam has 2 types of main electrical transformers.  Transforms 1, 2 and 3 are water cooled while transformers 4, 5 and 6 are air cooled.  The water cooled transformers are configured with cooling water strainers.  During routine inspection of these strainers on June 5, six live juvenile lamprey were recovered. 
A small oil sheen in the navigation lock was reported to the powerhouse operator on June 5.

Project:  Lower Monumental
Biologists: Bill Spurgeon and Elizabeth Lindsey
Dates: June 1 - 7, 2012
Turbine Operation

All turbine units are being operated within of the hard constraint 1% criteria.  Units were rotated out of service for STS inspections on June 5, 6, and 7.
Adult Fish Passage Facility

The adult fishway was inspected by Corps and State biologists on June 1, 2, 3, 6, and 7.   

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  

Fishway Entrances and Collection Channel:  NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.
SPE 1 and SPE 2 weir gates were in depth or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 7.8 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.

SSE1 weir gate was in depth criteria (criteria: > 8’ or on sill) on all inspections.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.

The collection channel velocity remained in criteria (1.5 - 4.0 ft/sec) this week. 

Auxiliary Water Supply System: All AWS pumps were in service and operating during this period. 
Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 16.6 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-25% surface coverage.  

STSs/VBSs: STS operation was changed to continuous run mode on June 4 at 0820 hours as average fork length of sub-yearling Chinook and/or sockeye fell below 120mm.  STS inspections were conducted June 5, 6, and 7 with all screens found in good operating condition.  
Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 21 orifices open.

Collection Facility:  The facility is in collection for transport mode.  Battelle research on fish passage and survival continued this week.  
Transport Summary:  Every-other-day transport is occurring with barges departing on odd numbered days this month.  
River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	128.9
	78.2
	48.5
	25.7
	55.5
	54.5
	3.5
	2.9


 *Scrollcase temperatures.

Other

Spring spill operation was initiated at 0001 hours on April 3.  

Inline Cooling Water Strainers:  Cooling water strainers were inspected on June 4.  No live lamprey was recovered.  Mortalities included 2 juvenile lampreys, 5 juvenile salmon, and 1 Siberian prawn.  About 3 dozen decomposed juvenile lampreys were removed from units 2 and 4 cooling water strainers.   

Invasive Species: There were no zebra mussels observed at the monitoring stations on June 1.

Piscivorous bird numbers were very low this week.  Cormorants and terns were the most prominent species observed.  Hazing efforts ended on June 2. 

Project:  Little Goose

Biologist: Richard Weis
Dates: June 1 - 7, 2012
Turbine Operation

Turbine units 1 and 3-6 were available for service throughout this report period.  Unplanned turbine unit 2 outages occurred from May 31 at 1948 hours to June 1 at 1035 hours and from June 1 at 1510 hours to June 5 at 0700 hours due to head cover pump leakage.  All  turbine units were operated within the 1% efficiency criteria.

Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway June 1, 4 and 5.
Fish Ladder:  The ladder exit head differentials held steady at 0 feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.2 and 1.3 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials ranged between 0 and 0.1feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactory.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.5 and 2.1 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.1 and 8.3 feet (criteria ≥8.0 ft). NPE weirs rested on sill and depths ranged between 5.9 and 6.8 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 6.4 and 7.5 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged from 2.0 to 2.1 fps near the SSE and NSE measured 2.9 fps. Subsurface water velocity measured near the NPE (mid-channel) and measured near the bottom, mid depth and near the surface averaged 2.81 fps.

Auxiliary Water Supply System:  All fish pumps operated within criteria this report period.
Juvenile Fish Passage Facility
Forebay Debris/Gatewell Debris/Oil:  Surface woody debris measured up to 300 square feet inside the trash shear boom. 
Spillway Weir:  The spillway weir operated satisfactorily in the high crest configuration.  

ESBS/VBS:  All ESBS operated within criteria this report period.  Drawdown measurements across ESBS and VBS were not performed this week due to previously scheduled training.  

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection system was operated throughout this period with 22 open orifices.

Transportation Facility:  The facility continued collection for transport.  Daily estimated collection ranged between 8,275 and 50,808, totaling 184,740 for the week.  All fish were transported except for one fry that was returned to the river for additional growth.  Descaling and mortality rates for the period were 0.7% and less than 0.1% respectively.
Transport Summary:  All barging operations were satisfactorily completed. 
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	123.1
	78.0
	49.2
	23.1
	55.5
	53.5
	4.8
	3.0


*Ladder temperature.

Other

Inline Cooling Water Strainers:  On June 6, all cooling water strainers were inspected.  Two juvenile lamprey and 4 unidentified smolts were removed.  All were mortalities.

Invasive Species:  The zebra mussel substrate monitor was inspected on June 6.  No mussels were observed.  The next inspection is scheduled for July 6.

Avian Activity: Bird hazing by USDA continued this week.  Piscivorous birds observed during any single surveying event included 9 seagulls, 16 cormorants and 9 pelicans in the vicinity of the dam.     
Project:  Lower Granite

Biologist(s):  Mike Halter and Ches Brooks 

Dates: June 1 - 7, 2012
Turbine Operation

Lower Granite had turbine units 1, 2, 3, 5 and 6 available for power generation at the beginning of the report period.  Turbine unit 1 was out of service from 1456 hours until 1930 hours on June 6, in order to clean the slip rings.  Turbine unit 4 is out of service for cavitation repair.  All turbine units (except unit 1) were operated within the 1% efficiency criteria.  Unit 1 turbine blades have been welded at a fixed angle and cannot achieve the 1% criteria.  This issue will be addressed after the spring freshet.            

Adult Fish Passage Facility

On June 1, 2, 3 and 7 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system. 

Fish Ladder:   All criteria were met during this week’s inspections.   

Fishway Entrances and Collection Channel:  Head differential readings at all adult fishway entrances remained within criteria during the report week.  Weir depths at the south shore fishway entrances also met criteria during all weekly inspections.  The north powerhouse fishway entrances were on sill on all inspections this week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 6.0 to 7.5 feet.  Weir depths at the north shore entrances ranged from 4.5 to 6.8 feet on the weekly inspections.  North shore weir depths are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  

Velocity readings in the adult fishway collection channel transition pool area ranged from 0.85 to 1.03 feet per second and averaged 0.93 feet per second during the weekly inspections.
Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.   Fish pump two returned to service on June 2 and operated with fish pump one for the duration of the report week.  Fish pump three is in standby mode.    
Juvenile Fish Passage Facility

 The last daily barge departed Lower Granite on May 28.  Every other day barging began on May 30 and fish barges will depart Lower Granite on the odd numbered days of the month during June.  The sample rate was lowered from 4% to 2% at 0700 hours on June 5 and remained at that level for the duration of the report week.    

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; none was removed.   

ESBSs/VBSs:  There were no problems with fish screens reported during the week.  ESBS video inspections were attempted on May 19, but were cancelled due to low water clarity and some camera problems.  The camera has been repaired and the next inspections are scheduled for mid June.       

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:   The debris load through the JFF system was variable during the week and ranged from light to heavy at times.  There were some minor collection gallery orifice blockages caused by woody debris and the JFF staff backflushed orifices more frequently (on an as needed basis) to help deal with this.
 The separator was partially dewatered (limited primary bypass) from approximately 1230 – 1245 hours on June 6 to remove debris that had become impinged on the lower portion of the dewatering screen.  (Most of the debris consisted of fine plastic materials.)  

Transportation Facility:  The JFF operated smoothly during the week.  Avian hazing activities continued on a 16 hour/day basis and prevented the buildup of gulls and other avian predators. 
Transport Summary:  The first every other day barge left Lower Granite on May 30.  The final research barge of the season (index barging) departed Lower Granite on April 26.  Research fish are now being barged along with the general fish collection.  Fish barging operations have been going smoothly.   

Removable Spillway Weir:  Mandatory spill operations began at 0000 hours on April 3. The RSW was operated in support of general spill operations. 

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	130.3
	80.0
	48.7
	20.3
	56.8
	54.7
	4.5
	3.6


*Scrollcase temperature.
Other

Visual fish counts began on April 1 and are scheduled to continue through October 31. These adult ladder counts are taking place between the hours of 0400 and 2000.  
Inline Cooling Water Strainers:  Cooling water strainers were last inspected for lamprey entrainment on May 31.  A total of 32 lamprey were found in the strainers over a combined run time of 3,389.9 unit hours.  The next cooling water strainer inspections are scheduled for late June.
Invasive Species:  The zebra mussel trap near the adult fishway exit was examined for zebra mussels on June 7.  No evidence of zebra mussels was found.

Research
 Adult Fish Trap Operations:  Adult fish trap operations continued with a sample rate of 10%.  Scale samples will be taken from one out of every 25 hatchery steelhead.  All wild steelhead captured will be PIT-tagged and scale and genetic samples taken.  Any previously PIT-tagged steelhead (either hatchery or wild) will have both scale and genetic samples taken for verification purposes. 

 Idaho Fish and Game (IDFG) Genetic Stock Identification:  The goal of this study is to develop fine-scale genetic profiles for natural origin salmon and steelhead; develop genetic stock identification (GSI) techniques to estimate stock-specific escapement over Lower Granite Dam (LGR), monitor abundance, productivity and distribution of naturally produced adult and juvenile steelhead and salmon; research and monitor stock-specific life history characteristics. At LGR the goal of the study will be to enumerate and characterize the natural production of spring/summer Chinook salmon and steelhead above LGR with regards to age composition and genetic stock profiles. IDFG will sample every day until the first part of July with the goal to collect between 2,000-5,000 genetic samples each from yearling spring/summer Chinook and steelhead and 500-3,000 genetic samples from subyearling fall Chinook.

Nez Perce Tribal Fisheries Steelhead Kelt Research: The Nez Perce Tribal Fisheries in coordination with the Corps and The University of Idaho started steelhead kelt research work for the season this week at the holding tanks upstream of the main fish facility.   Clipped and unclipped kelts are being examined to determine the changes that occur during sexual maturity and to determine post spawning changes associated with successful downstream migration and recovery to spawn again.  Dependent on the group, steelhead kelts will be blood sampled, PIT-tagged, acoustic-tagged, trucked, barged, or returned back to the river.  

NOAA-Fisheries Transport Study: NOAA staff PIT-tagged migrating smolts at the fish facility upstream raceways for their Transport Evaluation Study, in order to compare smolt to adult returns of in-river migrating smolts to the smolt to adult returns of transported smolts.  This week 1,524 clipped yearling Chinook, 233 unclipped yearling Chinook, 14,643 clipped subyearling Chinook, 19,934 unclipped subyearling Chinook, 4,427 clipped steelhead, 484 unclipped steelhead, 17 clipped sockeye, 58 unclipped sockeye and 426 coho were collectively, marked and transported or handled and transported.   

NOAA-Fisheries Reach Survival Study:  NOAA staff PIT-tagged smolts for their Survival Study to evaluate the in-river survival of juvenile salmonids bypassed into the tailrace at Lower Granite.  This week 652 clipped steelhead and 491 unclipped steelhead were PIT-tagged and bypassed to the tailrace.

