U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#21-2012
Project:  McNary

Biologists: Carl Dugger and Bobby Johnson
Dates: July 20 - 26, 2012
Turbine Operation

McNary had 10 to 11 units available for power generation this week.  All available turbine units operated with the 1% efficiency criteria.  Unit outages are recorded in Table 1.    
Table 1.  Unit Outages at McNary Dam.

	Units
	Outage Dates
	Outage Length
	Reason

	3
	Jun 4 to Jan 30.
	8 months. 
	Rewind contract.

	8
	Jun 11 to Jan 30.
	8 months.
	 Rewind contract.

	7
	Jul 16 to 26. 
	10 days. 
	Hub oil leak repaired.

	10
	Jul 19 to 20.
	17.2 hours.
	Relay replaced. 

	13
	Jul 23 to Aug 2.
	10 days.
	Annual maintenance.

	1, 2 and 9
	Jul 24.
	Total 1.1 hours. 
	ESBS camera inspections.

	14
	Jul 26.
	1.5 hours.
	Trash rack cleaning.


Adult Fish Passage Facilities

On July 20, 22 and 25, the McNary fisheries biologist performed measured inspections of the adult fishways.  On July 24, NOAA fisheries conducted their monthly inspection.  Visual fish counts, video counting of adult lamprey passage and ladder exit water temperature monitoring continued.     

From 2100 to 0400 hours each day, nightly lowering of SFEW1, SFEW2, NFEW2 and NFEW3 for lamprey passage occurs.  Fisheries technicians have been monitoring the weirs when the juvenile system is in primary bypass.  On July 25, general maintenance personnel inspected NFEW1 cables that vibrated severely when NFEW2 and NFEW3 were in lamprey mode.  No problems were found.  Because of the cable vibrations, project staff will continue to monitor this weir closely.  NFEW2 and NFEW3 cables were also examined and found in good condition.  On July 20, project personnel installed a specially designed hand rail around SFEW2.  This will allow lamprey researchers access without the need for fall protection and other safety measures that were previously required in this location.  On July 24, a lamprey researcher adjusted the cameras at SFEW1 and SFEW2.   

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections except on July 20.  On that date, the Washington ladder head over weir and count station differential measured 1.6 and 0.6 feet respectively.  Criteria were met in both locations after the general maintenance crew cleaned the picketed leads.  The Washington ladder limit switch issue has not yet been resolved.  The amount of debris along the north shore continues to fluctuate and project personnel continue to monitor and clean the Washington exit regularly.  There were 2 alarms triggered at the Oregon ladder exit this week.  One was due to the loss of power and the other indicated a problem at the traveling screen.  However, traveling screen differentials were satisfactory this week.  Normal operation in both cases resumed after the operator reset the alarm.  
Fishway Entrances and Collection Channel:  Spill turbulence and hydraulic gradients continued to make it difficult for the project to maintain entrance weir depth and calibration, though the project has made progress with the weirs staying in calibration longer. 

All Washington ladder and most Oregon ladder inspection points were in criteria.  All week, the south powerhouse entrances, SFEW1 and SFEW2, measured depths ranging from 8.4’ to 8.9’ and 8.4’ to 8.7’, respectively.  It is possible the stilts on SFEW2 are affecting the flow out of the south entrances.  The facility was able to maintain the south pool differential at 1.0 to 1.1 feet.  All other Oregon inspection points were in criteria.  Collection channels velocities averaged 1.9 feet per second.  

Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 operated with blade angles of 30 degrees with no interruptions in service.  Pump 2 remains out of service for major overhaul which will require a contract.  The juvenile facility continues to provide the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD turbine unit had no interruptions in service this week.                      

Juvenile Fish Passage Facility

The spring-like bypass season continues with alternating days of primary and secondary bypass operations.  The switch between the 2 bypass modes takes place every morning at 0700 hours.  No deviation from this schedule occurred.  This week, 176,609 smolts and 4,100 juvenile lamprey were routed through the secondary bypass.

Power and compressed air outages took place this week.  Planning and preparations for these outages took place on July 23.  On July 24, the juvenile facility operated the back-up air compressor when powerhose supplied air was shut down.  Brief power interruptions took place on July 24 and 25.  The biologist noted on July 25 that the side and rectangular screen cleaners timers were synchronized indicating there may have been a brief power outage in the channel that morning.  Operators knew of no cause for this abnormality.  Otherwise, facility operations were routine this week.  

Forebay Debris/Gatewell Debris/Oil:  Trash rack differential measurements and gatewell slot observations were satisfactory this week.  Forebay debris was light along the powerhouse and moderate along the spillway.  High flows, weather and project operations affect debris distribution.  On July 26, trash rack associated with turbine units 7, 8, 13 and 14 were cleaned. The first three units were out of service.  Less than 10 yards of debris was removed.  This material contained small amounts of milfoil and woody debris.  Trash rack raking will continue next week.

ESBSs/VBSs:  ESBSs are deployed in all turbine units except unit 3 which is out of service until January 2013.  Unit 3 ESBSs are currently being rehabilitated.  The ESBS in slot 7C slot remains in transducer bypass mode.  On July 20, operators switched the screen in slot 1A to transducer bypass mode after finding a broken electrical cable.  Camera ESBS inspections took place in turbine units 1, 2 and 9 on July 24.  No problems were found.  

VBS differentials were measured this week and 8 screens were found out of criteria.  On July 20, 23 and 25, the project cleaned these screens and three others.  VBS rehabilitations continued with work scheduled to begin soon at units 3 and 8 which are out of service.     

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: This week, 42 orifices were in use.  Only 1 blockage was observed.  A biologist removed an ESBS rope from the orifice inflow in slot 1B this week.  The transition screen cleaner remains out of service until a channel shutdown occurs, otherwise all automated systems operated satisfactorily.  The fisheries staff continued to monitor the channel during all shifts when in primary bypass mode and during VBS cleaning operations.

Transportation Facility:  During the “spring” bypass season, both bypass modes return all fish to the river.  PIT tag detection occurs in the full flow pipe during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring occurs only during secondary bypass operations.  The primary (A and B) PIT tag slide gates continued operating in support of the Pacific Northwest National Laboratory (PNNL) tag retention study (see below).  The secondary (C and D) PIT/bypass gates remained off and open.  Facility staff continued to turn the sample gates off or on at 0700 hours each day so the gates will be functional only during secondary bypass operations.  Ice block checks of the return to river lines revealed no blockages.  However, due to the new location of the bypass outfall and high tailwater elevations, the fisheries staff is having difficulty seeing the ice blocks exit the pipe.  This week, the facility staff removed old study equipment and prepared for truck transportation.  NOAA Fisheries personnel examined the new adult return to river line and the bypass flume on July 25.   

Transport Summary:  No fish transport in progress at this time.   

River Conditions

River conditions during the week are outlined in Table 2 which the smolt monitoring staff provides.  The data day is from 0700 to 0700 hours.  The summer spill program calls for 50 percent of flow being spilled.  Due to high flows, transmission line restrictions and turbine unit outages, 50 to 56 percent of total river flow was spilled this week.  Since July 13, spill bay 19 was closed due to a gate coupler failure.  The spill gate returned to service July 24 following coupler replacement on July 23.  

Routine water temperature monitoring efforts across the project began June 15.  This data is being reported separately.

Table 2.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	350.6
	285.5
	211.7
	159.7
	64.9
	63.8
	6.0
	     5.5


*Control room data.
Other

Inline Cooling Water Strainers:  The next cooling water strainer examination will occur in early August.  
Invasive Species:  The zebra mussel traps were examined July 25.  No problems were noted.      

Avian Activity:  Corps technicians continued bird counts.  Tailwater counts (exclusive of the bypass outfall) included 16 terns, 11 pelicans with an occasional gull or cormorant.  Most birds were feeding in the spill area.  Pelicans are apparently feeding on adult shad along the navigation lock wing wall.  Counts at the bypass outfall included 3 terns and 3 pelicans.  High counts in forebay locations included 10 gulls and 2 ospreys with an occasional tern or pelican.  Pelicans, gulls and cormorants continued to be seen on the rocks by the Washington shore boat dock.  No grebes were seen anywhere on project this week.  APHIS continues hazing with two shifts at McNary which will cover the 16 hours of day light.  The propane hazing cannons are operating well.  

The bypass outfall water cannon remained out of service.  District personnel have contracted for the installation of a second pump to restore service when river flows recede.  The contract will also include outfall pipe walkway repairs.  Walla Walla District personnel previously inspected the grating July 16 and returned July 23 to inspect the grating and the water cannon.  

Research:  Current onsite research includes the juvenile salmonid passage study, Gas Bubble Trauma (GBT) examinations, the adult lamprey passage study and ODFW angling efforts to sample Northern Pikeminnow and other fish species that prey on smolts.  The Oregon exit traveling screen study has been rescheduled for next year.  
As mentioned above, PNNL researchers continued to utilize the PIT tag sort by code system to recapture and evaluate tag loss rates of subyearling Chinook fitted with neutrally buoyant external JSAT tags.  
Project:  Ice Harbor

Biologist:  Mark Plummer 

Biological Technician:  Stephen Jeffers
Dates: July 20 - 26, 2012
Turbine Operation
Turbine units 1 – 6 were available for operation this reporting period.  Turbine 4 went out of service for annual maintenance July 23 at 0719 hours.  Turbine units 5 and 6 were out of service July 24 from 0948 hours to 1240 hours due to BPA line work.  Turbine units 5 and 6 went out of service July 26 at 0723 hours and 1233 hours for annual maintenance and overhaul. 

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fish passage ways July 24, 25, and 26. 
Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  Aquatic vegetation is building up on the south fish ladder picketed leads requiring more frequent cleaning.
Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 8.4 feet, off sill with a depth of 8.3 feet, and off sill with a depth of 8.4 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 8.1 feet, off sill with a depth of 9.0 feet, and off sill with a depth of 8.6 feet.  The north shore entrance (NSE) was off sill with a depth of 6.3 feet, on sill with a depth of 5.9 feet, and on sill with a depth of 8.6 feet.  The NSE and NFE are currently being operated in manual mode due to tailwater fluctuations caused by spill.  All out of criteria entrance weir depths and channel/tailwater differentials were reported to the shift operator for adjustment during the inspections.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  Channel/tailwater differential criterion is 1 – 2 feet.  Channel velocities readings ranged from 2.3 fps – 2.8 fps.  Channel velocity criterion is 1.9 fps – 2.5 fps.
Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  All 8 south shore fish pumps were operated without problems.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.  

STSs/VBSs:  STSs are in continuous run mode as the size of juvenile fish less than 120 mm at Lower Monumental Fish Facility per FPP.  STS inspections are scheduled July 30 and 31 for units 5 and 6.  STSs in turbine units 1 – 4 already were inspected last week and found in satisfactory condition.  

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was placed in operation March 19.  Twenty orifices are open.  No problems to report.    
Juvenile Bypass Facility:  The bypass was placed into operation March 19.

Juvenile Fish Sampling:  The last sample of the 2012 season took place July 12.

Removable Spillway Weir:  The RSW is in operation.  Spill for fish began April 3, 2012.

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	49.3
	37.1
	39.6
	27.3


	69
	68
	4.9
	4.6


*Unit 1 scrollcase temperature.
Other

Inline Cooling Water Strainers:  Turbine cooling water strainer inspections for turbine units 4, 5 and 6 are scheduled for July 30 or 31.   

Invasive Species:  No zebra mussels were observed during adult fishway inspections.  

Project:  Lower Monumental
Biologists: Bill Spurgeon and Elizabeth Lindsey
Dates: July 20 - 26, 2012
Turbine Operation

All turbine  units are being operated within the hard 1% efficiency criteria.  Unit 1 was removed from service at 0850 hours on July 9 for annual maintenance.  Unit 2 was out service from 1323-1601 hours on July 25 for bulkhead inspection, oil filter modifications, and thermal inspection. 
Adult Fish Passage Facility

The adult fishway was inspected by Corps and PSMFC/State biologists on July 20, 21, 22, 25, and 26.   

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  

Fishway Entrances and Collection Channel: NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.  SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) during all inspections.  While on sill the gate depth readings were 6.5’, 6.6’, 5.3’, 6.4’, and 6.4 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.  SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 6.6’, 6.9’, 5.6’, 6.7’, and 6.5 feet.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.  The collection channel velocity remained in criteria (1.5 - 4.0 ft/sec) this week. 

Auxiliary Water Supply System:  All AWS pumps were in service and operating satisfactorily during this period. 
Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0.0 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-20% surface coverage.   
STSs/VBSs:  STS operations remain in continuous run mode as sockeye and Chinook lengths in the sample are less than 120 mm.  Unit 1 STSs were switched off on July 17 as the unit is undergoing annual maintenance.  
Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 20-21 orifices open.  The Primary Dewaterer automatic weirs were set to 528.1 feet and switched to the off position on June 18 to eliminate sudden water level fluctuations in the separator.    

Transportation Facility:  The facility is in collection for transport mode.  
Transport Summary:  Every-other-day transport is occurring with barges departing on odd numbered days this month.  
River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	45.9
	35.0
	20.6
	16.4
	70.5
	69.0
	5.0+
	4.6


*Scrollcase temperatures.

Other

Summer spill operation was initiated at 0000 hours on June 21.   

Inline Cooling Water Strainers: Cooling water strainers were inspected on July 12.  No live lamprey was recovered.  Mortalities included 8 juvenile lampreys, 1 juvenile salmon, and 2 Siberian prawns.  

Invasive Species: There were no zebra mussels observed at the monitoring stations on July 1.

Avian Activity:  Piscivorous bird numbers remained very low this week.  Cormorants, gulls, and terns were the prominent species observed.  Hazing ended on June 2. 
Project:  Little Goose

Biologist: Richard Weis
Dates: July 20 - 26, 2012
Turbine Operation

Turbine units 1 – 3 and 5 were available for service for this report period.  Turbine unit 6 was removed from service on July 1 at 0700 hours for annual maintenance and exciter replacement.  Unit #4 was removed from service on July 23 for annual maintenance and exciter replacement.   All available turbine units were operated within the 1% efficiency criteria.

Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway July 20, 22 and July 24.
Fish Ladder:  The ladder exit head differentials ranged between 0 and 0.1feet (criteria < 0.5 ft.).  Water depths over the weirs held steady at 1.2 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials remained steady at 0 feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactorily.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.5 and 2.1 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.1 and 8.4 feet (criteria ≥8.0 ft). NPE weirs rested on sill and depths ranged between 5.0 and 5.6 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 4.9 and 6.1 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged from 1.5 to 2.3 fps near the SSE and 2.4 to 2.5 fps near the NSE.   On July 1, collection channel subsurface water velocity measured 2.62 fps (criteria 1.5 to 4.0) near the NPE.

Auxiliary Water Supply System:   All fish pumps operated within criteria this report period.
Juvenile Fish Passage Facility
Forebay Debris/Gatewell Debris/Oil:  Nothing significant to report. 

Spillway Weir: The spillway weir operated in the high crest position.  

ESBS/VBS:  All screens operated in criteria.    

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection system was operated throughout this period with 22 open orifices.

Transportation Facility:  The facility continued collection for transport.  Daily smolt collection estimates ranged between 552 and 2,790 and totaled 8,546 for the week.  Descaling and mortality rates for this period was 0.8% and 1.4% respectively.
Transport Summary:  All barging operations were satisfactorily completed.
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	44.5
	37.3
	18.9
	11.1
	72.3
	69.8
	5.8
	4.9


*Ladder temperature.

Other

Inline Cooling Water Strainers:  All cooling water strainers were inspected on July 25.  No fish were observed.   

Invasive Species:  The zebra mussel trap was inspected on July 12.  No mussels were observed.  The next inspection is scheduled for August 6.

Avian Activity:   Piscivorous birds observed in the vicinity of the dam during the week included up to 40 seagulls, 15 cormorants and 1 pelican.     

Project:  Lower Granite

Biologist(s):  Mike Halter and Ches Brooks 

Dates: July 20 - 26, 2012
Turbine Operation

Lower Granite had turbine units 2, 3, 5 and 6 available for power generation at the beginning of the report period.  Turbine unit 1 is out of service in order to correct the turbine blade angles and conduct annual maintenance.  Turbine unit 4 is out of service for cavitation repair.  All available turbine units were operated within the 1% efficiency criteria.                

Adult Fish Passage Facility

On July 21, 22, 23, and 26 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.  The July 26 inspection was conducted with the ODFW biologist from Little Goose Dam.   

Fish Ladder:  All criteria were met.  The differential between the forebay and the adult fish ladder exit was at 0.5 feet on the July 21, 22 and 26 inspections (the maximum acceptable level).  Project personnel are investigating having a diver examine this exit.   
Fishway Entrances and Collection Channel:  Head differential readings were within criteria at all adult fishway entrances during the weekly inspections.  Weir depths at the south shore fishway entrances also met criteria during all weekly inspections.  The north powerhouse fishway entrances were on sill on all inspections this week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 4.9 to 5.1 feet.  Weir depths at the north shore entrances ranged from 3.3 to 4.5 feet on the weekly inspections.  North shore weir depths are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Velocity readings in the adult fishway collection channel transition pool area ranged from 1.04 to 1.23 feet per second and averaged 1.13 feet per second during the weekly inspections.

Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.  Fish pumps two and three were run all week.        

Juvenile Fish Passage Facility

 The last daily barge departed Lower Granite on May 28.  Every other day barging began on May 30 and fish barges are departing Lower Granite on the odd numbered days of the month during July.  The juvenile fish facility sample rate was increased from 20% to 25% at 0700 hours on July 24 and remained at that level during the remainder of the report week.   

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; none was removed.   

ESBSs/VBSs:  VBS/ESBS video inspections last took place on June 22 - 23.  All screens were inspected and no problems were noted.  The next inspections are scheduled for August.            

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Collection gallery orifices were backflushed at regular 3 hour intervals all week.  Debris levels were fairly light during the report week.  

Transportation Facility:  The JFF operated smoothly during the week.  There were no operational problems of any kind with fish collection, fish sampling, or fish transportation equipment.  

Due to the presence of a few juvenile lamprey in the raceways, lamprey friendly tail screens (with larger mesh openings) were deployed in all operating raceways on June 10 and remained in place during the report week.

Transport Summary:  The first every other day barge left Lower Granite on May 30.  The final research barge of the season (index barging) departed Lower Granite on April 26.  Research fish are now being barged along with the general fish collection.  Every other day fish barging operations have been going smoothly and are scheduled to continue through mid August.   

Removable Spillway Weir:  Mandatory spill operations began at 0000 hours on April 3. The RSW was operated in support of general spill operations.
River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	44.6
	37.6
	22.4
	18.4
	67.4
	66.6
	5.0
	5.0


*Scrollcase temperature.

Other

Visual adult fish counting at the adult ladder is taking place between the hours of 0400 and 2000.  Visual fish counts began on April 1 and is scheduled to continue through October 31.

Inline Cooling Water Strainers:  Cooling water strainers were last inspected for lamprey entrainment on June 27.  A total of 40 lamprey were found in the strainers over a combined run time of 2,320.9 unit hours.  The next cooling water strainer inspections are scheduled for late July.
Invasive Species:  The trap near the adult fishway exit was last examined for zebra mussels on July 6.  No evidence of zebra mussels was found.  The next inspection is scheduled for early August.  

Avian Activities: Avian hazing activities concluded for the season on June 30.   

Research

 Adult Fish Trap Operations:  The adult fish trap was shut down at 0700 hours on the morning of Thursday July 26 due to high water temperatures.  The trap temperature at the time of shutdown was 71.0 Degrees F.  As of Sunday July 29, the trap remains shut down.  NOAA-Fisheries personnel will continue to monitor the water temperatures closely.  
United States Fish and Wildlife Service (USFWS), United States Geological Service (USGS), NMFS-Early Life History, Migratory Behavior and Survival of Fall Chinook Salmon in the Snake River:  The goal of this study is to provide information to fishery managers to maximize the effectiveness of summer flow augmentation and understand how summer flow augmentation affects water temperature, water velocity, juvenile fall Chinook salmon migratory behavior, and juvenile fall Chinook salmon survival in Lower Granite Reservoir. The separation-by-code system at LGR will be used to recapture some of the fish PIT-tagged during beach seining to allow growth calculations and to photograph fish for morphological assessment.

Sort By Code Holding Tank:  Water temperatures at the SBC tank were in excess of 20 Degrees C on the morning of July 25; the fish were released back to the river without handling.
