U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#24-2012
Project:  McNary

Biologists: Carl Dugger and Bobby Johnson
Dates: August 10 - 16, 2012
Turbine Operation

McNary had 10 to 11 units available for power generation this week.  All available turbine units operated within the 1% efficiency criteria.  District and project personnel discussed temperature monitoring results to date and adjusted priorities to optimize juvenile fish collection channel water temperatures.  Unit outages are recorded in Table 1.    

Table 1.  Unit Outages at McNary Dam.

	Units
	Outage Dates
	Outage Length
	Reason

	3
	Jun 4 to Jan 30.
	8 months. 
	Rewind contract.

	8
	Jun 11 to Jan 30.
	8 months.
	 Rewind contract.

	14
	Aug 6 to Sep 13.
	38 days.
	Annual then guide bearing.

	10
	Aug 13 to 16.
	3 days. 
	3D cam/bearing issue.

	9 and 12
	Aug 14.
	Total 34 minutes.
	ESBS camera inspections.


Adult Fish Passage Facilities

On August 10, 12 and 14, the McNary fisheries biologist performed measured inspections of the adult fishways.  Visual fish counts, video monitoring of adult lamprey passage and ladder exit water temperature monitoring continued.     

From 2100 to 0400 hours each day, nightly lowering of SFEW1, SFEW2, NFEW2 and NFEW3 for lamprey passage occurs.  Fisheries technicians have been monitoring the weirs when the juvenile system is in primary bypass.  Primary bypass will conclude with the start of trucking operations. 

Fish Ladders: Both ladders met all Fish Passage Plan during measured inspections.

Washington exit weir 340 still has a lower limit switch issue.  One low water alarm occurred this week.  Normal operation resume after the alarm was reset.  Debris loads along the north shore are gradually decreasing.  Facility personnel continued to monitor and clean the Washington exit regularly.  At the Oregon exit, traveling screen differential measurements were satisfactory and no problems were evident.

Fishway Entrances and Collection Channel:  Spill turbulence and hydraulic gradients continue to make it difficult for the project to maintain entrance weir depth and calibration.   

Biologists found all Washington Ladder inspection points in criteria.  On August 13, the technical staff resolved the previously reported continual movement of entrance weirs in a 1.5 feet band by adjusting the weir set limits.  The weirs were never found out of criteria.       

All week, the south powerhouse entrance weir, SFEW1, measured depths ranging from 7.9 to 8.8 feet.  On August 12 and 14, SFEW2 measured depths of 8.5 and 8.3 feet, respectively.  It is possible the stilts on SFEW2 are affecting the flow out of the south entrances.  The facility was able to maintain the south pool differential between 1.1 to 1.2 feet.  On August 13, SFEW1 and SFEW2 underwent scheduled maintenance.  All other Oregon inspection points were in criteria.  Collection channel velocities averaged 1.7 feet per second.  Fish facility personnel continued to manually measure channel surface velocities as the permanently mounted meter remains out of service.

Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 operated with blade angles of 30 degrees with no interruptions in service.  Pump 2 remains out of service for major overhaul which will require a contract.  The juvenile facility continues to provide the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD turbine also had no interruptions in service this week.                      

Juvenile Fish Passage Facility

The spring-like bypass season continues with alternating days of primary and secondary bypass operations.  The switch between the 2 bypass modes takes place every morning at 0700 hours.    No deviation from this schedule occurred.  This week, 72,000 smolts and 260 juvenile lamprey were routed through the secondary bypass.  This mode of operation is slated to end with the start of collection for truck transport on August 17.  

Forebay Debris/Gatewell Debris/Oil: Heavy debris accumulations were noted along the powerhouse and along the spillway this week.  High flows, weather and project operations continued to affect debris distribution.  Currently, north winds have moved much of the debris to the Oregon shore.  Trash rack differentials were satisfactory and no racks were cleaned this week.  One problem was noted in gatewell slot 7B his week.  An ESBS rope was removed from the orifice inflow. 

ESBSs/VBSs:  ESBSs are deployed in all turbine units except unit 3 which is out of service until January 2013.  Unit 3 ESBSs are currently being rehabilitated.  The ESBSs in slots 1A and 7C remain in transducer bypass mode.  Operators reset the screens in slots 1A and 7C after a biologist noted their cleaning brushes were not traveling to the end of the screen.  Camera ESBS inspections took place in turbine units 9, 10 and 12 on August 14.  All inspected screens were found in satisfactory condition.  Unit 10 was already out of service.  The fish facility staff continued to monitor VBS differentials finding three screens out of criteria.  On August 10, 11, 13 and 14, the project cleaned these screens and 19 others.  VBS rehabilitation continues with work scheduled to begin soon at units 3 and 8 which are out of service.     

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: This week, 42 orifices were in use and no blockages were observed other than the ESBS rope removed from orifice slot 7B as mentioned above.  The transition screen cleaner remains out of service until a channel shutdown occurs, otherwise all automated systems operated satisfactorily.  The fisheries staff continued to monitor the channel during all shifts when in primary bypass mode and during VBS cleaning operations.

Transportation Facility:  During the “spring” bypass season, both bypass modes return all fish to the river.  PIT tag detection occurs in the full flow pipe during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring occurs only during secondary bypass operations.  The primary (A and B) selection by code PIT tag slide gates were inactivated on August 15 at 0700 hours with the conclusion of the Pacific Northwest National Laboratory (PNNL) tag retention study (see below).  The secondary (C and D) PIT/bypass gates remained off and open.  Facility staff continued to turn the sample gates off or on at 0700 hours each day so the gates will be functional only during secondary bypass operations.  Ice block checks of the return to river lines revealed no blockages.  However, due to the new location of the bypass outfall and high tailwater elevations, the fisheries staff is having difficulty seeing the ice blocks exit the pipe.  The facility staff continued fish trailer preparation for truck transport season.  Collection for transport is slated to begin August 17.       

A contractor built access ways to the flume and adult PIT tag detector near the separator.  A “kill” switch for the full flow flume flush line was also added.  The ground to main flume access walkway was also reinforced.       

Transport Summary:  Collection for truck transport will begin August 17 at 0700 hours, followed by the departure of the first truck on August 18.   

River Conditions

River conditions during the week are outlined in Table 2 using data provided by the smolt monitoring staff.  The data day is from 0700 to 0700 hours.  The summer spill program calls for 50 percent of flow being spilled.  This requirement was met.  Since August 10 at 0600 hours, the project has been keeping the forebay elevation between 339.0 and 340.5 feet elevation to maintain adequate navigational water depths at Ice Harbor Dam.  These higher elevations could have a slight impact on the ladder exit and juvenile collection channel operations.  This forebay configuration is slated to end midnight, August 31.     

Routine water temperature monitoring efforts across the project began June 15.  This data is being reported separately.

Table 2.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity*

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	226.9
	203.5
	113.6
	102.1
	69.2
	67.6
	6.0
	     6.0


*Control room data.
Other
Inline Cooling Water Strainers:  The last cooling water strainer inspections took place on August 7.  Six lamprey and 10 smolts were recovered.  The next cooling water strainer examination will occur in early September. 
Invasive Species:  The next zebra mussel trap examination will occur in late August.       

Avian Activity:  Corps technicians continued bird counts.  Tailwater counts (exclusive of the bypass outfall) included occasional sightings of a tern and a cormorant.  Only an occasional tern was seen at the bypass outfall.  High counts in forebay locations included 20 juvenile gulls and 3 ospreys.  The gulls were observed resting on forebay debris.  Gulls and cormorants continued to be seen on the rocks by the Washington shore boat dock.  Overall, bird numbers appear to be decreasing.  APHIS hazing activity concluded August 4.  The propane hazing cannons are operating well.  

The bypass outfall water cannon remained out of service.  District personnel have contracted for the installation of a second pump to restore service when river flows recede.  On August 16, a contractor replaced some of the missing outfall pipe walkway grating.  Later that day, contractors found the original water cannon pump that was lost during spring runoff.  Installation of a second pump and the completion of walkway grating repairs are expected in late September.             

Research:  Current onsite research includes the Gas Bubble Trauma (GBT) examinations, the adult lamprey passage study and ODFW angling efforts to sample Northern Pikeminnow and other fish species that prey on smolts.  The Oregon exit traveling screen study has been rescheduled for next year.  

Until August 15 at 0700 hours, PNNL researchers continued to utilize the PIT tag sort by code system to recapture and evaluate tag loss rates of subyearling Chinook fitted with neutrally buoyant external JSAT tags.  As mentioned above, the sort by code system was shut down with the conclusion of this study.  
The juvenile salmonid passage study concluded August 10.  Above water equipment removal is now in progress. 
Project:  Ice Harbor

Biologist:  Mark Plummer 

Biological Technician:  Stephen Jeffers
Dates: August 10 - 16, 2012
Turbine Operation
Turbine units 1 – 3 were available for operation this reporting period.  Turbine 4, 5, and 6 remain out of service. 

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fish passage ways August 13, 14, 15 and 16.
Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  Aquatic vegetation is building up on the south fish ladder picketed leads requiring more frequent cleaning.
Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with a depth of 8.2 feet, off sill with a depth of 8.3 feet, on sill with a depth of 8.0 feet and on sill with a depth of 8.0 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 7.6 feet, on sill with a depth of 8.0 feet, on sill with a depth of 8.0 feet and on sill with a depth of 8.0 feet.  The north shore entrance (NSE) was on sill with a depth of 7.0 feet, on sill with a depth of 7.7 feet, on sill with a depth of 7.9 feet and on sill with a depth of 7.6 feet.  The NSE and NFE are currently being operated in manual mode due to tailwater fluctuations caused by spill.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  Channel/tailwater differential criterion is 1 – 2 feet.  All out of criteria inspection points are reported to the shift operator for adjustments.  Channel velocities readings ranged from 2.3 fps – 2.9 fps.  Channel velocity criterion is 1.5 fps – 4.0 fps.
Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  Seven of the 8 south shore fish pumps were operated without problems.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.  

STSs/VBSs:  The STS screens were switched over to the “cycle- run” mode on August 14th as the average length of subyearling Chinook are now well above 120mm at the Lower Monumental Juvenile Fish Facility as per Fish Passage Plan.  August STS/VBS inspections for turbine units 1, 2, and 3 are scheduled for August 20 and 22.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was placed into operation March 19, 20 orifices are open.  No problems to report.    
Juvenile Bypass Facility:  The bypass was placed into operation March 19.

Juvenile Fish Sampling:  The last sample of the 2012 season occurred July 12.

Removable Spillway Weir:  The RSW is in operation.  Spill for fish began April 3, 2012.

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	32.2
	26.7
	22.1
	16.7
	71
	70
	5.3
	5.0


*Unit 1 scrollcase temperature.
Other

Inline Cooling Water Strainers:  Cooling water strainer inspections for turbine units 1, 2, and 3 are scheduled for August 20 and 22.

Invasive Species: No zebra mussels were observed during adult fishway inspections.  

Project:  Lower Monumental
Biologists: Bill Spurgeon and Elizabeth Lindsey
Dates: August 10 - 16, 2012
Turbine Operation

All available turbine units are being operated within the 1% operation hard constraint criteria.  Unit 2 was out of service from 1641 hours on August 9 to 1513 hour on August 10 due to the turbine pit flooding during emergency diesel generator acceptance testing.  Unit 5 was out of service from 1359-1414 hours and from 1424-1425 hours on August 10 for testing the emergency diesel generator system.  Unit 1 was out of service from 0830-0913 hours on August 13 for headgate cylinder removal.  Unit 4 was removed from service at 0945 hours for six year annual maintenance. 

Adult Fish Passage Facility

The adult fishway was inspected by Corps and PSMFC/State biologists on August 10, 12, 13, 15, and 16.   

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  

Fishway Entrances and Collection Channel: NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.
SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 5.4’, 5.4’, 5.4’, 5.2’, and 5.3 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.

SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 5.7’, 5.6’, 5.7’, 5.6’, and 5.5 feet.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.

The collection channel velocity remained in criteria (1.5 - 4.0 ft/sec) this week. 
Auxiliary Water Supply System: All AWS pumps were in service and operating during this period. 

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0.0 square yards of forebay debris observed during this report period.  Gatewell debris ranged from 0-15% surface coverage.   No oil was observed in the gatewells this week. 

STSs/VBSs:  STS operations remain in cycle run mode.  Unit 5 and 6 STSs were inspected on July 31, August 1, and August 2.  STSs associated with units 1, 2, 3, and 4 were inspected on August 9.  All screens passed inspection. 
Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 21 orifices open.  The primary dewaterer automatic weirs remain set at 528.1 feet to eliminate sudden water level fluctuations in the separator.    

Collection Facility:  The facility is in collection for transport mode.  

Transport Summary:  Barging ended on August 16.  Alternate day midi-tanker transport will begin with the first truck departing on August 18. 

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average
River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature
(oF)*
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	30.6
	25.1
	17.0
	12.3
	71.0
	69.0
	5.0+
	5.0+


*Scrollcase temperatures.
Other

Summer spill operations for fish passage was initiated at 0000 hours on June 21.  

Inline Cooling Water Strainers:  Cooling water strainers were inspected on August 8.  No live lamprey was recovered.   Mortalities included 3 lamprey, 4 Siberian prawns, and 2 undetermined species. 

Invasive Species: There were no zebra mussels observed at the monitoring stations on August 5.

Avian Activity: Piscivorous bird numbers remained low this week.  Cormorants and gulls were the prominent species observed.  Hazing ended on June 2. 

Fish Salvage: The unit 4 scrollcase was dewatered on August 14, no fish were present.  

Project:  Little Goose

Biologist: Richard Weis
Dates: August 10 - 16, 2012
Turbine Operation

Turbine units 1 – 3 were available for service for all of this report period.  Turbine units 4, 5 and 6 remained out of service for annual maintenance and exciter replacement.   Unit 5 was returned to service on August 16.  All available turbine units were operated within the 1% efficiency criteria.

Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway August 10, 13 and 14.
Fish Ladder:  The ladder exit head differentials ranged between 0 and 0.1 feet (criteria < 0.5 ft.).  Water depths over the weirs remained steady at 1.2 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials ranged between 0 and 0.1feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactorily.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.7 and 2.1 feet (criteria 1.0 to 2.1 ft.).  SSE weir depths ranged between 7.8 and 8.2 feet (criteria ≥8.0 ft). NPE weirs rested on sill and depths ranged between 4.6 and 5.6 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 5.0 and 6.0 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged from 1.6 to 1.9 fps near the SSE and 2.1 to 2.7 fps near the NSE.   On July 29, collection channel subsurface water velocity measured 2.63 fps (criteria 1.5 to 4.0) near the NPE.

Auxiliary Water Supply System:   All fish pumps operated within criteria this report period.
Juvenile Fish Passage Facility
Forebay Debris/Gatewell Debris/Oil:  Nothing significant to report. 

Spillbay Weir:  The spillbay weir was not in service during this report period.

ESBS/VBS:   Drawdown measurements across ESBSs/VBSs associated with turbine unit 1 was performed on August 9.  All screens measurements indicated no debris buildup.  

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection system was operated throughout this period with 22 open orifices.

Transportation Facility:  The facility continued collection for transport.  Daily smolt collection estimates ranged between 165 and 852 and totaled 3,157 for the week.  Descaling and mortality rate for the period was 0.2% and 1.2% respectively.  Five adult pacific lamprey fallbacks were collected and transported to one mile above the dam and released in good condition.  
Transport Summary:  All barging operations were satisfactorily completed.  The last barge departed Little Goose on August 16.  The first truck is scheduled for August 18.
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	30.5
	26.8
	10.4
	9.3
	72.5
	69.4
	6.0
	4.8


*Ladder temperature.

Other

Inline Cooling Water Strainers:  All cooling water strainers were inspected on August 16.  No fish were observed.   

Invasive Species:  The zebra mussel substrate monitor was inspected on August 6.  No mussels were observed.  The next inspection is scheduled for September 6.

Avian Activity:   Piscivorous birds observed in the vicinity of the dam during the week included up to 6 seagulls and 12 cormorants.     

Project:  Lower Granite

Biologist(s):  Mike Halter and Ches Brooks 

Dates: August 10 - 16, 2012
Turbine Operation

Lower Granite had turbine units 2, 3, 5 and 6 available for power generation at the beginning of the report period.  Turbine unit 1 is out of service in order to correct the turbine blade angles and conduct annual maintenance.  The tentative return to service date for this unit is August 31.  Turbine unit 4 is out of service for cavitation repair.  As planned, all available units were taken out of service at 0600 hours on August 13, in order to conduct Doble testing.  Turbine units 2 and 3 were made available for power generation each day of the testing at approximately 1700 hours.  Testing was completed and turbine units 2, 3, 5 and 6 returned to normal service at 1712 hours on August 16.  All available turbine units were operated within the 1% operation criteria.                

Adult Fish Passage Facility

On August 10, 11, and 12 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.     

Fish Ladder: All criteria were met.  The differential between the forebay and the adult fish ladder exit was at 0.4 feet on the August 10 and 11 inspections (just below the maximum acceptable level).  Project personnel are investigating having a diver examine this exit.   

Fishway Entrances and Collection Channel:  Head differential readings were within criteria at all adult fishway entrances during the weekly inspections.

Weir depths at the south shore fishway entrances also met criteria during all weekly inspections.  The north powerhouse fishway entrances were on sill on all inspections this week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 4.8 to 5.2 feet.  Weir depths at the north shore entrances ranged from 3.5 to 4.5 feet on the weekly inspections.  North shore weir depths are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  

Velocity readings in the adult fishway collection channel transition pool area ranged from 1.11 to 1.26 feet per second and averaged 1.18 feet per second during the weekly inspections.
Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.  Fish pumps 2 and 3 were run all week.        

Juvenile Fish Passage Facility

 The last daily barge departed Lower Granite on May 28.  Every other day barging began on May 30.  Fish barges departed Lower Granite on the even numbered days of the month during August.  The last barge left Lower Granite on August 16, with the first fish transport truck scheduled to leave on August 18.  The juvenile fish facility sample rate remained at the 50% level until 0700 hours on August 16, when the sample rate was set at 100% in order to facilitate fish trucking operations.    

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; none was removed.   

ESBSs/VBSs:  VBS/ESBS video inspections last took place on June 22 - 23.  All screens associated with turbine units were inspected and no problems were noted.  The next inspections are scheduled for August.            

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Juvenile fish collection gallery orifices were backflushed at regular 3 hour intervals all week.  Debris levels were fairly light during the report week.  

Transportation Facility:  The JFF operated smoothly during the week.  There were no operational problems of any kind with fish collection, fish sampling, or fish transportation equipment.  Avian hazing activities concluded for the season on June 30.   

Due to the presence of a few juvenile lamprey in the raceways, lamprey friendly tail screens (with larger mesh openings) were deployed in all operating raceways on June 10 and remained in place during this report week.

Transport Summary:  The first every other day barge left Lower Granite on May 30.  The final research barge of the season (index barging) departed Lower Granite on April 26.  Research fish are now being barged along with the general fish collection.  Every other day fish barging operations have progressed smoothly until the conclusion of barge operations on August 16.   

Removable Spillway Weir:  Mandatory spill operations began at 0000 hours on April 3. The RSW was operated in support of general spill operations.
River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	29.4
	24.9
	16.5
	14.9
	64.7
	64.3
	5.0
	5.0


*Scrollcase temperature.

Other

Visual adult fish counts at the adult ladder are taking place between the hours of 0400 and 2000.  Visual fish counts began on April 1 and are scheduled to continue through October 31.

Inline Cooling Water Strainers:  Cooling water strainers were last inspected for lamprey entrainment on July 31.  A total of 9 lamprey were found in the strainers over a combined run time of 1,447.8 unit hours.  The next cooling water strainer inspections are scheduled for late August.

Invasive Species:  The zebra mussel trap near the adult fishway exit was examined for zebra mussels on August 12.  None were found.  The next inspection is scheduled for early September.  

Research

 Adult Fish Trap Operations:  Adult fish trap operations continued with a sample rate of 10%.  Scale samples will be taken from one out of every 25 hatchery steelhead.  All wild steelhead captured will be PIT-tagged and scale and genetic samples taken.  Any previously PIT-tagged steelhead (either hatchery or wild) will have both scale and genetic samples taken for verification purposes.  

On August 12 at 0700 hours the adult fish trap was shut down because of high water temperatures in their system.  As of August 19 (after the close of this report period) the trap remained closed.  

United States Fish and Wildlife Service (USFWS), United States Geological Service (USGS), NMFS-Early Life History, migratory behavior and survival of fall Chinook salmon in the Snake River:  The goal of this study is to provide information to fishery managers to maximize the effectiveness of summer flow augmentation and understand how summer flow augmentation affects water temperature, water velocity, juvenile fall Chinook salmon migratory behavior, and juvenile fall Chinook salmon survival in Lower Granite Reservoir. The separation-by-code system at LGR will be used to recapture some of the fish PIT-tagged during beach seining to allow growth calculations and to photograph fish for morphological assessment.
