U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#31-2012
Project:  McNary

Biologists: Carl Dugger and Bobby Johnson
Dates: September 28 – October 4, 2012
Turbine Operation

McNary had 8 to 9 turbine units available for power generation this week.   On October 1, the project ran unit 14 for 5 hours before unwatering the unit.  This procedure helped reduce the number of fish that need to be removed when unwatering the unit.  On October 3, the operators took unit 9 out of and into service quickly to reduce the VBS differential in slot 9B.  Although no units ran outside the 1% efficiency criterion this week, unit 1 was operated at the lower end of the criterion from September 29 to October 1 due to two VBS differentials being out of criteria.  Unit outages are recorded in Table 1.    

Table 1.  Unit Outages at McNary Dam.

	Units
	Outage Dates
	Outage Length
	Reason

	3
	Jun 4 to Jan 30.
	8 months. 
	Rewind contract.

	8
	Jun 11 to Jan 30.
	8 months.
	 Rewind contract.

	14
	Sep 18 to unknown.
	Unknown.
	Alignment issue.

	11 and 12
	Sep 3 to Oct 25.
	3 months.
	Install digital relay.

	10
	Oct 1 to 4.
	3 days.
	Annual maintenance.

	2
	Oct 1.
	4 hours.
	Unit in and out of service for exciter testing.

	6
	Oct 3.
	8.5 hours.
	Tap the hub.


Adult Fish Passage Facilities

On September 28, 30 and October 2, the McNary fisheries biologist performed measured inspections of the adult fishways.  Visual fish counts continued.  Adult lamprey video counts and the nightly lowering of SFEW1, SFEW2, NFEW2 and NFEW3 for lamprey passage concluded September 30.          

Fish Ladders:  During measured inspections, both ladders met all Fish Passage Plan criteria.  Debris loads along the north shore remain low.  At the Oregon exit, screen differential monitoring revealed no problems.  One differential alarm occurred which the operators reset without incident.  Woody debris along the Oregon shore remains light and scattered with location dependant on wind direction.  On October 3, following high overnight winds, maintenance staffed cleaned the picketed leads at both exits.  Crews also cleaned the Oregon exit traveling screens’ debris trough.      
Fishway Entrances and Collection Channel:  Since the end of routine spill for fish passage, the project has been able to maintain entrance weir depth and calibration more consistently.     

All Washington ladder inspection points met criteria this week as did most Oregon ladder inspection points.   On September 30 and October 2, south powerhouse entrance weir, SFEW1, measured depths of 8.9 and 8.8 feet, respectively.  All week, SFEW2 measured depths between  8.6 and 8.7 feet.  It is possible the stilts on SFEW2 are affecting the flow out of the south entrances.  The project was able to maintain the south pool differential at 1.1 to 1.2 feet.  On September 30, the north powerhouse pool measured 0.8 feet.  These readings are typical this time of year due to low tailwater elevations.  All other Oregon ladder inspection points met criteria.     

Collection channel velocities averaged 1.5 feet per second.  The velocity meter remains out of the water due to a shortened cable.  Until this can be resolved, the fisheries crew will continue to measure surface velocity manually.     

Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 were operated with blade angles of 30 degrees with no interruptions in service.  Pump 2 remains out of service for major overhaul which will require a contract.  The juvenile facility continues to provide the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD had no interruptions in service this week.  
Juvenile Fish Passage Facility

The fall bypass season began at 0001 hours on October 1 with the end of fish collection for truck transport.  The last truck departed the facility the same day.  The fish collection this week included 2,100 smolts and 9,225 juvenile shad.  No juvenile lamprey were collected.  

Forebay Debris/Gatewell Debris/Oil:  At the start of this report period, forebay debris was light and consisted of a mixture of wood and milfoil.  This changed October 2 when a debris removal operation took place.  Project personnel again utilized a small tugboat and log boom to corral and move one load of floating woody debris over to the spillway.  The woody debris was subsequently spilled and passed into the tailrace without incident.  The operation cut the floating forebay debris accumulation in half.  The remaining debris now consists mostly of milfoil.  That night, northeast winds scattered the remaining debris along the earth fill portion of the project towards the Oregon ladder exit.  The highest gust recorded was 94.8 mph.  The fisheries staff continued to monitor trash rack differentials and no problems were found.  No racks were cleaned and gatewell observations were satisfactory.  

ESBSs/VBSs:  ESBSs are deployed in all turbine units except unit 3 which is out of service until January 2013.  ESBSs in slots 1A, 1B and 7C remain in transducer bypass mode.  Operators adjusted ESBS cleaning brush travel distances in slots 1B, 2C and 7C following observations that the brushes were not traveling to the end of the screen.  The ESBSs in slots 1B and 7B were reset twice and the screen in slot 2C was reset once this week.  ESBS camera inspections were not conducted during this report period.    

The fisheries staff noted 12 VBSs exceeding differential criteria this week.  Two of these out of criteria screens were associated with unit 1.  Since some of the debris on these 2 screens had sloughed off the previous week, project elected to operate this unit at reduced electrical load until October 1 when the VBSs were cleaned.  The remaining out of criteria screens and 4 other screens were washed on September 28 and from October 2 through 4.  Most cleaning took place after the above mentioned wind storm on October 2.  On October 3, an operator “burped” turbine unit 9 by quickly taking it into and out of service to reduce the VBS differentials in slot 9B.  This screen was cleaned on October 4.  Turbine unit 3 VBS slots are being used as staging areas during VBS swaps as the screens normally in this location are being rehabilitated.  As mentioned above, turbine unit 3 is out of service until January, 2013. 

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: This week, 42 orifices were in use.   Because the ESBS rope in slot 7A was frayed, a biologist previously closed the slot’s south orifice and opened the north one.  Biologists continued to open and close orifices associated with units 3 and 8 as needed in support of VBS rehabilitation efforts (these units are out of service).  These changes are needed to maintain proper collection channel elevations.  On October 2, from 0900 to 1040 hours orifices associated with turbine units 1 and 2 were closed in support of the above mentioned forebay debris removal operation.  During this time, additional orifices were opened in units 4, 5 and 6.  The wind storm that followed the debris removal operation did wash some debris into the collection channel.  However, the fisheries technician on duty monitored the collection channel and prevented the debris from becoming a serious problem.  

A collection channel power outage took place October 2 from 1426 to 1506 hours in support of breaker switch maintenance in the power house.  During this period, the dewatering side valves which regulate collection channel elevation were removed from service.  A biologist monitored the channel during the outage and returned the valves to service after power was restored.  The channel was very stable during the outage.    

Otherwise, all systems operated well in automatic mode.  Electricians have not yet lubricated the rectangular screen cleaner limit switch mentioned in last week’s report, but this work has been scheduled.  The transition screen cleaning brush remains out of service until a channel shutdown occurs.  The backup compressor used to supply air to the rectangular screen air bubbler remains out of service as the powerhouse air supply continues to be very reliable.  The compressor had been running continuously due to a failed switch.  The compressor will remain off until the switch is replaced.

Fish facility staff began monitoring the channel 24 hours per day, 7 days per week at 0001 hours on October 1.  Prior to that time, collection channel monitoring was taking place on day shifts, during VBS cleaning activities and during forebay debris removal operations.

Transportation Facility:  Collection for truck transport continued until 0001 hours on October 1 when the fall primary bypass season began.   Although secondary PIT tag detection and fish sample gate operation ceased with the end of fish collection, the full flow bypass PIT tag detector remains in service.  Sample fish were examined for identification, condition, and injuries as usual the same morning.  All remaining fish were routed to the raceways, and then loaded into the fish trailer.  
The October 2 evening wind storm mentioned caused some minor damage and left debris.  One flume cover was damaged in the storm and the wind sock was lost.   Facility staff quickly cleaned up the debris.      

Transport Summary:  Every other day trucking concluded with last trips occurring on September 29 and October 1.  There are no problems to report.     

River Conditions

River conditions during the week are outlined in Table 2 below.  Until October 1, the data day ran from 0700 to 0700 hours utilizing information provided by the smolt monitoring staff.  Since this source of information was no longer available, control room data is being used.  The control room report period runs 0000 hours to 2400 hours daily.  The only spill occurring this week was the above mentioned debris spill on October 2.  From October 2 to 3, the gate at bay 13 was available for use in the split leaf configuration.              

Table 2.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	107.1
	78.4
	0.2
	0.0
	65.0
	64.0
	6.0
	     6.0


Other
Inline Cooling Water Strainers:  Cooling water strainer examinations took place on October 2 and no juvenile lamprey were found.  A single smolt mortality (each) was recovered from turbine units 1 and 7.  Turbine units 3 and 8 were not inspected as they have been out of service.      
Invasive Species: The zebra mussel trap was examined September 23.  No invasive species were found.  The next zebra mussel trap examination will occur in late October.                 

Predatory Bird Observations:  Bird counts concluded for the season on September 30.  Tailwater high counts (exclusive of the bypass outfall, from September 28 to 30) included16 gulls with an occasional cormorant.  Most of these were seen in the vicinity of the powerhouse, presumptively feeding on shad.  No birds were seen at the bypass outfall.  High forebay counts included 5 gulls.  No grebes were observed anywhere else on project.  Gulls continued to roost on the rocks by the Washington shore boat dock.  APHIS hazing activity concluded August 4.  

The bypass outfall water cannon remained out of service.  Current plans are to install a second pump and complete walkway grating repairs during the late November to the end of December time period.  The propane hazing cannons continued to operate well until October 4 when they were removed from service.  

Research:  The adult lamprey passage study is now the only onsite research in progress.  This work is taking place only at the ladder exits.  On September 28, district personnel removed the video monitoring equipment at the adult return to river line.  The equipment removal date was erroneously noted as September 27 in last week’s report.  Causal observations of the full flow flume revealed no problems with adult passage.  A November dive is planned for removal of below water equipment used for the juvenile passage study.    

Fish Salvage:  On October 2, a fish salvage operation took place in the unit 14 scroll case.  This turbine unit operated for five hours to force fish out of the scroll case and draft tube.  Tailwater stoplog installations were completed within 1.5 hours of shut down.   No fish were found in the scrollcase.  On October 3, following the unwatering of the draft tube, 26 sturgeon and 23 catfish were recovered from the draft tube.  Six sturgeon and 7 catfish were lost.  All of the lost fish appeared to have been dead for quite some time.  Most sturgeon lengths ranged from 12 to 18 inches.  One of the live sturgeon recovered was approximately 3 feet in length.  One of the lost sturgeon was approximately 4 feet long.  All but one catfish were adults with the longest being about 2.5 feet in length.   

Project:  Ice Harbor

Biologist:  Mark Plummer 

Biological Technician:  Stephen Jeffers
Dates: September 28 – October 4, 2012
Turbine Operation
Turbine units 1-3 were available for operation this reporting period.  Turbine units 4, 5, and 6 are currently unwatered.  Turbine units 1-3 were out of service for short periods on September 30 in support of transmission lines 1 and 2 disconnections.  These disconnections allowed the new unit 6 transformer to be moved into position.  Turbine units 4-6 remain out of service.

Adult Fish Passage Facilities

Fish facility personnel inspected the adult fish passage ways October 1, 2, and 3.
Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  
Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 7.7 feet, off sill with a depth of 6.9 feet and off sill with a depth of 7.7 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 7.5 feet, off sill with a depth of 6.9 feet and off sill with a depth of 7.8 feet.  The north shore entrance (NSE) was off sill with a depth of 7.7 feet, off sill with a depth of 6.9 feet and off sill with a depth of 7.5 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill at 332.25 elevation per the Fish Passage Plan.  Physical measurements during these inspections indicated fishway entrances were out of criteria and off sill by 0.1 to 0.2 feet.  Fishway entrance weirs are hitting lower limit prior to the sill elevation indicated in the Fish Passage Plan.  Channel/tailwater differential criterion is 1 – 2 feet. Out of criteria inspection points are reported to the shift operator for adjustments.  Channel velocities readings ranged from 2.6 fps - 2.9 fps.  Channel velocity criterion is 1.5 fps – 4.0 fps.
Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  Seven of 8 south shore fish pumps were operated without problems.  On September 20, south shore fish pump 4 was placed out of service at 0906 hours due to excessive gearbox oil leakage.  

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.  

STSs/VBSs:  The STS screens are in cycle run mode.  No problems were found during the September 4 and 24 STS/VBS inspections.  The next STS/VBS inspections are tentatively scheduled for October 22 and 24.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was placed in operation March 19, 20 orifices are open.  No problems to report.    
Juvenile Bypass Facility:  The bypass was put into operation March 19.

Juvenile Fish Sampling:  The last sample of the 2012 season occured July 12.

Removable Spillway Weir:  Routine spill for fish passage ended September 1.

River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	26.6
	11.4
	0.0
	0.0
	64
	64
	6.8
	6.4


*Unit 1 scrollcase temperature.
Other

Inline Cooling Water Strainers:  Cooling water strainer inspections last took place September 24 in turbine units 1, 2 and 3.  Although no lamprey were found, a total of 7 juvenile shad mortalities were recovered over a total operating time of 1,346 hours.  Units 4, 5 and 6 were not inspected as they were out of service for maintenance and had not been recently run. 

Invasive Species:  No zebra mussels were observed during adult fishway inspections.  

Project:  Lower Monumental
Biologists: Bill Spurgeon and Elizabeth Lindsey
Dates: September 28 – October 4, 2012
Turbine Operation

The units are being operated within the hard constraint 1% operational criteria.  Turbine unit 4 was removed from service at 0945 hours August 13 for six year annual maintenance and remained out of service through this period.  Unit 5 was out of service from 1135 hours on October 1 to 1556 hours on October 3 due to a problem with the voltage regulator. 
Adult Fish Passage Facility

The adult fishway was inspected by Corps and PSMFC/State biologists on September 28, 29, 30, and October 3, and 4.   

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  

Fishway Entrances and Collection Channel: NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.
SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 7.4’, 7.6’, 7.3’, 6.6’, and 6.5 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.

SSE1 weir gate was in depth criteria or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth reading was 7.5 feet.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.

The collection channel velocity remained in criteria (1.5 - 4.0 ft/sec) this week. 

Auxiliary Water Supply System:  All AWS pumps were in service and operating during this period. 

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 43.0 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-23% surface coverage.  No oil was observed in the gatewells this week. 
STSs/VBSs:  STS operation remains in cycle run mode.  STSs were last inspected on September 4, 5 and 6.   A row of loose clips was observed on the STS in gatewell slot 2B on September 4.  The screen was repaired as a preventative measure on September 5.    
Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 18 orifices open.  The primary dewaterer automatic weirs were set at 528.2 feet elevation on September 26 to eliminate the hydraulic jump that occurs in the transition area of the transport flume upstream of the separator.    

Collection Facility:  Facility mortality exceeded 6% on September 30.  Percent mortality was 33.3 (1 mortality out of 3 juvenile salmonids collected).  No other problems occurred.  Facility operation was switched to primary bypass at 0700 hours on October 1 as the Lower Monumental Dam transport year ended.  
Transport Summary:  Alternate day midi-tanker transport occurred through October 1 at 0700 hours.  Collection for transport ended and post transport primary bypass began at that time.  The last truck departed on October 1. 
River Conditions

River conditions during the week are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	25.8
	12.2
	0.0
	0.0
	65.0
	64.0
	5.0+
	4.0


*Scrollcase temperatures.

Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected on October 2.  No live lamprey were recovered.   Mortalities included 4 Siberian prawns and 9 juvenile shad. 
Invasive Species: There were no zebra mussels observed at the monitoring stations on October 2.
Avian Activity: Piscivorous bird numbers remained low this week.  Gulls, cormorants, and grebes were the prominent species observed.  Hazing ended on June 2. 
Project:  Little Goose

Biologist: Richard Weis
Dates: September 28 – October 4, 2012
Turbine Operation

Turbine units 1, 3, and 6 were available for service for throughout this report period.  Turbine unit 4 returned to service on September 29 after exciter replacement.  Unit 2 began a forced outage October 2 due to field grounding problem.  This outage extended through the remainder of the report period.  Unit 5 was taken out of service for exciter replacement on October 2.  All available turbine units were operated within the 1% efficiency criteria.

Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway on September 28, 30, and October 2.
Fish Ladder:  The ladder exit head differentials remained steady at 0 feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.1 and 1.2 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials remained steady at 0 feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactorily.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.2 and 1.5 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.3 and 9.1 feet (criteria ≥8.0 ft). Depths for NPE1 ranged between 6.4 and 7.6 feet (criteria ≥7.0 ft or on sill).  Due to 2 pump operation and decreased channel to head differentials, NPE2 was closed on September 27.  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 6.8 and 8.0 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged from 0.8 to 1.6 fps near the SSE and 2.3 to 2.5 fps near the NSE.  On September 25, (with two pump operation), the collection channel subsurface water velocity measured 2.2 fps (criteria 1.5 to 4.0) near the NPE.  

Auxiliary Water Supply System:   On September 25 at 0645 hours, fish pump 3 was removed from service in support of water leak repairs.  Following these repairs fish pump 3 was unable to restart and remained out of service.   Troubleshooting efforts to determine the problem with fish pump 3 is ongoing.  Operating speeds of the remaining two pumps (RPMs) were increased to provide additional water into the fish collection channel.  On September 27 at approximately 1800 hours, NPE 2 was raised and closed to increase channel to tailwater  head differentials.  

Juvenile Fish Passage Facility
Forebay Debris/Gatewell Debris/Oil:  Up to 700 square feet of debris floated in front of the unit intakes.   Unit 1 and 2 trash racks were raked October 2.  Racks associated with units 3, 4 and 6 were cleaned October 3.  Approximately 2 cubic yards of debris were removed this week.

Spillway Weir:  The spillway weir was not operated during this report period.  Summer spill for fish passage ended on September 1.
ESBS/VBS:  On October 1, unit 1 and 3 drawdown differentials were measured.  All measurements met criteria.  All ESBS screens operated satisfactory during the report period. Monthly manual ESBS tests indicated that all screens were in working order on October 3. 

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection system was operated with 18 open orifices without incident throughout this report period. 
Transportation Facility:  The facility continued fish collection for transport.  Sample rates remained at 100%.  Smolt collection totaled 51 fish for the week.  Descaling and mortality rates for this period was 1.4% and 2.0% respectively.  

Transport Summary:  Due to the low numbers of fish collected, Lower Granite continued transporting Little Goose fish during this period.  Salt in small concentrations of approximately 1 g/L is added to the midi-tank water to treat Columnaris disease and reduce stress.  All trucking operations were satisfactorily completed.  
River Conditions

River conditions during the week are outlined in Table 1.
Table 1.  River conditions at Little Goose Dam.
	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*
(oF)
	Water Clarity
(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	21.9
	17.2
	0
	0
	65.3
	64.9
	6+
	6.0


*Ladder temperature.

Other

Inline Cooling Water Strainers:  All cooling water strainers were inspected on October 1.  No fish were observed.

Invasive Species:  The zebra mussel substrate trap was inspected on September 6.  No mussels were observed.  The next inspection is scheduled for October 9.

Avian Activity:   Piscivorous birds observed in the vicinity of the dam during the week included up to 22 seagulls, 20 cormorants and 28 grebes.     

Project:  Lower Granite

Biologist(s):  Mike Halter and Ches Brooks 

Dates: September 28 – October 4, 2012
Turbine Operation

Lower Granite had turbine units 1, 2, 3 and 6 available for power generation at the beginning of the report period.  Turbine unit 5 is out of service for cavitation repair with an indefinite return to service date.  Turbine unit 4 is out of service for cavitation repair also with an indefinite return to service date.  Turbine units 1 and 2 were out of service the morning of October 2 for three hours in support of trash rack raking in slots 2A and 2B.    

Because of elevated descaling rates (as outlined below) turbine units 2 and 3, as of September 18, are being respectively operated as first and second turbine units in priority and unit 1 has been placed in last on, first off priority. Because this turbine unit has a fixed blade, the range of operation is more limited than is the case with an adjustable Kaplan blade.  These limitations may cause excessive gatewell turbulence which in turn may result in increased descaling rates. 
All operating turbine units were run within the 1% operation criteria during the week.
Adult Fish Passage Facility

On September 29-30, and October 3 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.  

Fish Ladder:  All criteria were met.  The differential between the forebay and the adult fish ladder exit ranged from 0.3 – 0.4 feet on inspections this week.   

Fishway Entrances and Collection Channel:  Head differential readings remained within criteria at the south shore and north powerhouse fishway entrances during the weekly inspections.  The head differential reading at the north shore fishway entrances was slightly out of criteria on the September 29 and October 3 inspections with readings of 0.9 feet (criterion 1.0’ – 2.0’).

Weir depths at the south shore fishway entrances met criteria during all weekly inspections.  The north powerhouse fishway entrances were on sill on all inspections this week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 6.7 to 8.0 feet.  Weir depths at the north shore entrances ranged from 4.8 to 7.3 feet on the weekly inspections.  North shore weir depths are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  

Velocity readings in the adult fishway collection channel transition pool area ranged from 0.88 to 1.09 feet per second and averaged 1.01 feet per second during the weekly inspections.

Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.   Fish pumps 1 and 3 were run all week.

Juvenile Fish Passage Facility

 The juvenile fish facility sample rate remained at 100% during this report period.        

Forebay Debris/Gatewell Debris/Oil:  The amount of floating forebay debris increased to approximately 350 square yards this week; none was removed.   

ESBSs/VBSs:  VBS/ESBS video inspections last took place on August 24.  The next inspections are scheduled for October.              

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Juvenile fish collection gallery orifices were backflushed at regular 3 hour intervals all week.  Debris levels remained light at these points during this report period. 
 Status of Elevated Descaling Rates at Lower Granite:  Due to continuing concerns over descaling rates, the project raked the A and B trashracks on turbine unit #2 on the morning of October 2 (The 2A trash rack was not raked previously due to the inability to clean it with turbine unit #1 in operation).  Some fine material was removed from trash rack 2A.  Some very large logs were removed from the bottom of the 2B trash rack. 

During the report period a total of 2,893 fish were sampled for descaling – of these 166 were counted as descaled – for an average descaling rate of 5.7%.  The descaling rate for the last report period was 6.3%.  As a comparison - during the same time period for the years 2006-2010 the average descaling rate was 5.6%.  The facility mortality rate was 1.59% for the report week. 

Transportation Facility:  Due to increasing numbers of jack Chinook passing through the separator bars and ending up in the lab sample, the facility installed a smaller series of separator bars to screen the jacks out of the sample.  These bars have proven quite effective in previous years.  The JFF operated smoothly during the week (except for the increased descaling rate noted above).  Avian hazing activities concluded for the season on June 30.  The sample rate remained at 100% during the week (as mentioned above).

Transport Summary:  Every other day fish barging operations concluded on August 16.   All fish barges have been returned to Lower Granite and are docked for maintenance work and winter storage.  Fish trucking operations began on August 18 using the pickup midi-tanker.  Collected fish numbers remained relatively low this week and well within the capacity of this transport vehicle.   Starting on September 5, Lower Granite began combined fish truck transport operations with Little Goose.  Combined transport operations with Little Goose will continue as long as fish numbers remain low.

Removable Spillway Weir:  The RSW was operated in support of general spill operations during the season.  Mandatory spill operations in support of fish passage ended on August 31.
River Conditions

River conditions during the week are outlined in Table 1.

Table 1:  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	24.1
	17.7
	0.0
	0.0
	65.7
	64.9
	5.0
	5.0


*Scrollcase temperature.

Other
Visual adult fish counts at the adult ladder are taking place between the hours of 0400 and 2000.  Visual fish counting began April 1 and is scheduled to continue through October 31.

Inline Cooling Water Strainers:  Cooling water strainers were inspected for lamprey entrainment on September 25.  No lamprey mortalities were found in the strainers over a combined run time of 965.3 unit hours.  The next cooling water strainer inspections are scheduled for late October.
Invasive Species:  The zebra mussel trap near the adult fishway exit was last examined on September 7.  No evidence of zebra mussels was found.  The next inspection is scheduled for early October.    

Research

Adult Fish Trap Operations:  Adult fish trap operations continued with a sample rate of 15%.  Scale samples will be taken from one out of every 25 hatchery steelhead.  All wild steelhead captured will be PIT-tagged and scale and genetic samples taken.  Any previously PIT-tagged steelhead (either hatchery or wild) will have both scale and genetic samples taken for verification purposes. 

Fall Chinook Transport:  Collection of adult fall Chinook for transport to Lyons Ferry Hatchery and the Nez Perce Hatchery at Cherry Lane continued during the week.   The Nez Perce are trucking fish on Saturday and Sunday and Lyon’s Ferry Hatchery is trucking fish Monday – Friday.  Chinook jacks are being collected during the week and trucked to Lyon’s Ferry on Mondays.  Trucking operations will continue into November (or until hatchery needs are met).
National Marine Fisheries Service (NMFS) Late Season Subyearling Fall Chinook Transportation:   
NMFS staff began PIT-tagging subyearling fall Chinook taken from the sample on September 6. The objective of this study is to assess the survival and returns of late season trucked and in-river subyearling fall Chinook. Approximately 50% of the marked fish will be transported and 50% will be bypassed to the river, 24 hours after recovering from PIT-tagging.
