 U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

FISH FACILITIES WEEKLY REPORT

#44-2012
Project:  McNary

Biologists: Carl Dugger and Bobby Johnson
Dates: December 28 - 31, 2012

Turbine Operation

McNary had 10 units available for power generation during this report period.  On December 28, and from December 29 to January 1 (72 hours), unit 8 was tested.  Following tests, the unit returned to service (after the end of this report period).  On November 1, the soft one percent criterion began.  At BPA’s request, units ran outside the criteria.  Unit outages are recorded in Table 1.    

Table 1.  Unit Outages at McNary Dam.

	Unit
	Outage Dates
	Outage Length
	Reason

	3
	Jun 4 to Jan 12.
	7.5 months. 
	Rewind contract.

	8
	Jun 11 to Jan 1.
	7.5 months.
	Rewind contract.

	14
	Sep 18 to Jan 30.
	4.5 months.
	Turbine bearing.

	10
	Nov 27 to Jan 31.
	2 months.
	Turbine bearing. 


Adult Fish Passage Facilities

On December 28, 30 and 31, the McNary fisheries biologist performed measured inspections of the adult fishways.  Video counts and monitoring of adult passage are in progress.  Video counts and monitoring will continue through February 28, except when the ladders are out of service for winter maintenance.  Preparations for winter outages are currently in progress.  

Fish Ladders:  During measured inspections, both ladders met all Fish Passage Plan criteria.   At the Washington exit, the general maintenance and fish facility staff continued to regularly clean tumble weeds from the trash racks.  Oregon ladder exit monitoring results have been satisfactory as have been traveling screen differential measurements.  However, tumbleweeds are being observed along the shore near the exit.  The traveling screen differential alarm did sound once during this report period, but nothing out of the ordinary was found.  Normal operations resumed after the alarm was reset. 

Fishway Entrances and Collection Channel:  All Washington ladder inspection points met criteria.  Entrance weirs continued to drift in and out of calibration possibly due to the current spill.   Through the current report period, both south powerhouse entrance weirs, SFEW1 and SFEW2, measured depths ranging from 8.0 to 8.2 feet.  It is possible the stilts on SFEW2 are affecting the flow out of the south entrances.  The project was able to maintain the south pool differential between 1.2 and 1.3 feet.  On December 30 and 31, the north powerhouse entrance weirs (NFEW2 and NFEW3), both measured depths of 8.8 feet.  This reading is probably due to the juvenile system being out of service.  All other inspection points met criteria.  Collection channel velocities averaged 1.5 feet per second.  The new velocity meter cable will be scheduled for installation during a day with low tailwater elevation in January.

Auxiliary Water Supply System:  For this report period, fish pumps 1 and 3 operated with blade angles of 30 degrees with no interruptions in service.  Pump 2 remains out of service for major overhaul which will require a contract. The juvenile facility remains out of service and is no longer providing the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD turbine unit had no interruptions in service.

Juvenile Fish Passage Facility

Maintenance  in the collection channel and the sampling - holding facility is in progress.  These facilities were previously unwatered and winterized.  
Forebay Debris/Gatewell Debris/Oil:  Forebay debris concentrations were light to moderate, consisting of a mixture of wood, tumbleweeds and milfoil.  The tumbleweed portion of this mixture appears to be increasing.  Debris distribution is mainly affected by wind direction.  The fisheries staff continued to monitor trash rack differentials.  No problems were found and no racks were cleaned.  Trash rack differential monitoring will continue through the winter.  In early January, four trash racks will be cleaned per the Fish Passage Plan.  All gatewells were in satisfactory condition except for slot 10C which remains unwatered.   

ESBSs/VBSs:  All ESBSs are currently raised.  Winter maintenance and VBS rehabilitations are in progress.  Fish facility staff will resume VBS differential monitoring in April when the ESBSs are reinstalled.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: Orifices remain closed for winter maintenance.  All systems are unwatered and out of service.  The repairs to the transition and rectangular screen cleaning devices along with other maintenance will occur.  Moisture continues to be seen in some of the channel air lines.  On January 2, a contractor will begin the replacement of the three metal forebay bulkheads facing the channel with concrete.  

Transportation Facility:  Winter maintenance continues.  All systems remain unwatered and shutdown.  Project welders continued rebuilding the porosity control screens.  Recently, the facility staff noted paint peeling from the recently constructed main flume.   This paint failure will be rectified under warrantee in the near future.   

Transport Summary:  Transport activity has ended for the season.         
River Conditions

River conditions during this report period are outlined in Table 2.  Reported data was compiled from COE websites and the control room.  The data day is from 0000 to 2400 hours.  Spill in excess of powerhouse capacity occurred all through this report period. 

Table 2.  River conditions at McNary Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	184.0
	166.7
	10.0
	2.3
	43.0
	42.0
	6.0
	     6.0


Other

Inline Cooling Water Strainers:  Main unit cooling water strainer examinations are scheduled to take place on January 8.  

Invasive Species:  The next zebra mussel trap examination will occur in late January.         

Avian Activity:  Formal bird counts and hazing are no longer taking place. During fishway inspections, cormorants and gulls were observed in the tailwater area.  Most cormorants were roosting on the navigation lock wing wall.   Gulls were also seen roosting, feeding in the powerhouse outflow or feeding in the spill.  Bird numbers appear to be fluctuating with outmigration of juvenile shad.  Migrating birds may be temporarily in the area at times, which can affect observation results.  

No birds have been observed at the bypass outfalls since December 20 when the bypass system was shut down. 

Only an occasional gull, cormorant or grebe was noted in forebay locations.  Gulls were occasionally observed on the rocks by the Washington boat dock.

Research:  There is no research is in progress at this time.   Research plans are being formulated for next spring.

Project:  Ice Harbor

Biologist:  Mark Plummer 

Dates: December 28 - 31, 2012

Turbine Operation

Turbine units 1, 2, 3, and 4 were available for operation this reporting period.  Turbine unit 2 went out of service December 31 at 0630 hours to replace the CEZ (125 volt direct current control panel).  This work was subsequently completed and turbine unit 2 returned to service January 2 (after the conclusion of this report period).  Turbine units 5 and 6 remain out of service.

Adult Fish Passage Facilities

Operators inspected the adult fish passage ways December 28, 29, and 30.

Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  The north and south adult fish ladder picketed leads are raised.  Adult fish counting is to resume March 1, 2013. 

Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with 8.0 feet depth, off sill with 8.7 feet depth, and on sill with 7.9 feet depth. The north powerhouse entrance (NFE) was on sill with 7.8 feet depth, on sill with 7.8 feet depth, and on sill with 7.8 feet depth. The north shore entrance (NSE) was off sill with 7.7 feet depth, off sill with 7.7 feet depth, and off sill with 7.7 feet depth.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth or on sill at 332.25 per the Fish Passage Plan.  Channel/tailwater differential criterion is 1 – 2 feet.  Out of criteria inspection points are adjusted as needed.  Channel velocities readings were not recorded.

Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  Six of 8 south shore fish pumps were operated without problems.  South shore fish pump 4 remained out of service due to excessive gearbox oil leakage.  

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.  

STSs/VBSs:  The STSs have been removed and are stored in the “dogged” position.  No problems were found during the November STS/VBS inspections.
Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The Juvenile Fish Bypass was unwatered December 19.  

Juvenile Bypass Facility:  The bypass is unwatered for annual maintenance.

Juvenile Fish Sampling:  The last sample of the 2012 season occurred July 12.

Removable Spillway Weir:  Spill in support of fish passage ended September 1.

River Conditions

River conditions during the this report period are outlined in Table 1.  

Table 1.  River conditions at Ice Harbor Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	30.1
	25.3
	0.0
	0.0
	42
	42
	6.6
	6.6


*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers:  Juvenile shad are plugging cooling water strainers during the course of their outmigration.  No lamprey are being found in the strainers during cleaning.  

Invasive Species:  No zebra mussels were observed during adult fishway inspections.  

Project:  Lower Monumental

Biologists: Bill Spurgeon and Elizabeth Lindsey

Dates: December 28 - 31, 2012

Turbine Operation

All units are being operated within the soft constraint 1% efficiency criteria.  
Adult Fish Passage Facility

The adult fishway was inspected by fish facility personnel on December 31.   

Fish Ladders:  Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.  The adult fish counting season ended on October 31.  North and south ladder picketed leads were raised on November 1 and November 15, respectively.  

Fishway Entrances and Collection Channel:  NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.

SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth reading was 7.2 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.

SSE1 weir gate was in depth criteria (criteria: > 8’ or on sill) on all inspections.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) during this report period.

Collection channel velocity was in criteria (1.5 - 4.0 ft/sec). 

Auxiliary Water Supply System: The system was in 2 pump operation during this period.  Two pump operation will continue until work on pump 2 is complete, approximately April 15.  

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 80.0 square yards of forebay debris observed during this period.  No oil was observed in the gatewells. 
STSs/VBSs:  Unit 2 STSs were raised December 13.  The remaining STSs were raised for winter maintenance on December 17, 18, and 19.  

Orifices, Collection Channel, Dewatering Structure, Flume:  The bypass system was unwatered for winter maintenance on December 17.

Collection Facility:  The load and hold facility is in winter maintenance mode.

Transport Summary:  Transport ended October 1.

River Conditions

River conditions during this report period are outlined in Table 1.  

Table 1.  River conditions at Lower Monumental Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature

(oF)*
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	30.9
	27.4
	0.0
	0.0
	40.0
	40.0
	4.3
	4.3


*Scrollcase temperatures.

Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected December 3.  No live lamprey were recovered.   Mortalities included 263 juvenile shad. 

Invasive Species:  There were no zebra mussels observed at the monitoring stations on December 5.

Avian Activity:  Piscivorous bird numbers remained low.  Gulls, grebes, and cormorants were the prominent species observed.  Hazing ended on June 2. 

Project:  Little Goose

Biologist: George Melanson
Dates: December 28 - 31, 2012

Turbine Operation

Turbine units 1, 4, and 5 were available for service throughout this report period.  Unit 2 remained out of service due to field ground errors.  Unit 3 was removed from service on November 16 for planned maintenance and exciter replacement.  Turbine unit 6 was forced out of service on December 27 due to exciter failure.   All available turbine units were operated within the 1% efficiency criteria.

Adult Fish Passage Facility

The adult fish passage facility was in operation during this period.  No inspections were performed.  

Fish Ladder:  The ladder remained in operation and functioned within criteria. 

Fishway Entrances and Collection Channel:  Fishway entrances and collection channel remained in operation and functioned within criteria.  As a result of 2 pump operations and decreased channel to tailwater differentials, NPE2 was closed on September 27.  NSE weirs remain at fixed elevations of 531.5 feet.  Monthly subsurface water velocity was measured on December 3 near the north powerhouse entrance.  Measurements were attained near the surface, mid-depth and near the bottom.  The average velocity measured 3.0 fps with 2 pump operation.

Auxiliary Water Supply System:   Fish Pump 3 remained out of service.  Repairs will be performed during the winter maintenance season.  Fish pumps 1 and 2 operated satisfactorily at increased speeds (i.e.: RPMs) to provide additional water to the fish collection channel.

Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Up to 300 square feet of debris floated in front of the unit intakes.   

Spillway Weir:  Not being operated at this time. 

ESBS/VBS:  All ESBS screens are raised and removed from service for maintenance. 

Orifices, Collection Channel, Dewatering Structure, Flume: The juvenile collection system was unwatered for the season on December 17.

Transportation Facility:  The facility is unwatered and maintenance work is in progress.

Transport Summary:  Fish transport ended for the season on October 31. 
River Conditions

River conditions during this report period are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity**

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	29.0
	19.0
	0
	0
	40.5
	39.9
	6.0
	6.0


*Tailwater gas monitoring station temperature.

** Based on measurements conducted on December 27 and January 2 for which both read 6.0.

Other

Inline Cooling Water Strainers:  Cooling water strainers were not inspected during this period.

Invasive Species:  The zebra mussel substrate monitor was inspected on December 10.  No mussels were observed.

Avian Activity:  All counting activity has ended for the season.

Project:  Lower Granite

Biologist(s):  Mike Halter and Ches Brooks 

Dates: December 28 - 31, 2012

Turbine Operation

Lower Granite had turbine units 1, 2, 3, 4 and 6 available for power generation at the beginning of the report period.  Turbine unit 5 is out of service for cavitation repair with an expected return to service date of March 14, 2013.  

The Lower Granite forebay operating range has been increased to 735.0 – 736.0 feet as a soft constraint and 735.0 – 738.0 as a hard constraint.  Effective on December 18, and running though the month of February, Lower Granite (and the other Snake Plants) have been authorized to operate at zero generation for up to a six hour time period (from 2200 – 0600 hours).

Adult Fish Passage Facility

A measured inspection of the adult fishway system was conducted by a COE project biologist on December 14.   That inspection concluded the formal fishway inspections for 2012 at this facility.  

Fish Ladder:  The adult fish ladder complex has been unwatered for the season. 

Fishway Entrances and Collection Channel:  The system has been unwatered for the winter.

Juvenile Fish Passage Facility

The juvenile fish collection system was unwatered for the winter season on December 20.

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during this report period due to wind strength and direction; none was removed. 

ESBSs/VBSs: VBS/ESBS video inspections last took place on October 26 and four of the screens in Units 2, 4 and 6 had issues with either missing rivets or loose straps with sticks behind them.  These problems will be addressed as soon as possible.  The fish facility staff will attempt to conduct video inspections early in 2013 to assess the condition of these screens.            

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  All systems have been unwatered for winter maintenance.  Contractors are in the process of installing the new prototype weirs in the collection gallery.

Transportation Facility:  The facility operated in secondary bypass mode until the morning of December 20 when the system was shut down and winterized.

Transport Summary:  All transport operations concluded on October 31.

Removable Spillway Weir:  The RSW was operated in support of general spill operations during the season.  Mandatory spill operations in support of fish passage ended on August 31.

River Conditions

River conditions during this report period are outlined in Table 1.


Table 1:  River conditions at Lower Granite Dam.

	Daily Average

River Flow (kcfs)
	Daily Average

Spill (kcfs)
	Water Temperature*

(oF)
	Water Clarity

(Secchi disk - feet)

	High
	Low
	High
	Low
	High
	Low
	High
	Low

	28.9
	24.2
	0.0
	0.0
	---
	---
	N/A
	N/A


*Scrollcase temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected on the afternoon of December 31, 2012.  A total of 169 lamprey mortalities were recorded over a combined unit run time of 1,524.2 hours.

Invasive Species:  The zebra mussel substrate near the adult fishway exit was last examined for mussels on December 2.  No evidence of zebra mussels was found.  The next inspection is scheduled for March 2013.  

Adult Fish Counting:  Visual fish counting began on April 1 and continued through October 31.  Starting on November 1 and running through December 15, video fish counting took place on a daily basis between the hours of 0600 – 1600. 

Research

Adult Fish Trap Operations:  Adult fish trap operations have concluded for the season.  The adult trap was unwatered and winterized on November 19.   

Fall  Transport:  Collection of adult fall  for transport to Lyons Ferry Hatchery has concluded for the season.  The last truck trip to Lyon’s Ferry took place on November 9.

