CENWP-OD								12 April 2016

MEMORANDUM FOR THE RECORD

TITLE - 16COT01minimum flow

DATE - 12 April 2016

PROJECT - Cottage Grove Dam

RESPONSE DATE - 26 April 2016

Description of the problem

Flows below Cottage Grove Dam in the Coast Fork Willamette River were below authorized minimum criteria detailed in the proposed action of the Biological Opinion (BiOp) due to a scheduling error.  Flows were below minimum criteria from 2300, April 4 to 1300, April 8, 2016.  During this time period discharge was approximately 50 cfs.

Dates of impacts/repairs

04 April to 08 April 2016

Expected impacts on fish

Impacts to fish were likely minimal as the difference in stage between 50 and 75 cfs is approximately 2 inches at the control point.  Further, flow changes did not deviate from criteria detailed in the BiOp.

Comments from agencies

Final results

Flows below Cottage Grove Dam were increased back to the authorized minimum of 75 cfs.

Please email or call with questions or concerns.

Thank you,

Chris Walker

NWP Operations Division Fishery Section

503.808.4316

Christopher.E.Walker@usace.army.mil