CENWP-OD								06 December 2021

MEMORANDUM FOR THE RECORD

TITLE - 21HCR02 MFR Hills Creek Minimum Flows

NOTIFICATION DATE - 07 December 2021

PROJECT - Hills Creek Dam

RESPONSE DATE - 21 December 2021

Description of the problem

On December 5, 2021, flows below Hills Creek Dam decreased to 347 cfs while going from generation flow to discharge through the regulating outlet.  The minimum flow criteria detailed in the Biological Opinion (BiOp) is 400 cfs.

Dates of impacts/repairs

December 5, 2021

Length of impacts/repairs

~ 1 hours

Expected impacts on fish

Minimal to no impacts to fish

Comments from agencies

Please email or call with questions or concerns.

Chris Walker

NWP Operations Division Fishery Section

Willamette Fish Operations Biologist

503.808.4316

Christopher.E.Walker@usace.army.mil