CENWP-OD								30 December 2021

MEMORANDUM FOR THE RECORD

TITLE – 21BLU02 Blue River Ramp Rate

PROJECT – Blue River Dam

NOTIFICATON DATE – 30 December 2021

RESPONSE DATE – 15 January 2021

Description of the problem

On 14 December 2021, there was a ramp rate deviation (~ -0.5 ft/hr) outside criteria (-0.2 ft/hr) detailed in the 2008 Biological Opinion (BiOp) issued by the National Marine Fisheries Service (NMFS).

Type of event

Ramp rate deviation, flow change of ~ -0.5/hour

Impact on facility operation

No impact to facility

Expected impacts on fish

Minimal impacts to ESA listed fish

Comments from agencies

Please email or call with questions or concerns.

Thank you,

Chris Walker

NWP Operations Division Fishery Section

503.808.4316

Christopher.E.Walker@usace.army.mil